## Front & Preliminaries
|  |  |  | SPECIFICATION | January
|  |  |  | S-615D | 2022
Procurement Data Sheet for
Centrifugal Pumps
Revision history
| VERSION | DATE | PURPOSE
| 1.1 | January 2022 | Issued for Public Review
| 1 | January 2019 | First Edition
Acknowledgements
This IOGP Specification was prepared by a Joint Industry Programme 33
Standardization of Equipment Specifications for Procurement organized
by IOGP with support by the World Economic Forum (WEF).
Disclaimer
Whilst every effort has been made to ensure the accuracy of the information
contained in this publication, neither IOGP nor any of its Members past present or
future warrants its accuracy or will, regardless of its or their negligence, assume
liability for any foreseeable or unforeseeable use made thereof, which liability is
hereby excluded. Consequently, such use is at the recipient’s own risk on the basis
that any use by the recipient constitutes agreement to the terms of this disclaimer.
The recipient is obliged to inform any subsequent recipient of such terms.
Please note that this publication is provided for informational purposes and
adoption of any of its recommendations is at the discretion of the user. Except as
explicitly stated otherwise, this publication must not be considered as a substitute
for government policies or decisions or reference to the relevant legislation relating
to information contained in it.
Where the publication contains a statement that it is to be used as an industry
standard, IOGP and its Members past, present, and future expressly disclaim all
liability in respect of all claims, losses or damages arising from the use or
application of the information contained in this publication in any industrial application.
Any reference to third party names is for appropriate acknowledgement of their
ownership and does not constitute a sponsorship or endorsement.
Copyright notice
The contents of these pages are © International Association of Oil & Gas Producers.
Permission is given to reproduce this report in whole or in part provided (i)
that the copyright of IOGP and (ii) the sources are acknowledged. All other rights are
reserved. Any other use requires the prior written permission of IOGP.
These Terms and Conditions shall be governed by and construed in accordance
with the laws of England and Wales. Disputes arising here from shall be exclusively
subject to the jurisdiction of the courts of England and Wales.
S-615D Procurement Data Sheet for
Centrifugal Pumps
Foreword
This specification was prepared under Joint Industry Programme 33 (JIP33) "Standardization of Equipment Specifications for Procurement" organized by the International Oil & Gas Producers Association (IOGP) with the support from the World Economic Forum (WEF). Companies from the IOGP membership participated in developing this specification to leverage and improve industry level standardization globally in the oil and gas sector. The work has developed a minimized set of supplementary requirements for procurement, with life cycle cost in mind, resulting in a common and jointly agreed specification, building on recognized industry and international standards.
Recent trends in oil and gas projects have demonstrated substantial budget and schedule overruns. The Oil and Gas Community within the World Economic Forum (WEF) has implemented a Capital Project Complexity (CPC) initiative which seeks to drive a structural reduction in upstream project costs with a focus on industry-wide, non-competitive collaboration and standardization. The CPC vision is to standardize specifications for global procurement for equipment and packages. JIP33 provides the oil and gas sector with the opportunity to move from internally to externally focused standardization initiatives and provide step change benefits in the sector's capital projects performance.
This specification has been developed in consultation with a broad user and supplier base to realize benefits from standardization and achieve significant project and schedule cost reductions.
The JIP33 work groups performed their activities in accordance with IOGP's Competition Law Guidelines (November 2020).
S-615D Procurement Data Sheet for
Centrifugal Pumps
Introduction
The purpose of this procurement data sheet is to define purchaser specific requirements for the procurement of centrifugal pumps in accordance with IOGP S-615 for application in the petroleum and natural gas industries. The procurement data sheet provides project specific requirements where the specification requires the purchaser to define an application specific requirement. It also includes information required by the purchaser for technical evaluation purposes. Additional purchaser supplied documents can be listed in the procurement data sheet to define scope and technical requirements for enquiry and purchase of the equipment.
This procurement data sheet shall be used in conjunction with the specification (IOGP S-615), information requirements specification (IOGP S-615L) and quality requirements specification (IOGP S-615Q) which together comprise the full set of specification documents. The introduction section in the specification provides further information on the purpose of each of these documents and the order of precedence for their use.
JIP33 Specification for Procurement Documents Procurement Data Sheet
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Procurement Data Sheet
Row | S-615D Data Sheets for Centrifugal Pumps | [6 empty] | Issue
2 | Ref. Clause | Description | Purchaser requirement | Purchaser requirement UOM | Supplier offered value | Supplier offered UOM | Additional notes |  | Requirement CFIHOS ID | Equipment CFIHOS ID
3 |  | General information
4 |  | Conformity assessment system (CAS) level : | D |  | D | [5 empty] | select | A | B | C | D
5 |  | Identifier
6 |  | Tag number : | input data |  | input data
7 |  | Tag description : | input data |  | input data
8 |  | General
9 |  | Applicable to : | select |  | select | [5 empty] | select | enquiry | purchase
10 | 5.1 paragraph 1 | Units : | select |  | select | [5 empty] | select | SI | US customary
11 |  | Manufacturer : | input data |  | input data
12 |  | Pump model and size : | input data |  | input data
13 |  | Number of stages : | input data |  | input data
14 |  | Number required : | input data |  | input data
15 |  | Service : | select |  | select | [5 empty] | select | continuous | intermittent
16 |  | Number of starts : | select | per | select | per |  |  |  |  | select | hour | day | week | other
17 | 6.1.42 | Instantaneous start up required : | select |  | select | [5 empty] | select | yes | no
18 | 6.1.42 | Warm-up or cool-down line for instantaneous start up : | select |  | select | [5 empty] | select | warm-up line | cool-down line | not applicable
19 |  | Pumps operate in : | select |  | select | [5 empty] | select | parallel | series | singly
20 |  | Liquid characteristics
21 |  | Liquid name : | input data |  | input data
22 |  | Liquid type : | select |  | select | [5 empty] | select | extremely hazardous | hazardous | flammable | toxic | non-hazardous | other
23 |  | Vapour pressure at rated temperature : | input data | select | input data | select |  |  |  |  | select | bar a | psi a
24 |  | Vapour pressure maximum : | input data | select | input data | select |  |  |  |  | select | bar a | psi a
25 |  | Vapour pressure minimum : | input data | select | input data | select |  |  |  |  | select | bar a | psi a
26 |  | Relative density rated : | input data |  | input data
27 |  | Relative density maximum : | input data |  | input data
28 |  | Relative density minimum : | input data |  | input data
29 |  | Specific heat rated : | input data | select | input data | select |  |  |  |  | select | kJ/kgK | Btu/lb°R
30 |  | Specific heat maximum : | input data | select | input data | select |  |  |  |  | select | kJ/kgK | Btu/lb°R
31 |  | Specific heat minimum : | input data | select | input data | select |  |  |  |  | select | kJ/kgK | Btu/lb°R
32 |  | Viscosity rated : | input data | select | input data | select |  |  |  |  | select | Pa s | cP
33 |  | Viscosity maximum : | input data | select | input data | select |  |  |  |  | select | Pa s | cP
34 |  | Viscosity minimum : | input data | select | input data | select |  |  |  |  | select | Pa s | cP
35 |  | Corrosion due to : | input data |  | input data
36 |  | Erosion due to : | input data |  | input data
37 | 6.12.1.13, 8.2.2.7 | H2S concentration : | input data | ppm | input data | ppm
38 |  | Chloride concentration : | input data | ppm | input data | ppm
39 |  | Total dissolved salts : | input data | ppm | input data | ppm
40 |  | Particulate size : | input data | μm | input data | μm
41 |  | Particulate concentration (TSS) : | input data | ppm | input data | ppm
42 |  | Operating conditions
43 |  | NPSHA datum : | select |  | select | [5 empty] | select | centreline of impeller | top of foundation | suction-nozzle centreline | other
44 |  | Flow rated : | input data | select | input data | select |  |  |  |  | select | m3/h | usgpm
45 |  | Flow normal : | input data | select | input data | select |  |  |  |  | select | m3/h | usgpm
46 |  | Flow maximum : | input data | select | input data | select |  |  |  |  | select | m3/h | usgpm
47 |  | Flow minimum : | input data | select | input data | select |  |  |  |  | select | m3/h | usgpm
48 |  | Flow alternative condition : | input data | select | input data | select |  |  |  |  | select | m3/h | usgpm
49 |  | NPSHA rated : | input data | select | input data | select |  |  |  |  | select | m | ft
50 |  | NPSHA normal : | input data | select | input data | select |  |  |  |  | select | m | ft
51 |  | NPSHA maximum : | input data | select | input data | select |  |  |  |  | select | m | ft
52 |  | NPSHA minimum : | input data | select | input data | select |  |  |  |  | select | m | ft
53 |  | NPSHA alternative condition : | input data | select | input data | select |  |  |  |  | select | m | ft
54 |  | NPSHA at 120 % of rated flow : | input data | select | input data | select |  |  |  |  | select | m | ft
55 |  | Pumping temperature rated : | input data | select | input data | select |  |  |  |  | select | ºF | ºC
56 |  | Pumping temperature normal : | input data | select | input data | select |  |  |  |  | select | ºF | ºC
57 |  | Pumping temperature maximum : | input data | select | input data | select |  |  |  |  | select | ºF | ºC
58 |  | Pumping temperature minimum : | input data | select | input data | select |  |  |  |  | select | ºF | ºC
59 |  | Pumping temperature alternative condition : | input data | select | input data | select |  |  |  |  | select | ºF | ºC
60 |  | Discharge pressure rated : | input data | select | input data | select |  |  |  |  | select | bar | psi
61 |  | Discharge pressure alternative condition : | input data | select | input data | select |  |  |  |  | select | bar | psi
62 |  | Suction pressure rated : | input data | select | input data | select |  |  |  |  | select | bar | psi
63 |  | Suction pressure normal : | input data | select | input data | select |  |  |  |  | select | bar | psi
64 |  | Suction pressure maximum : | input data | select | input data | select |  |  |  |  | select | bar | psi
65 |  | Suction pressure minimum : | input data | select | input data | select |  |  |  |  | select | bar | psi
66 |  | Suction pressure alternative condition : | input data | select | input data | select |  |  |  |  | select | bar | psi
67 |  | Differential pressure rated : | input data | select | input data | select |  |  |  |  | select | bar | psi
68 |  | Differential pressure alternative condition : | input data | select | input data | select |  |  |  |  | select | bar | psi
69 |  | Differential head rated : | input data | select | input data | select |  |  |  |  | select | m | ft
70 |  | Differential head alternative condition : | input data | select | input data | select |  |  |  |  | select | m | ft
71 |  | Hydraulic power rated : | input data | select | input data | select |  |  |  |  | select | kW | HP
72 |  | Heat tracing and insulation required : | select |  | select | [5 empty] | Select | yes | no
73 |  | Extent of heat tracing and insulation : | input data |  | input data
74 |  | Site data
75 |  | Project country : | input data |  | input data
76 |  | Project region : | input data |  | input data
77 |  | Plant environmental location : | select |  | select | [5 empty] | select | offshore | coastal | subsea | buried | onshore
78 |  | Location : | select |  | select | [5 empty] | select | indoors | outdoors | other
79 |  | Location : | select |  | select | [5 empty] | select | heated | unheated | other
80 |  | Location sunlight protection : | select |  | select | [5 empty] | select | under roof | partial sides | direct sunlight | other
81 |  | Mounted at : | select |  | select | [5 empty] | select | grade | mezzanine | other
82 |  | Special weather protection : | select |  | select | [5 empty] | select | tropicalization | winterization | not required
83 |  | Elevation (MSL) : | input data | select | input data | select |  |  |  |  | select | m | ft
84 |  | Barometer : | input data | select | input data | select |  |  |  |  | select | bar a | psi a
85 |  | Maximum ambient temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
86 |  | Minimum ambient temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
87 |  | Maximum relative humidity : | input data | % | input data | %
88 |  | Minimum relative humidity : | input data | % | input data | %
89 |  | Unusual conditions : | select |  | select | [5 empty] | select | dust | fumes | dust and fumes | other
90 |  | Electrical area classification
91 |  | Hazardous area certification standard : | select |  | select | [5 empty] | select | IEC 60079 | NFPA 70 Art. 500 | NFPA 70 Art. 505
92 |  | Explosion hazard classification (IEC/NFPA) : | select |  | select | [5 empty] | select | non-hazardous | zone 2 | zone 1 | zone 0
93 |  | Explosion group (IEC/NFPA) : | select |  | select | [5 empty] | select | IIA | IIB | IIC
94 |  | Temperature class (IEC/NFPA) : | select |  | select | [5 empty] | select | T1 | T2 | T3 | T4 | T5 | T6
95 |  | Explosion hazard classification : | select |  | select | [5 empty] | select | non-hazardous | division 2 | division 1
96 |  | Explosion group (NFPA) : | select |  | select | [5 empty] | select | Class I Group A | Class I Group B | Class I Group C | Class I Group D
97 |  | Temperature class (NFPA) : | select |  | select | [5 empty] | select | T1 | T2 | T2A | T2B | T2C | T2D | T3 | T3A | T3B | T3C | T4 | T4A | T5 | T6
98 |  | Utility conditions
99 |  | Drivers voltage : | input data | V | input data | V
100 |  | Drivers phase : | select |  | select | [5 empty] | select | 1 | 3
101 |  | Drivers frequency : | select |  | select | [5 empty] | select | 50 Hz | 60 Hz
102 |  | Heating voltage : | input data | V | input data | V
103 |  | Heating phase : | select |  | select | [5 empty] | select | 1 | 3
104 |  | Heating frequency : | select |  | select | [5 empty] | select | 50 Hz | 60 Hz
105 |  | Cooling water maximum inlet temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
106 |  | Cooling water design temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
107 |  | Cooling water maximum inlet pressure : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
108 |  | Cooling water design pressure : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
109 |  | Cooling water type : | input data |  | input data
110 |  | Fouling factor : | input data | select | input data | select |  |  |  |  | select | m2K/W | ft²h°F/btu
111 |  | Cooling water chloride concentration : | input data | ppm | input data | ppm
112 |  | Instrument air and steam
113 |  | Instrument air maximum pressure : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
114 |  | Instrument air minimum pressure : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
115 |  | Heating maximum steam temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
116 |  | Heating minimum steam temperature : | input data |  | input data
117 |  | Heating maximum steam pressure : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
118 |  | Heating minimum steam pressure : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
119 |  | Performance
120 |  | Proposal curve number : | input data |  | input data
121 |  | Impeller diameter rated : | input data | select | input data | select |  |  |  |  | select | mm | in
122 |  | Impeller diameter maximum : | input data | select | input data | select |  |  |  |  | select | mm | in
123 |  | Impeller diameter minimum : | input data | select | input data | select |  |  |  |  | select | mm | in
124 |  | Rated speed : | input data | rpm | input data | rpm
125 |  | Rated power : | input data | select | input data | select |  |  |  |  | select | kW | HP
126 |  | Efficiency : | input data | % | input data | %
127 |  | Proposal curve BEP flow (at rated impeller diameter) : | input data | select | input data | select |  |  |  |  | select | m3/h | usgpm
128 |  | Minimum flow thermal : | input data | select | input data | select |  |  |  |  | select | m3/h | usgpm
129 |  | Minimum flow stable : | input data | select | input data | select |  |  |  |  | select | m3/h | usgpm
130 |  | Start of preferred operating region : | input data | select | input data | select |  |  |  |  | select | m3/h | usgpm
131 |  | End of preferred operating region : | input data | select | input data | select |  |  |  |  | select | m3/h | usgpm
132 |  | Start of allowable operating region : | input data | select | input data | select |  |  |  |  | select | m3/h | usgpm
133 |  | End of allowable operating region : | input data | select | input data | select |  |  |  |  | select | m3/h | usgpm
134 |  | Maximum head at rated impeller : | input data | select | input data | select |  |  |  |  | select | m | ft
135 |  | Maximum power at rated impeller : | input data | select | input data | select |  |  |  |  | select | kW | HP
136 |  | NPSH3 at rated flow : | input data | select | input data | select |  |  |  |  | select | m | ft
137 |  | NPSH3 at 120 % of flow : | input data | select | input data | select |  |  |  |  | select | m | ft
138 |  | NPSHa-NPSH3 margin at rated flow : | input data | select | input data | select |  |  |  |  | select | m | ft
139 |  | NPSHa-NPSH3 margin in allowable operating region : | input data | select | input data | select |  |  |  |  | select | m | ft
140 |  | Specific speed : | input data | select | input data | select |  |  |  |  | select | m3/s rpm m | usgpm rpm ft
141 |  | Suction specific speed : | input data | select | input data | select |  |  |  |  | select | m3/s rpm m | usgpm rpm ft
142 |  | Maximum allowable sound pressure level : | input data | dB(A) | input data | dB(A)
143 |  | Maximum sound power level : | input data | dB(A) | input data | dB(A)
144 |  | Estimated maximum sound power level : | input data | dB(A) | input data | dB(A)
145 |  | Construction
146 |  | API pump type : | select |  | select | [5 empty] | select | OH1 | OH2 | OH5 | OH5 BS 4082-1 | OH6 | BB1 | BB2 | BB3 | VS1 | VS2 | VS3 | VS4 | VS5 | VS6 | VS7
147 |  | Mounting : | select |  | select | [5 empty] | select | foot | centreline | near centreline | vertical in-line | OH6: vertical sump cover plate (rectangular); BB1: vertical sump cover plate (flanged); BB2: vertical main body flange; BB3: vertical mounting plate separate from main body flange
148 | 4.2.2.14, 4.2.2.16, 4.2.2.19 | Casing type : | select |  | select | [5 empty] | select | single volute | multiple volute | diffuser
149 | 9.1.2.6 | OH3 back-pullout lifting device required : | select |  | select | [5 empty] | select | yes | no
150 |  | Suction size : | input data | inch | input data | inch
151 |  | Suction facing: : | select |  | select | [5 empty] | select | FF | RF | RTJ
152 |  | Suction rating: : | select |  | select | [5 empty] | select | 125 | 150 | 250 | 300 | OH6: 600; BB1: 900; BB2: 1500
153 |  | Suction position : | select |  | select | [5 empty] | select | top | side | in-line | end | OH6: bottom; BB1: bell
154 |  | Discharge size : | input data | inch | input data | inch
155 |  | Discharge facing : | select |  | select | [5 empty] | select | FF | RF | RTJ
156 |  | Discharge rating : | select |  | select | [5 empty] | select | 125 | 150 | 250 | 300 | OH6: 600; BB1: 900; BB2: 1500
157 |  | Discharge position : | select |  | select | [5 empty] | select | top | side | in-line | end | OH6: bottom; BB1: bell
158 |  | Required nozzle loads : | select |  | select | [5 empty] | select | per API | other
159 |  | Pressure casing auxiliary connections case drain size : | input data | inch | input data | inch
160 |  | Pressure casing auxiliary connections case vent size : | input data | inch | input data | inch
161 |  | Flanged drain valve supplied by : | select |  | select | [5 empty] | select | vendor | purchaser
162 |  | Flanged vent valve supplied by : | select |  | select | [5 empty] | select | vendor | purchaser
163 | 6.4.3.2 | Threaded connections for pipeline service : | select |  | select | [5 empty] | select | yes | no
164 | 6.4.3.2 | Pipe threads required : | select |  | select | [5 empty] | select | tapered ASME B1.20.1 | tapered ISO 7-1 | cylindrical ISO 228-1
165 | 6.4.3.6 | Machined and studded connections : | select |  | select | [5 empty] | select | yes | no
166 |  | Vent piped to skid edge flanged termination : | select |  | select | [5 empty] | select | yes | no
167 | 6.1.42.2 | Heat tracing and/or insulation supplied and installed by : | select |  | select | [5 empty] | select | vendor | purchaser
168 | 6.3.6 | Case pressure rating maximum allowable working pressure (MAWP) pressure : | input data | select | input data | select |  |  |  |  | select | bar g | psig
169 | 6.3.6 | Case pressure rating maximum allowable working pressure (MAWP) temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
170 | 9.3.13.1 | Hydrostatic test of VS6/VS7 bowls and column : | select |  | select | [5 empty] | select | yes | no
171 |  | Vertical pump pressure rating head MAWP : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
172 |  | Vertical pump pressure rating column pipe MAWP : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
173 |  | Vertical pump pressure rating bowl MAWP : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
174 |  | Vertical pump pressure rating suction can or barrel MAWP : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
175 |  | Rotation (viewed from coupling end) : | select |  | select | [5 empty] | select | clockwise | counter-clockwise
176 |  | Total package estimated mass (offshore application) : | input data | select | input data | select |  |  |  |  | select | lbs | kg
177 |  | Rotor
178 | 9.1.1.3 | Shaft flexibility index (SFI) reported by vendor : | select |  | select | [5 empty] | select | yes | no
179 | 9.1.1.3 | Shaft flexibility index (SFI) : | input data |  | input data
180 | 6.9.3.4 | Component balance to ISO 21940-11, G1.0 : | select |  | select | [5 empty] | select | yes | no | other
181 | 9.2.2.3 | Shrink fit limited movement impellers : | select |  | select | [5 empty] | select | yes | no
182 | 6.1.28 | Maximum allowed inclination from horizontal (floating application) : | input data | ° | input data | °
183 | 6.1.28 | Maximum allowed time period of oscillation from horizontal (floating application) : | input data | s | input data | s
184 |  | Mechanical seal
185 |  | API 682 mechanical seal code : | input data |  | input data
186 |  | API 682 datasheet attached : | select |  | select | [5 empty] | select | yes | no | not applicable
187 |  | Mechanical seal primary piping plan required : | select |  | select | [5 empty] | select | 01 | 02 | 03 | 11 | 12 | 13 | 14 | 21 | 23 | 31 | 32 | 41 | Other
188 |  | Mechanical seal secondary piping plan required : | select |  | select | [5 empty] | select | 51 | 52 | 53A | 53B | 53C | 54 | 55 | 61 | 62 | 65A | 65B | 66A | 66B | 71 | 72 | 74 | 75 | 76 | other
189 | 6.8.9 | Additional central flush port : | select |  | select | [5 empty] | select | yes | no
190 |  | Heating jacket required : | select |  | select | [5 empty] | select | yes | no
191 | 6.8.13 | Static sealing pressure maximum : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
192 | 6.8.13 | Static sealing pressure minimum : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
193 | 6.8.13 | Dynamic sealing pressure minimum : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
194 | 6.8.13 | Dynamic sealing pressure minimum : | input data | select | input data | select |  |  |  |  | select | bar g | psi g
195 |  | Seal design temperature maximum : | input data | select | input data | select |  |  |  |  | select | °C | °F
196 |  | Seal design temperature minimum : | input data | select | input data | select |  |  |  |  | select | °C | °F
197 |  | Bearings and lubrication
198 | 6.10.1.1 | Radial bearing type : | select |  | select | [5 empty] | select | rolling element | hydrodynamic | other
199 | 6.10.1.1 | Thrust type bearing : | select |  | select | [5 empty] | select | rolling element | hydrodynamic | other
200 | 9.2.5.2.6 | Purchaser to review and approve thrust bearing size : | select |  | select | [5 empty] | select | yes | no
201 | 6.11.3, 6.11.4 | Lubrication : | select |  | select | [5 empty] | select | flood | ring oil | flinger | purge oil mist | OH6: pure oil mist; BB1: pressure lube; BB2: grease
202 |  | Lube systems
203 | 6.11.5 | Oil viscosity ISO grade : | input data | ISO VG | input data | ISO VG
204 | 6.11.1, 6.11.5 | Oil type : | select |  | select | [5 empty] | select | mineral | synthetic
205 |  | Bearing isolator model : | input data |  | input data
206 |  | Oil mist reclassifiers supplied by : | select |  | select | [5 empty] | select | purchaser | vendor
207 |  | Baseplate
208 | 7.4.4 | API baseplate number : | select |  | select | [5 empty] | select | 2.5 | 3 | 3.5 | 4 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8 | 9 | 9.5 | 10 | 11 | 11.5 | 12 | Not applicable
209 | 7.4.1 | Baseplate drainage : | select |  | select | [5 empty] | select | flat deck plate with sloped gutter (grouted) | full sloped deck plate inside base plate (grouted) | partial sloped deck plate inside base plate (grouted) | flat deck plate with sloped gutter (non-grouted) | OH6: full sloped deck plate inside base plate (non-grouted); BB1: partial sloped deck plate inside base plate (non-grouted)
210 |  | Mounting : | select |  | select | [5 empty] | select | foundation grouted | foundation non-grouted | bolted on steel work | three point mount | OH6: four point mount; BB1: stilt mounted; BB2: other
211 | 7.4.10 | Provide spacer plate under all equipment feet : | select |  | select | [5 empty] | select | yes | no
212 |  | Materials
213 | 6.12.1.5 | Annex H class : | select |  | select | [5 empty] | select | S-4 | S-5 | S-6 | S-8 | S-9 | C-6 | A-7 | A-8 | D-1 | D-2 | other
214 | 6.12.4.1 | Minimum design metal temperature : | input data | select | input data | select |  |  |  |  | select | °C | °F
215 | 6.12.1.14 | Reduced hardness materials required : | select |  | select | [5 empty] | select | yes | no
216 | 6.12.1.14 | Applicable hardness standard : | select |  | select | [5 empty] | select | not applicable | NACE MR0175 | NACE MR0103 | ISO 15156
217 | 6.12.1.10 | Special coating for impellers and other wetted parts : | select |  | select | [5 empty] | Select | yes | no
218 |  | Case/case cover material : | input data |  | input data
219 |  | Pressure retaining fasteners (non-wetted) material : | input data |  | input data
220 |  | Diffusers material : | input data |  | input data
221 |  | Impeller material : | input data |  | input data
222 |  | Inducer material : | input data |  | input data
223 | 6.12.1.14.4, 6.7.1 | Impeller wear component type : | select |  | select | [5 empty] | Select | replaceable wear rings | hub integrally hardened | hub hard faced
224 |  | Impeller wear component material : | input data |  | input data
225 | 6.12.1.14.3 | Impeller wear component hardness : | input data | select | input data | select |  |  |  |  | select | BHW | HRC
226 |  | Case wear ring material : | input data |  | input data
227 |  | Case wear ring hardness : | input data | select | input data | select |  |  |  |  | select | BHW | HRC
228 | Table H.1, Table H.2 | Shaft material : | input data |  | input data
229 | 6.4.2.6 | Auxiliary process liquid lines, fittings and other connections to casing : | select |  | select | [5 empty] | select | equivalent to casing | other
230 | Table 14 | Inspection class : | select |  | select | [5 empty] | select | level I | level II | level III
231 |  | Materials (additional for vertical pumps)
232 |  | Suction can/barrel : | input data |  | input data
233 |  | Discharge head : | input data |  | input data
234 |  | Discharge column : | input data |  | input data
235 |  | Head column : | input data |  | input data
236 |  | Bowl : | input data |  | input data
237 |  | Bellmouth : | input data |  | input data
238 |  | Strainer : | input data |  | input data
239 |  | Shaft : | input data |  | input data
240 |  | Shaft enclosing tube : | input data |  | input data
241 |  | Bowl shaft : | input data |  | input data
242 |  | Process wetted fasteners : | input data |  | input data
243 |  | Bearing retainer or spider : | input data |  | input data
244 |  | Lineshaft bearing : | input data |  | input data
245 |  | Lineshaft hard facing : | input data |  | input data
246 |  | Lineshaft sleeves / hard facing : | input data |  | input data
247 |  | Bearing lubrication lines : | input data |  | input data
248 |  | Bowl bearing : | input data |  | input data
249 |  | Material Inspection
250 | 6.12.1.6, 8.2.1.3 | Additional surface/sub-surface examination : | select |  | select | [5 empty] | select | yes | no
251 | 8.2.1.3 | Additional surface/sub-surface examination for : | input data |  | input data
252 | 8.2.1.3 | Additional surface/sub-surface magnetic particle or liquid penetrant examination required : | select |  | select | [5 empty] | select | magnetic particle | liquid penetrant | not required
253 | 8.2.1.3 | Additional surface/sub-surface radiographic or liquid ultrasonic examination required : | select |  | select | [5 empty] | select | radiographic | ultrasonic | not required
254 |  | Vertical Pumps
255 |  | Pump thrust bearing location : | select |  | select | [5 empty] | select | in pump | in motor
256 |  | Suction strainer type : | input data |  | input data
257 |  | Level control : | select |  | select | [5 empty] | select | float switch | level transmitter | not applicable
258 |  | Vertical pump lineshaft bearings
259 |  | Number : | input data |  | input data
260 | 9.3.10.1 | Lineshaft bearing lube : | select |  | select | [5 empty] | select | pumpage | water | oil | other
261 | 9.3.10.4 | Hardened sleeves under lineshaft bearings : | select |  | select | [5 empty] | select | yes | no
262 |  | Vertical pump lineshaft
263 |  | Configuration : | select |  | select | [5 empty] | select | open | enclosed
264 |  | Lineshaft connection : | select |  | select | [5 empty] | select | sleeve and key | threaded
265 |  | Vertical pump sump dimensions
266 |  | Grade elevation : | input data | select | input data | select |  |  |  |  | select | mm | in
267 |  | Low liquid level elevation : | input data | select | input data | select |  |  |  |  | select | mm | in
268 |  | Centreline of discharge elevation : | input data | select | input data | select |  |  |  |  | select | mm | in
269 |  | Sump depth : | input data | select | input data | select |  |  |  |  | select | mm | in
270 |  | Pump length : | input data | select | input data | select |  |  |  |  | select | mm | in
271 |  | Grade to discharge centerline : | input data | select | input data | select |  |  |  |  | select | mm | in
272 |  | Grade to low liquid level : | input data | select | input data | select |  |  |  |  | select | mm | in
273 |  | Grade to first stage impeller : | input data | select | input data | select |  |  |  |  | select | mm | in
274 |  | Minimum submergence required : | input data | select | input data | select |  |  |  |  | select | mm | in
275 |  | Sump diameter : | input data | select | input data | select |  |  |  |  | select | mm | in
276 |  | Driver and coupling
277 |  | Driver type : | select |  | select | [5 empty] | select | electric motor | steam turbine | diesel engine | HPRT
278 |  | Driver per : | select |  | select | [5 empty] | select | manufacturer standard | IOGP S-704 | IOGP S-733D | IOGP S-703
279 |  | Driver manufacturer : | input data |  | input data
280 |  | Gear required : | select |  | select | [5 empty] | select | yes | no
281 | 7.1.11 | Gear type : | select |  | select | [5 empty] | select | API 677 | API 677 and IOGP S-712 | other
282 |  | Variable speed drive required : | select |  | select | [5 empty] | select | yes | no
283 |  | Source of variable speed drive : | select |  | select | [5 empty] | select | VFD motor | fluid coupling | magnetic coupling | other
284 |  | Required trip speed : | input data | rpm | input data | rpm
285 |  | Gear / VSD manufacturer : | input data |  | input data
286 | 7.1.1, 7.1.2, 7.1.5 , 7.1.10 | Nameplate power : | input data | select | input data | select |  |  |  |  | select | kW | HP
287 |  | Nominal RPM : | input data | rpm | input data | rpm
288 |  | Rated load RPM : | input data | rpm | input data | rpm
289 |  | Frame or model : | input data |  | input data
290 |  | Lubrication : | input data |  | input data
291 | 7.1.9 | Radial bearing type : | select |  | select | [5 empty] | select | rolling element | hydrodynamic | other
292 | 7.1.9 | Thrust bearing type : | select |  | select | [5 empty] | select | rolling element | hydrodynamic | tilt pad | other
293 |  | Starting method : | select |  | select | [5 empty] | select | direct-on-line | soft start | other
294 |  | Coupling
295 |  | Manufacturer : | input data |  | input data
296 |  | Type / Model / Size : | input data |  | input data
297 |  | Rating (Power/100RPM) : | input data |  | input data
298 | 7.2.9 | Coupling with hydraulic fit : | select |  | select | [5 empty] | select | yes | no
299 | 7.2.10 | Coupling with proprietary clamping device : | no |  | no | [5 empty] | select | yes | no
300 | 7.2.4 | Coupling in compliance with : | API 610 |  | API 610 | [5 empty] | select | ISO 14691 | ISO 10441 | API 671 | API 610 | OH6: vendors standard
301 | 7.3.2 | Coupling guard standard per : | select |  | select | [5 empty] | select | ISO 14120 | ANSI B11.19
302 |  | Cooling
303 | 6.1.22 | Bearing housing cooling method : | fan |  | fan | [5 empty] | select | fan | water | oil circulating system | other
304 | 6.1.22 | Cooling water piping plan : | select |  | select | [5 empty] | select | A | K | M
305 |  | Heating
306 |  | Heating medium : | select |  | select | [5 empty] | select | steam | electric heat tracing | other
307 |  | Instrumentation
308 | 7.5.2.1 | Accelerometer : | select |  | select | [5 empty] | select | yes | no
309 |  | Number of accelerometers : | input data |  | input data
310 |  | Mounting location : | input data |  | input data
311 | 6.10.2.13 | Provision for mounting only : | select |  | select | [5 empty] | select | yes | no
312 |  | Number of threaded connections : | input data |  | input data
313 |  | Mounting location : | input data |  | input data
314 | 6.10.2.14 | Flat surface required : | select |  | select | [5 empty] | select | yes | no
315 |  | Number of flat surfaces : | input data |  | input data
316 |  | Mounting location : | input data |  | input data
317 | 7.5.2.2 | Vibration probes : | select |  | select | [5 empty] | select | yes | no
318 | 7.5.2.2 | Rotation reference probe required : | select |  | select | [5 empty] | select | yes | no
319 | 7.5.2.6 | Monitors and cables supplied by : | select |  | select | [5 empty] | select | purchaser | vendor
320 | 7.5.2.5 | Temperature probes : | select |  | select | [5 empty] | select | yes | no
321 |  | Number per radial bearing : | input data |  | input data
322 |  | Number per thrust bearing active side : | input data |  | input data
323 |  | Number per thrust bearing inactive side : | input data |  | input data
324 |  | Hydrodynamic thrust and radial bearings : | select |  | select | [5 empty] | select | fitted with bearing metal temperature detectors | not applicable
325 | 7.5.1, 9.1.3.5 | Temperature gauges (with thermowells) : | select |  | select | [5 empty] | select | yes | no
326 |  | Testing
327 | J.4.1.2 | Residual unbalance test : | select |  | select | [5 empty] | select | trial mass 6 positions | trial mass 12 positions
328 | 8.1.1.3 | Notification of successful shop performance test : | select |  | select | [5 empty] | select | yes | no
329 | 6.9.4.2 | Vibration test measurement location : | select |  | select | [5 empty] | select | as per 6.9.4.2 | other
330 |  | Retest required after final head adjustment : | select |  | select | [5 empty] | select | yes | no
331 | 8.3.3.9 | Disassembly after test : | no |  | no | [5 empty] | select | yes | no
332 | 8.3.3.7 | Performance test NSPHA limited to 110 % site NSPHA : | select |  | select | [5 empty] | select | yes | no
333 | 8.3.3.7 | Performance test with minimum submergence for vertical pumps : | select |  | select | [5 empty] | select | yes | no
334 |  | NSPH test : | select |  | select | [5 empty] | select | for all pumps | first pump only | not required
335 |  | Test type required : | select |  | select | [5 empty] | select | valve suppression | vacuum loop
336 | 8.3.4.3.1 | NSPH testing to : | select |  | select | [5 empty] | select | HI 14.6 | ISO 9906
337 | 8.3.4.4.1 | Complete unit test : | select |  | select | [5 empty] | select | yes | yes - including torsional measurements | no
338 | 8.3.4.5 | Duration of complete unit test : | input data | hours | input data | hours
339 | 8.3.1.1, 8.3.4.5 | Sound level test : | select |  | select | [5 empty] | select | yes | no
340 | 8.2.2.6 | Cleanliness prior to final assembly : | select |  | select | [5 empty] | select | yes | no
341 | 7.4.24, 8.3.1.1 | Nozzle load test : | select |  | select | [5 empty] | select | yes | no
342 | 8.3.1.1, 8.3.4.7 | Bearing housing resonance test : | select |  | select | [5 empty] | select | yes | no
343 | 8.3.1.1, 9.3.9.2 | Structural resonance test : | select |  | select | [5 empty] | select | yes | no
344 | 8.3.1.1, 8.3.4.6 | Auxiliary equipment test : | select |  | select | [5 empty] | select | yes | no
345 |  | Equipment to be included in test : | input data |  | input data
346 | 6.12.4.3 | Impact test per : | select |  | select | [5 empty] | select | EN 13445 | ASME section VIII
347 | 8.1.1.3 | Removal of casing after test : | select |  | select | [5 empty] | select | yes | no
348 | 6.12.3.4.2, 9.2.1.4 | Connection design approval prior to fabrication : | select |  | select | [5 empty] | select | yes | no
349 | 6.9.2.1 | Torsional analysis : | select |  | select | [5 empty] | select | yes | no
350 | 6.9.2.2, 6.2.2.9 | Undamped natural frequency analysis : | select |  | select | [5 empty] | select | yes | yes - with detailed report | no
351 | 9.1.3.3, 9.2.4.1.2 | Lateral analysis required : | select |  | select | [5 empty] | select | yes | no
352 | 6.9.3.4 | Dynamic balance components : | select |  | select | [5 empty] | select | yes | no
353 | 6.9.2.3 | VFD steady state damped response analysis : | select |  | select | [5 empty] | select | yes | no
354 | 6.9.2.4 | Transient torsional response : | select |  | select | [5 empty] | select | yes | no
355 | 6.10.1.11 | Bearing life calculations required : | select |  | select | [5 empty] | select | yes | no
356 | 7.3.3.4 | Ignition hazard assessment to EN 13463-1 : | select |  | select | [5 empty] | select | yes | no
357 | 7.6.1.7 | Connection bolting : | select |  | select | [5 empty] | select | low alloy steel PTFE coated | stainless steel | other
358 | 8.2.1.1 bullet c | Vendor to keep repair and heat treatment records : | select |  | select | [5 empty] | select | yes | no
359 | 6.1.42.2 | Heating and insulation as per : | select |  | select | [5 empty] | select | vendor's standard | other
360 |  | Heating and insulation provided by the vendor : | yes |  | yes | [5 empty] | Select | yes | no
361 |  | Painting
362 | 6.12.2.1, 7.4.16, 8.4.3.4 | Requirements as per : | select |  | select | [5 empty] | select | vendor's standard | API 610 and IOGP S-615 | other
363 |  | Spare parts
364 |  | Commissioning and start-up : | yes |  | yes | [5 empty] | Select | yes | no
365 |  | Normal maintenance : | no |  | no | [5 empty] | Select | yes | no
366 |  | 2 years operating : | no |  | no | [5 empty] | Select | yes | no
367 |  | Capital spares : | select |  | select | [5 empty] | select | yes | no
368 |  | Spare rotor
369 | 9.2.8.2 | Rotor storage orientation : | select |  | select | [5 empty] | select | horizontal | vertical
370 | 9.2.8.3 | Shipping and storage container for vertical storage : | select |  | select | [5 empty] | select | yes | no
371 | 9.2.8.4 | Nitrogen (N2) purge : | select |  | select | [5 empty] | select | yes | no
372 |  | Shipment
373 |  | Requirement as per : | select |  | select | [5 empty] | select | vendor's standard | API 610 and IOGP S-615 | other
374 |  | For : | select |  | select | [5 empty] | select | domestic delivery | export
375 |  | Export boxing required : | select |  | select | [5 empty] | select | yes | no
376 | 8.4.2 | Outdoor storage required : | select |  | select | [5 empty] | select | no | yes - for 6 months | yes - for 12 months | yes - for other
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Note on C4: Select the CAS level to be applied in IOGP S-615Q, Annex A. Default value : D
Note on C6: Indicate the unique tag number for the equipment.
Note on C7: A functional description of the tag.
Note on C10: This selection determines the units of the entire procurement data sheet.
Note on C13: Vendor can specify 1 to 14 stages, values are to be numeric from 1 to 14.
Note on C18: Vendor to indicate if a separate warm-up or cool-down line is required for instantaneous start up of the pump.
Note on C75: Specify the country for the final installation of the centrifugal pump to enable the supplier to provide the required product marking and certification for the region. The name assigned by ISO to the country in ISO 3166-1.
Note on C76: Geographic location of the project within a country will determines the applicability of local regulatory requirements.
Note on C77: Describe the location of the facility (e.g. offshore, coastal, subsea) where the equipment is permanently installed.
Note on C85: Specify the maximum ambient temperature expected during operation.
Note on C86: Specify the minimum ambient temperature expected during operation.
Note on C87: Specify the maximum relative humidity expected during storage and transportation.
Note on C88: Specify the minimum relative humidity expected during storage and transportation.
Note on C92: Specify the hazardous zone in which the centrifugal pump is expected to operate.
Note on C93: Specify the gas group classification of the centrifugal pump in accordance with IEC 60079 or NFPA 70, 505.
Note on C94: Specify the temperature classification of the centrifugal pump in accordance with IEC 60079 or NFPA 70, 505.
Note on C95: Specify the hazardous classified location in which the centrifugal pump is expected to operate.
Note on C96: Specify for purposes of testing, approval, and area classification, various air mixtures (not oxygen-enriched) grouped in accordance with NFPA 70, 500.6 (A) and (B).
Note on C97: Specify the temperature classification of the centrifugal pump in accordance with NFPA 70, 500.
Note on C164: For pumps in pipeline service.
Note on C170: For VS6 and VS7 pumps , this data is required if hydrostatic test of VS6/VS7 bowls and columns is specified
Note on C171: For VS6 and VS7 pumps, this data is required if hydrostatic test of VS6/VS7 bowls and columns is specified.
Note on C172: For VS6 and VS7 pumps , this data is required if hydrostatic test of VS6/VS7 bowls and columns is specified.
Note on C232: Only applicable to VS6 and VS7 pumps.
Note on C233: Only applicable to VS1, VS2, VS3, VS6 or VS7 pumps.
Note on C234: Only applicable to VS1, VS2, VS3, VS6 or VS7 pumps.
Note on C235: Only applicable to VS4 and VS5 pumps.
Note on C238: Only applicable to VS1, VS4 and VS5 pumps.
Note on C239: Only applicable to VS1, VS2, VS3, VS6 and VS7 pumps.
Note on C241: Only applicable to VS1, VS2, VS3, VS6 and VS7 pumps.
Note on C251: This is to describe the parts or areas that require additional examination.
Note on C256: Only applicable when API pump type VS1 or VS4 or VS5 is specified.
Note on C266: Underside of mounting plate
Note on C267: Referenced from the underside of the pump mounting plate (grade)
Note on C268: Referenced from the underside of the pump mounting plate (grade)
Note on C269: Referenced from the underside of the pump mounting plate (grade)
Note on C270: Referenced from the underside of the pump mounting plate (grade)
Note on C271: Referenced from the underside of the pump mounting plate (grade)
Note on C272: Referenced from the underside of the pump mounting plate (grade)
Note on C273: Referenced from the underside of the pump mounting plate (grade)
Note on C281: Only applicable when gear is required.
Note on C282: Only applicable when electric motor is specified as the driver type.
Note on C283: Only applicable when electric motor is specified as driver type and variable speed drive is specified.
Note on C284: Only applicable when either the driver type is a steam turbine or diesel engine, or variable speed drive or HPRT is required.
Note on C299: Default value : no
Note on C300: Default value : API 610
Note on C303: Only applicable when cooling is required.
Note on C304: Refer to Annex B for piping plans
Note on C331: Default value : no
Note on C332: Descriptions in the following rows are dependent on the pump type selection. For VS1, VS2, VS3, VS4 and VS5, description will relate to submergence testing. For all other pumps, descriptions relate to NPSHA test.
Note on C338: Only applicable if complete unit test is required.
Note on C343: Only applicable when API pump type is VS.
Note on C345: Only applicable when auxiliary equipment testing is specified.
Note on C348: Applicable to any pump with welded connections.
Note on C355: Only applicable when pump types OH2, OH3, BB1, BB2 and BB3 are selected.
Note on C359: Only applicable if heat tracing or insulation is required.
Note on C360: Default value : yes
Note on C364: Default value : yes
Note on C365: Default value : no
Note on C366: Default value : no

## Supplement
Row |  | S-615D Procurement Data Sheet for Centrifugal Pumps | Issue
2 | PURCHASE ORDER SPECIFIC REQUIREMENTS
3 | Delete this sheet if not required
4
5
6
9
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
Public Review Draft

## Guidance
S-615D Procurement Data Sheet for
Centrifugal Pumps
Guidance on the use of this procurement data sheet
To be used in conjunction with :
IOGP S-615 Supplementary Specification to API Standard 610 Centrifugal Pumps.
This procurement data sheet is designed to be used in MS Excel electronic format by the purchaser and the supplier.
This procurement data sheet, completed with requested values, should be delivered back to the purchaser by using the procurement data sheet template or other mutually agreed method.
Ref. Clause provides reference back to the parent standard or the supplementary specification where relevant.
Guidance specific to an item may be provided as a note in the description. This guidance is meant to provide a better understanding of the procurement data sheet item and/or an explanation of how to complete the input.
Additional notes may be used by the purchaser or supplier to provide additional information pertinent to the specification or supply of the equipment.
Issue should be used by the purchaser for revision purposes. After the first issue, for each subsequent revision of the procurement data sheet that is issued to suppliers for enquiry or purchase, the purchaser should use this column to denote that the data on a specific row has been updated since the previous revision. This enables the supplier to easily identify where changes have been made.
Default values (if applicable) have been set according to essential minimum requirements as an integral part of this specification and should only be changed where specific justification can be provided.
The Supplement worksheet is provided in an open format for application of specific items not covered in the main part of the procurement data sheet. This worksheet is not intended to modify requirements defined in the specification.
Purchaser requirement and Purchaser requirement UOM specify the functional and early design requirements of the equipment. Specified requirements allow the supplier to provide an offer to the purchaser.
Supplier offered value and Supplier offered UOM are used by the supplier to declare the offered value. Where the offered product characteristic differs from the Purchaser requirement, the cell shading is automatically updated (by conditional formatting) to highlight the deviation from the Purchaser requirement.
Requirement CFIHOS ID and Equipment CFIHOS ID are prepopulated and hidden in columns K and L of the procurement data sheet worksheet. The purpose of the CFIHOS IDs is to enable information exchange in a data-centric manner.
Legend
select | Purchaser completed, drop-down list of pre-defined values (may be prepopulated with a default value)
input data | Purchaser completed data entry
select | Supplier completed, drop-down list of pre-defined values
input data | Supplier completed data entry
select | Either supplier or purchaser completed, drop-down list of predefined values (may be prepopulated with a default value)
input data | Either supplier or purchaser completed data entry
select | Selection of units from a pre-defined drop-down list
select | No input expected
input data | No input expected
UOM | Fixed unit of measure
UOM | Fixed unit of measure
No unit of measure (null)
Configuration of purchaser and supplier input columns
The following table, to be read alongside the above legend, shows the possible combinations of relationships between purchaser requirement and supplier offered values.
Purchaser requirement |  | Purchaser requirement UOM | Supplier offered value | Supplier offered UOM
select |  | select | select | select
input data |  | select | input data | select
select |  | UOM | select | UOM
input data |  | UOM | input data | UOM
select |  |  | select
input data |  |  | input data
select |  | select | select | select
input data |  | select | input data | select
select |  | UOM | select | UOM
input data |  | UOM | input data | UOM
select |  |  | select
input data |  |  | input data
select |  | select | select | select
input data |  | select | input data | select
select |  | UOM | select | UOM
input data |  | UOM | input data | UOM
select |  |  | select
input data |  |  | input data
Public Review Draft
Public Review Draft

## Back Cover
Month XXXX
Public Review Draft