## Front & Preliminaries
|  |  |  | SPECIFICATION | May 2024
|  |  |  | IOGP S-719L | Version 1.1
Information Requirements for
Water Mist Fire Protection Systems
(NFPA)
Revision history
| VERSION | DATE | PURPOSE
| 1.1 | May 2024 | Issued for Public Review
| 1 | May 2020 | First Edition
Acknowledgements
This IOGP Specification was prepared by a Joint Industry Programme 33
Standardization of Equipment Specifications for Procurement organized
by IOGP with support by the World Economic Forum (WEF).
Disclaimer
Whilst every effort has been made to ensure the accuracy of the information
contained in this publication, neither IOGP nor any of its Members past present or
future warrants its accuracy or will, regardless of its or their negligence, assume
liability for any foreseeable or unforeseeable use made thereof, which liability is
hereby excluded. Consequently, such use is at the recipient’s own risk on the basis
that any use by the recipient constitutes agreement to the terms of this disclaimer.
The recipient is obliged to inform any subsequent recipient of such terms.
Please note that this publication is provided for informational purposes and
adoption of any of its recommendations is at the discretion of the user. Except as
explicitly stated otherwise, this publication must not be considered as a substitute
for government policies or decisions or reference to the relevant legislation relating
to information contained in it.
Where the publication contains a statement that it is to be used as an industry
standard, IOGP and its Members past, present, and future expressly disclaim all
liability in respect of all claims, losses or damages arising from the use or
application of the information contained in this publication in any industrial application.
Any reference to third party names is for appropriate acknowledgement of their
ownership and does not constitute a sponsorship or endorsement.
Copyright notice
The contents of these pages are © International Association of Oil & Gas Producers.
Permission is given to reproduce this report in whole or in part provided (i)
that the copyright of IOGP and (ii) the sources are acknowledged. All other rights are
reserved. Any other use requires the prior written permission of IOGP.
These Terms and Conditions shall be governed by and construed in accordance
with the laws of England and Wales. Disputes arising here from shall be exclusively
subject to the jurisdiction of the courts of England and Wales.
IOGP S-719L (1.1) Information Requirements for
Water Mist Fire Protection Systems (NFPA)
Foreword
This specification was prepared under Joint Industry Programme 33 (JIP33) "Standardization of Equipment Specifications for Procurement" organized by the International Oil & Gas Producers Association (IOGP) with the support from the World Economic Forum (WEF). Companies from the IOGP membership participated in developing this specification to leverage and improve industry level standardization globally in the oil and gas sector. The work has developed a minimized set of supplementary requirements for procurement, with life cycle cost in mind, resulting in a common and jointly agreed specification, building on recognized industry and international standards.
Recent trends in oil and gas projects have demonstrated substantial budget and schedule overruns. The Oil and Gas Community within the World Economic Forum (WEF) has implemented a Capital Project Complexity (CPC) initiative which seeks to drive a structural reduction in upstream project costs with a focus on industry-wide, non-competitive collaboration and standardization. The CPC vision is to standardize specifications for global procurement for equipment and packages. JIP33 provides the oil and gas sector with the opportunity to move from internally to externally focused standardization initiatives and provide step change benefits in the sector's capital projects performance.
This specification has been developed in consultation with a broad user and supplier base to realize benefits from standardization and achieve significant project and schedule cost reductions.
The JIP33 work groups performed their activities in accordance with IOGP's Competition Law Guidelines (November 2020).
IOGP S-719L (1.1) Information Requirements for
Water Mist Fire Protection Systems (NFPA)
Introduction
The purpose of this information requirements specification (IRS) is to define information requirements for the procurement of water mist fire protection systems in accordance with IOGP S-719 for application in the petroleum and natural gas industries. The IRS defines the information requirements, including format, timing and purpose, for information to be provided by the supplier. It also defines the specific conditions which must be met for conditional information requirements to become mandatory. The information requirements listed in the IRS provide references to the source of the requirement.
This IRS shall be used in conjunction with the specification (IOGP S-719), procurement data sheet (IOGP S-719D) and quality requirements specification (IOGP S-719Q) which together comprise the full set of specification documents. The introduction section in the specification provides further information on the purpose of each of these documents and the order of precedence for their use.
JIP33 Specification for Procurement Documents Information Requirements Specification (IRS)
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Instructions
IOGP S-719L (1.1) Information Requirements for
Water Mist Fire Protection Systems (NFPA)
Instructions
In response to invitation to tender (ITT)
Suppliers shall submit information as defined in column E 'Submit At Proposal' in 'Requirements' sheet and in accordance with the ITT instructions.
On award of purchase order (PO)
Specified information requirements shall be submitted in accordance with the purchase order information submission instructions. Suppliers shall prepare and submit the supplier master information schedule (SMIS) incorporating information requirements in accordance with column F 'First Issue Post Purchase Order' in the 'Requirements' sheet. The supplier shall demonstrate compliance with each IRS requirement either: a) by providing document number cross reference to the requirement in the SMIS; or b) if specified in the purchase order, by using column J 'Fulfilled by Document Number(s)' in the 'Requirements' sheet.
On completion of scope
Suppliers shall validate that the information delivered meets the IRS requirements either: a) through cross reference to the deliverable type in a as-built version of the SMIS; or b) if specified in the purchase order, by providing an as-built version of the IRS with column J 'Fulfilled by Document Number(s)' in the 'Requirements' sheet populated with the specific document numbers issued to the purchaser.
IRS Structure Contents
| 1 | 'Front & Preliminaries' sheet
The 'Front & Preliminaries' sheet comprises the standard JIP33 introductory sections: IRS front sheet, revision history table, acknowledgements, disclaimer, copyright notice, foreword and introduction.
| 2 | 'Instructions' sheet
The 'Instructions' sheet provides instructions that suppliers shall follow in response to this IRS.
| 3 | 'Requirements' sheet
The 'Requirements' sheet lists information requested during tendering and shall be supplied following award of the PO.
The information requirements are grouped under three broad categories:
— Contract Management Information Requirements Key information requirements relating to planning, managing, assuring and reporting the execution of the technical scope.
— Technical Information Requirements Technical information developed by the supplier or their sub-suppliers, during the execution of the PO.
— Purchase Order Specific Information Requirements Information requirements specified by the purchaser in addition to those detailed by the IRS to meet specific operational, project or legislative requirements.
The 'Requirements' sheet comprises columns A to L.
Column A — 'Code' contains IOGP JIP33 unique record identification code specific to the individual information requirement for the particular equipment.
Column B — 'Information Requirements' contains data, documents or models to be provided by suppliers, based on the industry standard or IOGP JIP33 specification.
Column C — 'Condition Invoking Requirement' identifies any specific conditions under which the information requirement is deemed to be needed.
Column D — 'Typical Deliverable' is provided for the purchaser to identify the deliverable type that the information would typically appear within. This also allows the purchaser's requisitioning engineers to group the various information requirements by deliverable type. This column accommodates names from CFIHOS discipline-document types.
Column E — 'Submit At Proposal' (Yes / No) defines if the information requirement is requested to be submitted with the supplier's proposal. Preliminary information submitted at proposal shall be matured and delivered to the purchaser as per the PO and delivery times identified in column G 'Weeks' and column H 'Period'. As default, column ‘Submit At Proposal’ is prepopulated for CAS D procurement.
Column F — First Issue Post Purchase Order, 'Purpose' (For Information / For Acceptance) is prepopulated for CAS D procurement. 'For Information' means that information is issued for information only. 'For Acceptance' means that the information is issued for client, or delegated authorised person/organisation, to review and accept the content for use in further equipment development activities. Information acceptance does not relieve the supplier of any PO responsibility or liability.
Column G and Column H — First Issue Post Purchase Order, ('Weeks' and 'Period') include durations for the first issue of the deliverable with respect to specific activities.
|  |  |  | (Period) | Long description
|  |  |  | WAD | Weeks After Delivery
|  |  |  | WAI | Weeks After Inspection
|  |  |  | WAO | Weeks After Order
|  |  |  | WAO (Monthly) | Weeks After Order Monthly
|  |  |  | WAT | Weeks After Test
|  |  |  | WPTD | Weeks Prior To Delivery
|  |  |  | WPTF | Weeks Prior to Fabrication
|  |  |  | WPTT | Weeks Prior To Test
Table 1 — Information Submission Abbreviations
Column I — 'Required As Built' (Yes / No), where “Yes” chosen, identifies any information requirements that shall incorporate all changes that have been made to the procured equipment original information prior to the completion of the PO.
Column J — 'Fulfilled by Document Number(s)' shall be used by the supplier to demonstrate compliance with the information requirement either: a) by providing document number cross reference to the information requirement in the SMIS; or b) if specified in the PO, by using this column within IRS .
Column K — 'Translation Required' (Yes / No) Specifies if the information requirement shall be translated into another language additional to the main language specified in the PO. 'Yes' means the information requirement should be translated into other language(s) additional to the main language (to be advised in contractual documentation). 'No' means to be provided in main language only.
Column L — 'Remarks' may include additional information needed to clarify the information requirement.
| 4 | 'Definitions' sheet
The 'Definitions' sheet comprises columns A to F.
Column A — 'Code' contains the JIP33 unique record identification code specific to the individual information requirement for the particular equipment.
Column B — 'Information Requirements' contains data, documents or models to be provided by suppliers, based on the industry standard or IOGP JIP33 specification.
Column C — 'Description' provides a description of the information requirement based on an industry standard, or developed by IOGP JIP33 or JIP36 (CFIHOS).
Column D — 'Reference' gives a reference to the IOGP JIP33 specification where the information requirement is identified.
Column E — 'Format' identifies the format of the relevant information deliverable to be submitted by the supplier as described in Table 2 below. Note: Project or software specific formats shall be specified by the purchaser by means of their hand over specifications.​
| Drop-down value​ |  | Definition​ |  |  | CFIHOS ID​
| Native​ |  | A native file is the default file format that a software application is designed to work with.​ |  |  | CFIHOS-60000835​
| PDF​ |  | A universal file format developed by Adobe® and standardized as ISO 32000 which preserves all the fonts, formatting, graphics, and colour of any source document, regardless of the application and platform used to create it. PDF’s must be in Optical Character Recognition (OCR) format which is text searchable and indexed. ​ |  |  | CFIHOS-60000933​
| Hardcopy​ |  | A permanent reproduction or copy of data which cannot be easily edited or manipulated, in the form of a physical object, of any media suitable for direct use by a person (e.g. paper).​ |  |  | CFIHOS-10000123​
Table 2 — Deliverable Formats
Column F — 'CFIHOS Document Type Code' relates to the CFIHOS document type that is used to classify the document having this IRS content.
| 5 | Abbreviations and definitions
The following abbreviations, terms and definitions have been used in the various sheets of this workbook.
| buyer |  | organisation placing a contract or purchase order with supplier for equipment or services on project; may be alternatively referred to as 'user' or 'purchaser'
| CFIHOS |  | Capital Facilities Information Hand Over Specification
| company |  | project operating entity or the organisation the contractor is under contract to
| contractor |  | project contractor responsible for procuring equipment.
| information |  | data, documents and/or models
| IRS |  | information requirements specification
| PO |  | purchase order
| QRS |  | quality requirements specification
| SMIS |  | supplier master Information schedule
| supplier |  | organisation supplying equipment or services to the company and/or contractor on project; may alternatively be referred to as "vendor", "seller" or “manufacturer”.
| 6 | CFIHOS
The information requirements in the IRS are classified according to the IOGP JIP36 Capital Facilities Information Hand Over Specification (CFIHOS). The objective of mapping JIP33 IRS information requirements to CFIHOS is to facilitate value delivery across the supply chain through increased digitalization. ​Further information on CFIHOS can be found at:
https://www.jip36-cfihos.org
| 7 | Document metadata
Typical metadata for Information deliverables to be provided by suppliers in the SMIS is shown in Table 3 below. Metadata listed below are as per CFIHOS defined document properties (metadata) defined in CFIHOS C-SP-001 CFIHOS Specification Document, chapter Document properties (metadata).
| Name |  |  | Definition |  |  | CFIHOS unique ID
| Document number |  |  | The document master to which this revision is related |  |  | CFIHOS-10000154
| Document revision code |  |  | A code used to identify the content of a document at a certain point in time. |  |  | CFIHOS-10000162
| Document title |  |  | A description, in a short and concise manner, of the content of the document |  |  | CFIHOS-10000168
| Document revision date |  |  | The date the document was revised |  |  | CFIHOS-10000076
| Originator company |  |  | The name of the company who has generated the document revision |  |  | CFIHOS-10000077
| Document revision author |  |  | The name of the person who created the document revision |  |  | CFIHOS-10000078
| Document revision approver |  |  | The name (or the User ID) of the person who has approved the document revision |  |  | CFIHOS-10000079
| Document revision file name |  |  | The name of the electronic file (including the file extension) with the full path. When this attribute is populated the attribute physical storage location shall be left empty. |  |  | CFIHOS-10000080
| Originator document number |  |  | The unique identifier for the Document according to the originator document numbering scheme. |  |  | CFIHOS-10000160
| Originator document revision code |  |  | A code used to identify the content of a document at a certain point in time according to the originator which doesn't necessarily conform to the Owner/Operator's document revision coding scheme. |  |  | CFIHOS-10000081
| Document status code |  |  | The status of the document revision |  |  | CFIHOS-10000083
| ISO language code |  |  | The primary language that the document revision is written in. |  |  | CFIHOS-10000147
| Discipline document type short code |  |  | At alternate way of identifying uniquely a combination of discipline and document type |  |  | CFIHOS-10000207
| Project code |  |  | The code that identifies the project the document revision refers to. |  |  | CFIHOS-10000161
| Document revision comment |  |  | Any additional comment / explanation for a document revision. |  |  | CFIHOS-10000085
| Plant code |  |  | The plant that the document revision is related to. |  |  | CFIHOS-10000005
| Export control classification |  |  | The Export Control Rule that is applicable for the document revision (e.g., ECCN, EAR). |  |  | CFIHOS-10000086
| Transmittal number |  |  | The transmittal through which this document revision was communicated. |  |  | CFIHOS-10000087
| Security classification |  |  | Indicates internal Owner-Operator access restriction applicable for the document |  |  | TBA
Table 3 — Supplier Deliverable Metadata
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Requirements
IOGP S-719L (1.1) Information Requirements for Water Mist Fire Protection Systems (NFPA)
Requirements
Column | Heading — Details and requirements
A | Code — Contains IOGP JIP33 unique record identification code specific to the individual information requirement for the particular equipment.
B | Requirement — Contains data, documents or models to be provided by suppliers, based on the industry standard or IOGP JIP33 specification.
C | Condition Invoking Requirement — Describes condition(s) under which the information requirement is required (e.g. service offshore and weight greater than one tonne means information is required). Note: if blank, always required.
D | Typical Deliverable — Purchaser to advise the short description of the information deliverable that would typically include this information requirement
E | Submit At Proposal — 'Yes' or 'No', where ‘Yes' means the information requirement is required to be submitted with the supplier's proposal or 'No' is not required.
F, G & H | First Issue Post Purchase Order — Issue purpose ('For Information' or 'For Acceptance'), time in weeks for issue of the information requirement and period defined after the purchase order placement. See the 'Instructions' sheet, Table 1 for full description of codes use in column H 'Period'.
I | Required As Built — Any information incorporating all changes that have been made to the procured equipment original information prior to the completion of the purchase order.
J | Fulfilled by Document Number(s) — Identifies which information requirement(s) listed in the supplier master information schedule (SMIS) addresses the purchaser's requirements. Note: It should be noted that one information deliverable can fulfil more than one information requirement.
K | Translation Required — 'Yes' or 'No', specifies if the information requirement shall be translated into another language additional to the main language specified in the purchase order.
L | Remarks — Additional information needed to clarify the information requirement.
Col A | Col B | Col C | Col D | Col E | Col F | Col G | Col H | Col I | Col J | Col K | Col L
Code | Requirement | Condition Invoking Requirement | Typical Deliverable | Submit At Proposal | First Issue Post Purchase Order |  |  | Required As Built | Fulfilled by Document Number(s) | Translation Required | Remarks
|  |  |  | (Yes/No) | Purpose | (Weeks) | (Period) | (Yes/No)
Contract Management Information Deliverables
S719-IR-1 | Supplier master information schedule |  | Information deliverables list | No | For Acceptance |  | - | - |  | -
S719-IR-2 | Delivery schedule |  | Delivery/production schedule | Yes | For Information |  | - | - |  | -
S719-IR-3 | Progress report |  | Progress report | No | For Information |  | - | - |  | -
S719-IR-4 | Quality plan | Required for CAS A, CAS B, CAS C | Quality plan | - | - |  | - | - |  | -
S719-IR-5 | Sub-vendor delivery schedule | Required for CAS A, CAS B | Sub-supplier list | - | - |  | - | - |  | -
S719-IR-6 | Inspection and test plan for complete package | Required for CAS A, CAS B, CAS C, CAS D | Inspection and test plan (ITP) | - | - |  | - | - |  | -
S719-IR-7 | Handling, shipping, storage and preservation procedure |  | Handling, shipping and storage procedure | No | For Information |  | - | - |  | -
S719-IR-8 | Non-conformance records |  | Non-conformance records | No | For Acceptance |  | - | - |  | -
S719-IR-9 | Concession requests |  | Concession request | No | For Acceptance |  | - | - |  | -
Technical Information Deliverables
S719-IR-21 | Fire test certificate / approval report |  | Fire test certificate | No | For Information |  | - | - |  | - | To give evidence that the solution is fit for purpose. Either with a listed product (certificate and / or a approval report) or by fire scenario engineered solution.
S719-IR-70 | Fire test protocol | For fire-scenario engineered systems only | Test procedure | No | For Acceptance |  | - | - |  | - | To develop a system (solution) for an application where a water mist solution or international fire test protocol does not currently exist. The protocol is a collaboration between all relevant parties.
S719-IR-19 | General arrangement drawing fire-fighting skid (FFS) |  | General arrangement diagram | No | For Acceptance |  | - | - |  | - | May include bill of materials
S719-IR-22 | General arrangement drawing fire-fighting nozzles and piping |  | General arrangement diagram | No | For Acceptance |  | - | - |  | - | May include bill of materials and be in either 2D or isometric format.
S719-IR-59 | General arrangement drawing water supply |  | General arrangement diagram | No | For Acceptance |  | - | - |  | - | May include bill of materials.
S719-IR-74 | Foundation loading diagram |  | Foundation loading diagram | No | For Information |  | - | - |  | -
S719-IR-20 | Detailed drawing |  | Detailed drawing | No | For Information |  | - | - |  | -
S719-IR-75 | Name plate drawing |  | Name plate drawing | No | For Information |  | - | - |  | -
S719-IR-23 | Bill of materials |  | Bill of materials | No | For Information |  | - | - |  | - | May be included with the general arrangement or detailed drawings.
S719-IR-29 | Design manual |  | Design philosophy | No | For Acceptance |  | - | - |  | - | This may be one document or a set of documents and may be combined in one overall document known as the DIOM (design, installation, operation and maintenance) manual.
S719-IR-26 | Installation manual |  | Installation manual | No | For Acceptance |  | - | - |  | - | This may be one document or a set of documents and may be combined in one overall document known as the DIOM (design, installation, operation and maintenance) manual.
S719-IR-28 | Operating manual |  | Operating manual | No | For Acceptance |  | - | - |  | - | This may be one document or a set of documents and may be combined in one overall document known as the DIOM (design, installation, operation and maintenance) manual.
S719-IR-27 | Maintenance manual |  | Maintenance manual | No | For Acceptance |  | - | - |  | - | This may be one document or a set of documents and may be combined in one overall document known as the DIOM (design, installation, operation and maintenance) manual.
S719-IR-30 | Hydraulic calculation |  | Hydraulic calculation | Yes | For Acceptance |  | - | - |  | - | This may be one document or a set of documents and may be combined in one overall document known as the DIOM (design, installation, operation and maintenance) manual.
S719-IR-61 | Design calculation |  | Design calculation | No | For Information |  | - | - |  | -
S719-IR-33 | Electrical wiring diagram |  | Wiring diagram | No | For Acceptance |  | - | - |  | -
S719-IR-34 | Piping and instrumentation diagram |  | Piping and instrumentation diagram | Yes | For Acceptance |  | - | - |  | -
S719-IR-55 | Logic diagram |  | Logic diagram | No | For Information |  | - | - |  | -
S719-IR-62 | Written sequence of operation |  | Control philosophy | No | For Acceptance |  | - | - |  | -
S719-IR-36 | Lifting point calculations |  | Load chart - lifting equipment | No | For Acceptance |  | - | - |  | -
S719-IR-32 | Vendor technical data sheet |  | Datasheet | No | For Acceptance |  | - | - |  | -
S719-IR-64 | Welding procedure specification for fire-fighting skid enclosure |  | Welding procedure specification | No | For Information |  | - | - |  | - | Not required for water mist standard (listed components) such as manifolds, pump unit frames etc. Only applicable to fire sighting skids and enclosures.
S719-IR-83 | Welder qualification certificate |  | Welder qualification certificate | No | For Information |  | - | - |  | - | Welder Qualification Certificate is required when welding is required above the manufacturer's standard, when JIP33 Supplementary Specification for welding (S-705) is required.
S719-IR-63 | Surface preparation and coating procedure for fire-fighting skid enclosure | Only for fire-fighting skid enclosures for offshore or marine environments | Painting and coating procedure | No | For Acceptance |  | - | - |  | - | Only applicable to exposed items (e.g. the fire-fighting skid enclosure) components, such as pumps, motors and frames shall be the manufactures standard, unless overruled by the project datasheet.
S719-IR-65 | Coating certificate for fire-fighting skid enclosure | Only for fire-fighting skid enclosures for offshore or marine environments | Painting and coating inspection records | No | For Acceptance |  | - | - |  | - | Only applicable to exposed items (e.g. the fire-fighting skid enclosure) components, such as pumps, motors and frames shall be the manufactures standard, unless overruled by the project datasheet.
S719-IR-46 | Production test procedure for nozzles | Required for CAS A, CAS B | Manufacturing qualification procedure | - | - |  | - | - |  | -
S719-IR-38 | Production test certificate for nozzles | Required for CAS A, CAS B | General certificate | - | - |  | - | - |  | - | Test procedure and certificate may be in one combined document.
S719-IR-45 | Production test procedure for flexible hose | Required for CAS A, CAS B | Manufacturing qualification procedure | - | - |  | - | - |  | -
S719-IR-39 | Production test certificate for flexible hose | Required for CAS A | General certificate | - | - |  | - | - |  | -
S719-IR-44 | Production test procedure for section valve | Required for CAS A, CAS B | Manufacturing qualification procedure | - | - |  | - | - |  | -
S719-IR-40 | Production test certificate for section valve | Required for CAS A | General certificate | - | - |  | - | - |  | - | Test procedure and certificate may be in one combined document.
S719-IR-56 | Production test procedure for high pressure cylinders | Required for CAS A, CAS B and only required for cylinder-based system. | Manufacturing qualification procedure | - | - |  | - | - |  | - | Test procedure and certificate may be in one combined document. Applicable to both gas and water cylinders that are part of a high-pressure system.
S719-IR-57 | Production test certificate for high pressure cylinders | Required for CAS A, CAS B and only required for cylinder-based system. | General certificate | - | - |  | - | - |  | -
S719-IR-47 | Production test procedure for manifold | Required for CAS A, CAS B | Manufacturing qualification procedure | - | - |  | - | - |  | -
S719-IR-42 | Production test certificate for manifold |  | General certificate | No | For Information |  | - | - |  | - | Test procedure and certificate may be in one combined document.
S719-IR-35 | Factory acceptance test (FAT) procedure |  | Factory acceptance test (FAT) procedure | No | For Acceptance |  | - | - |  | - | The water mist manufacturer will have their own FAT requirements, these requirements can be increased or decreased in collaboration between, the supplier and the customer, and where applicable the AHJ.
S719-IR-69 | Factory acceptance test (FAT) records |  | Factory acceptance test (FAT) records | No | For Information |  | - | - |  | - | Records demonstrating results of factory tests including discrete functional unit and overall assembly, electrical, mechanical, and if applicable discharge tests.
S719-IR-86 | Weight certificate |  | Weight certificate | No | For Information |  | - | - |  | -
S719-IR-50 | Pneumatic test procedure |  | Pressure test procedure | No | For Information |  | - | - |  | -
S719-IR-52 | Pneumatic test records |  | Pressure test report | No | For Information |  | - | - |  | -
S719-IR-51 | Hydrostatic test procedure |  | Pressure test procedure | No | For Acceptance |  | - | - |  | -
S719-IR-53 | Hydrostatic test records |  | Pressure test report | No | For Information |  | - | - |  | -
S719-IR-25 | Acceptance test plan |  | Site acceptance test (SAT) procedure | No | For Acceptance |  | - | - |  | -
S719-IR-49 | Acceptance test plan record |  | Site acceptance test (SAT) records | No | For Acceptance |  | - | - |  | -
S719-IR-37 | Spare part list |  | Spare part list | No | For Acceptance |  | - | - |  | -
S719-IR-43 | Special tools list |  | Special tools list | No | For Information |  | - | - |  | -
S719-IR-80 | Fluid schedule |  | Fluid analysis | No | For Information |  | - | - |  | -
S719-IR-68 | Safety datasheet for liquids |  | Safety data sheet | No | For Information |  | - | - |  | -
S719-IR-54 | Material declaration of conformity (2.1) | Required for CAS A, CAS B | Material declaration of conformity (2.1) | - | - |  | - | - |  | -
S719-IR-72 | Materials test report (2.2) | include in MRB (manufacturing record book) | Materials test report (2.2) | No | For Information |  | - | - |  | -
S719-IR-87 | Manufacturer record book (MRB) |  | Manufacturer record book (MRB) | No | For Information |  | - | - |  | - | Manufacturer Record Book index, if required, shall be provided in first revision of the document. When index agreed, Manufacturer Record Book content shall be provided in subsequent revision of the document.
S719-IR-71 | Training manual |  | Training manual | No | For Information |  | - | - |  | - | A collection of training materials. May include Operational & Maintenance Training Plan providing durations and locations of sessions System training, certificate of attendance and training manual, generally carried out at the commissioning phase.
Purchase Order Specific Information Requirements
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Definitions
IOGP S-719L (1.1) Information Requirements for Water Mist Fire Protection Systems (NFPA)
Definitions
Column | Heading — Details and requirements
A | Code — Contains IOGP JIP33 unique record identification code specific to the individual information requirement for the particular equipment.
B | Requirement — Contains data, documents or models to be provided by suppliers, based on the industry standard or IOGP JIP33 specification.
C | Description — Provides a description of the information requirement based on an industry standard, or developed by IOGP JIP33 or JIP36 (CFIHOS).
D | Reference — Reference to the IOGP JIP33 specification where the information requirement is identified.
E | Format — Defines the required format of the relevant information requirement to be submitted by the supplier.
F | CFIHOS Document Type Code — CFIHOS document type code that is used to classify the document having this IRS content.
Col A | Col B | Col C | Col D | Col E | Col F
Code | Requirement | Description | Reference | Format | CFIHOS Document Type Code
Contract Management Information Deliverables
S719-IR-1 | Supplier master information schedule | Schedule of specific information deliverables developed by the [Vendor] and accepted by the [Purchaser] to meet the information requirements defined in the agreed Information Requirements Specification (IRS). The schedule typically defines; a. information deliverable type, title/description b. unique identification (code/number) in the [Vendor's] format unless agreed otherwise in the contract. c. planned submission arrangements including; purpose, formats, timing, frequency Arrangements for managing submissions, tracking progress and updating the schedule during the execution of the contract scope will be in accordance with contractual agreements. |  | Native | CFIHOS-70000099
S719-IR-2 | Delivery schedule | Schedule depicting, as applicable to the service or product scope, design, supply, manufacture, inspection, testing and delivery activities to be executed by [vendor/sub-vendors]. Schedule details typically** include; a) Contractual milestones b) Activity early/late start/completion dates, durations, dependencies (Calendar Dates) c) Critical path and float d) Outsourced services and equipment (cross referenced to purchase order and supplier) e) Information deliverable submission dates identifying any execution activity dependencies Progress against planned dates is measured and the schedule updated and reported to the [purchaser] in accordance with contract reporting agreements. ** Schedule development tools, formats and submission protocols follow the [vendor's] standard practice unless otherwise agreed in the contract. |  | PDF | CFIHOS-70000298
S719-IR-3 | Progress report | Report detailing activities completed in the period, percent complete against planned, activities planned for the next period, risks/areas of concern, cause of any delays and proposed recovery plans, concessions, internal and outsourced inspection and audit activities. Note: may also include actionable items such as Health, Safety, Security & Environment (HSSE) incidents & status if required under the Contract. |  | PDF | CFIHOS-70000300
S719-IR-4 | Quality plan | Plan specifying the actions, responsibilities and associated resources to be applied by the [vendor], and when applicable [sub-vendors] or [manufacturers], to deliver the services or procured item(s) in conformance with the agreed requirements. ISO 9001 Clause 8.1 and ISO 10005 may be used to inform the development of quality plans for specific applications, processes or products. [API Spec Q2 may be used to inform the development of Service Quality Plans] |  | PDF
S719-IR-5 | Sub-vendor delivery schedule | Definition of processes, products or services that will be externally provided and the controls to be applied by the [vendor] to ensure conformance with agreed requirements. The schedule includes evidence of the basis of capability assessment , quality management system certification (or equivalent), process or product qualification for proposed suppliers of outsourced products and services when nominated in the Contract or Quality Requirements Specification (QRS) . Note: ISO 9001, API Specs Q1/Q2 define requirements for assessing risks and establishing controls for outsourced products and services. |  | Native
S719-IR-6 | Inspection and test plan for complete package | Tabular presentation of a quality plan typically used for process or product applications to define the specific sequence of operational activities, instructions, acceptance criteria records and associated [vendor], [purchaser] and independent conformity assessment activities. |  | PDF | CFIHOS-70000180
S719-IR-7 | Handling, shipping, storage and preservation procedure | Definition of practices to be followed during the; storage, transport, lifting and preservation of the equipment and materials included in the scope of supply to maintain their functionality and guarantees. Procedures typically define: a. packaging requirements; contents, identification, size, weight and number of packages/container (s), b. special packing/unpacking/handling requirements c. storage location and requirements, d. preservation requirements detailing inspection periods and required maintenance, materials required etc., both prior to installation and post installation, but prior to commissioning. |  | PDF | CFIHOS-70000154
S719-IR-8 | Non-conformance records | Details of non-conformances raised by or to the [vendor/sub-vendors] against technical requirements prior to or during the delivery of the products or services. Non-conformance is managed by the [vendor] in accordance with ISO 9001 Clause 8.7 and associated records typically include description of non-conformance, analysis and disposition, correction implemented and details of any retesting or inspection taken to demonstrate subsequent conformance. Note: Instances where the proposed disposition is to accept a non-conforming condition are subject to agreement by the [purchaser] in accordance with the concession management protocols defined in the Contract. |  | PDF | CFIHOS-70000226
S719-IR-9 | Concession requests | Formal submission seeking [purchaser] agreement to accept deviations from the contracted scope or technical requirements. Requests may be raised as a result of, as examples, material or service availability, obsolescence, innovation, non-conformance. Requests are typically raised as required during execution with a summary report detailing concessions raised, [purchaser] directions, agreed action status provided with progress reports and at contract closeout |  | PDF | CFIHOS-70000389
Technical Information Deliverables
S719-IR-21 | Fire test certificate / approval report | Fire test certificate / approval report that forms part of the listing or the fire scenario-engineered solution. | 5.2.2, 11.1.4, 11.2.3, 11.2.4, 11.4.1.3.1, 11.4.1.3.2, 11.4.2.1, 11.4.2.2, 11.4.2.3, 11.4.3.1, 12.3.1, 12.5.1.2, 12.5.1.7, 12.6.5, 12.6.8.1, 13.1.1, 13.1.2, 13.1.5, 14.1.5, 14.2.6.6, 16.1.2.1, 16.1.2.2, 16.1.3.1, 16.1.4, 16.2.1, 16.2.11.4, 16.2.11.6, 16.2.11.7, 16.2.12, 16.2.13.1, 16.2.13.2, 16.2.14, 16.2.7, 16.2.8, 16.3.2, 16.3.2.1, 16.3.2.2, 16.3.2.3, 16.3.5.5, 16.3.5.6, 16.3.5.7.1, 16.3.5.7.2, 16.3.5.7.3, 16.3.5.7.4, 16.3.5.7.5, 16.3.9.1, 16.3.9.10, 16.3.9.11, 16.3.9.2, 16.3.9.3, 16.3.9.4, 16.3.9.5, 16.3.9.6, 16.3.9.7, 16.3.9.8, 16.3.9.9, 17.1.1, 17.1.3, 17.2.1.1, 17.3.2.2, 17.3.2.3, 17.4, 18.1.2, 18.2.1, 18.2.2, 18.2.3, 18.2.4, 18.3, 18.4.1, 18.4.3, 18.4.4, 18.5.1, 18.5.2, 18.5.3, 18.6.1, 18.6.2, 5.1.1, 5.1.2, 5.1.3, 6.1.1.1, 6.1.1.3, 6.1.2.1, 6.1.2.2, 6.1.3.2, 6.1.4, 6.10.1.3, 6.10.2.1, 6.10.3.2, 6.10.3.4, 6.10.3.6.1, 6.10.4.1, 6.10.4.2, 6.10.4.3.5, 6.2.1, 6.2.2.1, 6.2.2.5, 6.3.2.1, 6.3.2.2, 6.3.2.3, 6.3.3.1, 6.3.3.2, 6.3.3.3, 6.3.3.4, 6.3.4.1, 6.3.4.4, 6.4.1.1, 6.4.2.1, 6.4.2.2, 6.4.2.4, 6.4.2.5, 6.4.2.6, 6.4.2.8, 6.4.2.9, 6.5.3, 6.5.4.1, 6.5.6, 6.6.1, 6.6.6.1, 6.6.7.1, 6.6.7.2, 6.7.1.1, 6.7.2, 6.8.1, 6.8.4, 6.8.7, 6.9.1.1, 6.9.1.8, 7.2, 7.2.1.3, 7.2.2.2, 7.2.3.1, 7.2.3.2, 7.2.4.1, 7.2.4.2, 7.2.4.3, 7.2.4.4, 7.4.1.1, 7.4.3.4, 7.4.3.5, 7.4.3.8, 7.4.3.8.1, 7.5, 8.1.6.1.1, 8.1.6.2, 8.1.6.3, 8.1.6.4, 8.2.1, 8.2.10.1, 8.2.10.2, 8.2.2, 8.2.3, 8.2.4, 8.2.5, 8.2.6, 8.2.7, 8.2.8.1, 8.2.8.2, 8.2.9.1, 8.2.9.2, 8.2.9.3, 8.3.3, 8.4.1, 8.5.1, 8.5.4, 8.5.5.4.1, 8.5.5.5, 8.5.6.2, 8.5.6.4, 8.5.6.5, 8.5.6.6.1, 8.5.6.7, 8.8.1.1, 8.8.1.3, 8.8.3.2.1, 8.8.3.2.2, 8.8.4.1, 8.9.4.1.1, 9.1.1, 9.1.2, 9.1.3, 9.1.4, 9.1.5, 9.2.1, 9.2.3.2, 9.2.4.1, 9.2.4.2, 9.2.5, 9.2.6.1, 9.2.6.3, 9.3.1, 9.4.1, 9.4.1.1, 9.4.1.2.1.1, 9.4.1.2.1.2, 9.4.1.2.2.1, 9.4.1.2.2.2, 9.4.2.1.1, 9.4.2.1.2, 9.4.2.2.1, 9.4.2.2.2, 9.4.2.2.3.1, 9.4.2.2.3.2, 9.4.2.2.4.1, 9.4.2.2.4.2, 9.4.2.2.4.4, 9.4.2.2.5, 9.4.2.2.6, 9.4.3, 9.4.4.1, 9.4.4.2, 9.4.5, 9.4.5.1, Table 11.2.2(a | PDF
S719-IR-70 | Fire test protocol | For fire scenario-engineered solutions, fire test protocols shall be developed as per the normative reference EN 14972-1:2020 Annex A. | 5.2.2, 16.3.2, 16.3.2.1, 16.3.2.2, 16.3.2.3, 16.3.5.5, 16.3.5.6, 16.3.9.3, 16.3.9.4, 16.3.9.5, 16.3.9.8, 18.1.2, 18.2.2, 18.2.3, 18.2.4, 18.4.4, 18.5.1, 18.5.2, 18.5.3, 9.2.6.3, 9.4.3, Table 17.2.1 | PDF
S719-IR-19 | General arrangement drawing fire fighting skid (FFS) | A drawing showing overall dimensions, critical interface dimensions, part references and weight of assemblies, equipment and components. The drawing shall contain reference to main specifications and standards For equipment / components the drawing may include cross sectional views. Document may contain the following information: (1) main dimensions (2) the north point indication (3) interface connections (4) location and type of control valve sets (5) weight (6) center of gravity (7) withdrawal / installation and maintenance space (8) pressure switches (9) locations and sizes of any subsidiary stop valves (10) the drainage slope of the pipework (11) the locations of all drain and test valves (12) installation and mounting details (13) lifting arrangement (14) a key to the symbols used on drawings. | 12.4.3, 12.4.4, 12.4.5, 12.5.4.5, 12.5.4.6, 12.5.4.7, 12.5.5.1, 12.5.5.2, 12.5.5.4, 12.5.5.5, 13.1.1, 13.1.3, 13.1.5, 13.4.1, 13.4.2, 13.4.4, 14.2.4.1.8, 14.2.4.1.9, 14.2.4.2.6, 16.1.10, 16.2.11.4, 16.2.11.5, 16.2.13.1, 16.2.13.2, 16.2.2, 16.3.8, 16.3.9.10, 16.3.9.11, 16.3.9.8, 16.3.9.9, 16.4, 17.2.2.1, 17.3.2.2, 17.3.2.3, 17.5, 6.1.1.2, 6.1.4, 6.10.3.6.1, 6.2.2.1, 6.2.2.5, 6.2.2.6.1, 6.2.2.6.2, 6.2.2.7, 6.2.2.8.1, 6.2.2.8.2, 6.2.3, 6.9.1.2, 8.3.2, 8.3.7, 8.5.1, 8.5.2, 8.5.3, 8.5.4, 8.5.5.3.1, 8.5.5.3.2, 8.5.5.4.1, 8.5.5.4.2, 8.5.5.5, 8.5.6.4, 8.5.6.5, 8.5.6.6.1, 8.5.6.6.2, 8.5.6.7, 8.6.5, 8.8.2.3, 8.8.3.1.6, 8.8.3.2.1, 8.8.3.2.6, 8.8.3.2.7, 8.8.4.1, 8.8.4.3, 8.8.4.4, 8.8.4.4.1, 8.8.5.1, 8.9.4.3 | PDF | CFIHOS-70000153
S719-IR-22 | General arrangement drawing fire fighting nozzles and piping | A drawing showing overall dimensions, critical interface dimensions, part references of nozzles and distribution pipework. The drawing shall contain reference to main specifications and standards. For equipment / components the drawing may include cross sectional views. Document may contain the following information: (1) main dimensions (2) interface connections (3) withdrawal/installation and maintenance space (4) installation and mounting details (5) the north point indication (6) indication of obstructions which may adversely influence performance of water mist nozzles (7) the fire detecting means (8) fire alarms, flow alarms, sounders and alarm panel (9) the drainage slope of the pipework (10) the locations of all drain and test valves (11) pipework and pipe fitting specifications and materials (12) a key to the symbols used on drawings. | 12.5.1.4.1, 12.5.1.5.2, 12.5.1.5.3, 12.5.2.3, 13.1.1, 13.1.2, 13.1.3, 13.1.4, 13.1.5, 13.1.6, 13.4.1, 13.4.2, 13.4.4, 14.2.2.1.1, 14.2.4.1.1, 14.2.4.1.2, 14.2.4.1.3, 14.2.4.1.4, 14.2.4.1.5, 14.2.4.1.6, 14.2.4.1.7, 14.2.4.2.6, 14.2.6.1, 16.1.12.1, 16.1.12.2, 16.1.12.3, 16.1.12.4.1, 16.1.3.2, 16.1.5, 16.2.1, 16.2.11.1, 16.2.11.2, 16.2.11.3, 16.2.11.6, 16.2.11.7, 16.2.12, 16.2.14, 16.2.15, 16.3.1.2, 16.3.2.3, 16.3.3.1, 16.3.3.2, 16.3.7, 16.3.8, 16.3.9.10, 16.3.9.11, 16.3.9.3, 16.3.9.4, 16.3.9.5, 16.3.9.6, 16.3.9.7, 16.3.9.8, 16.3.9.9, 16.4, 17.3.1.3, 17.5, 6.1.1.2, 6.3.3.1, 6.3.3.2, 6.3.4.2, 6.4.1.1, 6.4.1.2.1, 6.4.1.2.3, 6.4.2.2, 6.4.2.3, 6.4.2.5, 6.4.2.6, 6.6.7.1, 6.6.7.3, 6.7.1.2, 6.7.3.1, 7.2.1.3, 7.4.3.7, 8.1.6.1, 8.1.6.1.1, 8.1.6.2, 8.1.6.3, 8.1.6.4, 8.10.1, 8.10.2, 8.10.3, 8.10.4, 8.2.10.3, 8.2.3, 8.2.4, 8.2.5, 8.2.6, 8.2.7, 8.3.2, 8.3.4.1, 8.3.4.2, 8.3.5, 8.3.6.1, 8.3.6.2, 8.3.7, 8.4.1, 8.4.2, 8.8.1.8.1, 8.8.2.3, 8.8.3.1.1, 8.8.3.1.2, 8.8.5.1, 8.9.4.3, 9.2.3.2, 9.2.4.1, 9.2.4.2, 9.2.5, 9.4.4.1, 9.4.4.2, Table 6.6.7.1, Table 8.3.4.2 | PDF | CFIHOS-70000153
S719-IR-59 | General arrangement drawing water supply | A drawing showing overall dimensions, critical interface dimensions, part references and weight of assemblies, equipment and components. The drawing shall contain reference to main specifications and standards. For equipment / components the drawing may include cross sectional views. Document may contain the following information: (1) main dimensions (2) interface connections (3) weight (4) center of gravity (5) withdrawal/installation and maintenance space (6) installation and mounting details (7) lifting arrangement (8) the north point indication (9) indication of obstructions which may adversely influence performance of water mist nozzles (10) the fire detecting means (11) fire alarms, flow alarms, sounders and alarm panel (12) the drainage slope of the pipework (13) the locations of all drain and test valves (14) pipework and pipe fitting specifications and materials (15) water meters and any connections for other services shall be shown (16) a key to the symbols used on drawings. | 10.1.2.1.1, 10.1.2.3, 10.1.2.4, 12.1.2, 12.1.3, 12.2, 12.3.2, 12.4.1, 12.4.2, 12.4.3, 12.4.4, 12.5.1.5.1, 12.5.1.5.2, 12.5.1.5.3, 12.5.1.5.4, 12.5.1.6, 12.5.3.1, 12.5.3.2, 12.5.5.1, 12.5.5.2, 12.5.5.4, 12.5.5.5, 12.6.6, 12.7, 13.1.1, 13.1.3, 13.1.5, 13.1.6, 13.4.1, 13.4.2, 13.4.4, 16.1.11, 16.1.12.1, 16.1.12.2, 16.1.12.3, 16.1.13.1, 16.1.13.2, 16.1.9.1, 16.1.9.2, 16.1.9.3.1, 16.1.9.3.2, 16.1.9.3.3, 16.2.3, 16.2.5, 16.2.6, 16.2.7, 16.2.8, 16.3.5.1, 16.3.5.2, 16.3.5.3, 16.3.5.4.1, 16.3.5.4.2, 16.3.5.7.1, 16.3.5.7.2, 16.3.5.7.3, 16.3.5.7.4, 16.3.5.7.5, 16.3.7, 16.3.8, 16.3.9.12, 16.4, 17.3.2.1, 17.5, 6.9.1.2, 8.3.2, 8.3.7, 8.7.2, 8.8.1.7.1, 8.8.2.3, 8.8.4.2, 8.8.4.3, 8.8.4.4, 8.8.4.4.1 | PDF | CFIHOS-70000153
S719-IR-74 | Foundation loading diagram | A diagram detailing static and dynamic forces or movements acting on foundations or other load bearing supports, anchor bolt details, lengths and pre-tensioning. May include Civil Structural for loads imposed, and Civil Foundations for foundation design. Document or drawing detailing foundation loads to permit adequate foundation design by the purchaser. This shall include the following items: - the size and location of foundation bolts; - the weight distribution for each bolt and sub-soleplate location; - minimum foundation stiffness required to achieve specified vibration levels; - any unbalanced forces or moments generated by the machine in the specified operating range; - resultant forces and moments resolved at the centerline of the machine; - thermal displacements (where applicable); - the location of the center of gravity; and - foundation forces as a result of worst case transient conditions. | 6.1.4 | PDF | CFIHOS-70000151
S719-IR-20 | Detailed drawing | Drawing showing parts of a construction or a component, generally enlarged, and including specific information about the form and construction or about the assembly and joints. Also supports other documents where a cross-sectional view or part list is necessary for clarity. A view or drawing that shows what the inside of equipment looks like after a cross-sectional cut has been made. (Source: ISO 10209) | 12.5.1.4.1, 12.5.1.4.2, 12.5.4.5, 13.1.5, 13.4.1, 13.4.2, 13.4.4, 16.2.1, 16.2.2, 18.4.1, 18.4.3, 6.3.4.4, 6.6.3, 6.6.4, 6.6.5, 6.6.7.1, 6.6.7.2, 6.8.3, 6.8.6, 6.8.7, 8.3.3, 8.5.5.1, 8.8.3.1.3 | PDF | CFIHOS-70000116
S719-IR-75 | Name plate drawing | A drawing that depicts layout information required either by the nominated standard or supplementary specification. | 14.2.7 | PDF
S719-IR-23 | Bill of materials | A list of parts, components and sub-assemblies for equipment with part numbers, item numbers, quantities, material designations and references to specifications. Note When agreed includes details of sub-suppliers & associated PO's. The manufacturer's standard detail cross sectional drawing may be delivered. Typical information may be: – Items list with reference to supplier’s part number. – Material definition with reference to relevant standards. | 13.1.5, 13.4.1, 13.4.2, 18.4.3, 6.2.2.5, 6.2.2.8.1, 6.4.1.1 | PDF | CFIHOS-70000028
S719-IR-29 | Design manual | A document or a set of documents outlining the premise and intent for decisions that are to be followed regarding a design. These shall provide information to allow the user or a third party to verify that the system has been designed properly. | 6.9.1.4.4.3 paragraph 1 sentence 1, 6.9.1.4.5.2 paragraph 1 sentence 1, 6.9.1.4.5.3 paragraph 1 sentence 1, 5.2.2, 10.1.2.1, 10.1.2.1.1, 10.1.2.2.1, 10.1.2.3, 10.1.2.4, 10.2, 10.3.1.9.1, 10.3.1.9.2, 10.3.2.3.2, 10.3.2.5.6, 10.3.2.8.1.4, 11.1.1, 11.1.2, 11.1.3, 11.1.4, 11.1.5, 11.2.1, 11.2.2, 11.2.3, 12.3.1, 12.3.2, 12.5.1.2, 12.5.1.4.1, 12.5.1.4.2, 12.5.1.6, 12.5.1.7, 12.5.2.1, 12.5.2.2, 12.5.2.3, 12.5.2.4.1, 12.5.2.4.2, 12.5.3.1, 12.5.3.2, 12.5.4.1, 12.5.4.2, 12.5.4.3, 12.5.4.5, 12.5.4.6, 12.5.4.7, 12.5.5.1, 12.5.5.2, 12.5.5.4, 12.5.5.5, 12.6.1, 12.6.2.1, 12.6.2.2, 12.6.3, 12.6.4, 12.6.5, 12.6.6, 12.6.7, 12.7, 13.1.1, 13.1.2, 13.1.5, 13.3.4, 13.4.1, 13.4.3.1, 13.4.3.2, 14.2.4.1.1, 14.2.4.1.2, 14.2.4.1.3, 14.2.4.1.4, 14.2.4.1.5, 14.2.4.1.6, 14.2.4.1.7, 14.2.4.1.8, 14.2.4.1.9, 14.2.4.2.6, 14.2.6.1, 14.2.6.3, 14.2.6.4, 14.2.6.5, 14.2.6.6, 14.2.6.7, 15.1.2, 16.1.12.10, 16.1.12.4.1, 16.1.12.4.2, 16.1.12.4.3, 16.1.12.5, 16.1.12.6, 16.1.12.7, 16.1.12.8, 16.1.12.9, 16.1.13.1, 16.1.3.2, 16.1.4, 16.1.5, 16.1.6, 16.1.7.1, 16.1.7.2, 16.1.7.3, 16.1.7.4, 16.1.8, 16.1.9.1, 16.1.9.2, 16.1.9.3.1, 16.2.1, 16.2.10, 16.2.11.1, 16.2.11.2, 16.2.11.3, 16.2.11.6, 16.2.11.7, 16.2.12, 16.2.13.1, 16.2.13.2, 16.2.14, 16.2.2, 16.2.3, 16.2.6, 16.2.7, 16.2.8, 16.2.9, 16.3.2, 16.3.2.1, 16.3.2.2, 16.3.2.3, 16.3.3.1, 16.3.3.2, 16.3.4, 16.3.5.1, 16.3.5.2, 16.3.5.3, 16.3.5.4.1, 16.3.5.4.2, 16.3.5.5, 16.3.5.6, 16.3.5.7.1, 16.3.5.7.2, 16.3.5.7.3, 16.3.5.7.4, 16.3.5.7.5, 16.3.6.1, 16.3.6.2, 16.3.7, 16.3.8, 16.3.9.1, 16.3.9.10, 16.3.9.11, 16.3.9.12, 16.3.9.2, 16.3.9.3, 16.3.9.4, 16.3.9.5, 16.3.9.6, 16.3.9.7, 16.3.9.8, 16.3.9.9, 17.1.3, 17.2.3.1, 17.3.1.1, 17.3.1.2, 17.3.1.3, 17.3.2.1, 17.4, 17.5, 18.2.1, 18.3, 18.4.1, 18.5.2, 18.6.2, 4.2.1.1, 4.2.1.2, 4.2.1.3, 4.2.1.4, 6.1.1.2, 6.1.1.3, 6.1.2.1, 6.1.2.2, 6.1.3.2, 6.10.1.1, 6.10.1.3, 6.10.3.2, 6.10.3.4, 6.10.3.6.1, 6.10.3.6.2, 6.10.3.6.3, 6.10.3.6.4, 6.10.3.6.5, 6.10.3.6.6, 6.10.3.6.7, 6.10.3.7, 6.10.4.1, 6.10.4.3.5, 6.2.1, 6.2.2.1, 6.2.2.2, 6.2.2.3, 6.2.2.4, 6.2.2.5, 6.2.2.6.1, 6.2.2.6.2, 6.2.2.8.1, 6.2.2.8.2, 6.2.2.9, 6.3.2.1, 6.3.3.3, 6.3.3.4, 6.3.4.1, 6.3.4.2, 6.3.4.3, 6.3.4.4, 6.3.6.1, 6.3.6.2, 6.4.3.2, 6.4.3.3, 6.4.3.5, 6.5.4.1, 6.6.4, 6.6.5, 6.6.7.1, 6.6.7.2, 6.7.1.1, 6.8.2, 6.8.3, 6.9.1.1, 6.9.1.4.1, 6.9.1.4.2, 6.9.1.4.3, 6.9.1.4.5.1, 6.9.3.1, 7.1, 7.2, 7.2.1.3, 7.2.2.2, 7.2.3.1, 7.2.3.2, 7.2.4.1, 7.2.4.2, 7.2.4.3, 7.2.4.4, 7.4.1.1, 7.4.3.4, 7.4.3.5, 7.4.4.1, 7.5, 7.6, 8.1.4, 8.1.6.1, 8.1.6.1.1, 8.1.6.2, 8.1.6.3, 8.1.6.4, 8.2.1, 8.2.10.1, 8.2.10.2, 8.2.10.3, 8.2.2, 8.2.3, 8.2.4, 8.2.5, 8.2.6, 8.2.7, 8.2.8.1, 8.2.8.2, 8.2.9.1, 8.3.2, 8.3.3, 8.3.4.1, 8.3.4.2, 8.3.5, 8.3.6.1, 8.3.6.2, 8.3.6.3, 8.5.5.4.1, 8.5.5.4.2, 8.5.6.1, 8.5.6.4, 8.5.6.5, 8.6.3, 8.8.1.5.1, 8.8.1.6, 8.8.1.7.1, 8.8.3.1.3, 8.8.3.1.4, 8.8.3.1.9, 8.8.3.2.1, 8.8.3.2.2, 8.8.3.2.4, 8.8.3.2.7, 8.9.1.1, 8.9.1.2, 8.9.1.3, 8.9.2.2, 8.9.3.1, 8.9.3.3, 9.1.1, 9.2.1, 9.2.3.2, 9.2.4.1, 9.2.4.2, 9.2.5, 9.2.6.1, 9.2.6.2, 9.2.6.3, 9.4.1, 9.4.1.1, 9.4.1.2, 9.4.1.2.1.1, 9.4.1.2.1.2, 9.4.1.2.2.1, 9.4.1.2.2.2, 9.4.2.1.1, 9.4.2.1.2, 9.4.2.2.1, 9.4.2.2.2, 9.4.2.2.3.1, 9.4.2.2.3.2, 9.4.2.2.4.1, 9.4.2.2.4.2, 9.4.2.2.4.4, 9.4.2.2.5, 9.4.2.2.6, 9.4.3, 9.4.4.1, 9.4.4.2, 9.4.5, 9.4.5.1, A.4.1, Table 10.1.2.1.1 , Table 11.2.2(b , Table 6.4.2.1, Table 6.6.7.1, Table 8.3.4.2 | PDF | CFIHOS-70000091
S719-IR-26 | Installation manual | Description of methods of installing a piece of equipment. Installation refers to the lifting, mounting, setting, erection, etc. Note: Unless otherwise agreed, can be delivered as part of manufacturer's standard Installation, operation and maintenance manual or as a standalone document. These provide information to allow the user or a third party to verify that the system has been installed properly. | 6.9.1.4.4.1 paragraph 1 sentence 1, 6.9.1.4.4.2 paragraph 1 sentence 1, 10.1.2.1.1, 10.1.2.2.1, 10.1.2.3, 10.1.2.4, 10.2, 10.3.1.9.1, 10.3.1.9.2, 10.3.2.3.2, 10.3.2.5.6, 10.3.2.8.1.4, 12.1.2, 12.1.3, 12.2, 12.4.3, 12.4.4, 12.5.1.5.3, 12.5.3.1, 12.5.3.2, 12.5.4.2, 12.5.4.4, 12.6.2.1, 12.6.2.2, 12.6.6, 12.6.8.2, 13.1.1, 13.1.2, 13.1.5, 13.3.4, 13.4.1, 13.4.3.1, 13.4.3.2, 13.4.4, 14.2.1.2.2, 14.2.2.1.1, 14.2.2.1.2, 14.2.2.1.3, 14.2.4.1.1, 14.2.4.1.2, 14.2.4.1.3, 14.2.4.1.4, 14.2.4.1.5, 14.2.4.1.6, 14.2.4.1.7, 14.2.4.1.8, 14.2.4.1.9, 14.2.4.2.1, 14.2.4.2.2, 14.2.4.2.3, 14.2.4.2.3.1, 14.2.4.2.4, 14.2.4.2.5, 14.2.4.2.6, 14.2.4.2.8, 14.2.5.1.2, 14.2.5.2.1, 14.2.5.2.2, 14.2.5.2.3, 14.2.6.1, 14.2.6.3, 14.2.6.4, 14.2.6.6, 14.2.6.7, 15.1.2, 16.1.10, 16.1.11, 16.1.12.10, 16.1.12.2, 16.1.12.3, 16.1.12.4.1, 16.1.12.4.2, 16.1.12.4.3, 16.1.12.6, 16.1.12.7, 16.1.12.8, 16.1.12.9, 16.1.13.1, 16.1.3.2, 16.1.4, 16.1.8, 16.1.9.1, 16.1.9.2, 16.1.9.3.1, 16.1.9.3.2, 16.1.9.3.3, 16.2.10, 16.2.11.1, 16.2.11.2, 16.2.11.3, 16.2.11.4, 16.2.11.5, 16.2.11.6, 16.2.11.7, 16.2.12, 16.2.13.1, 16.2.13.2, 16.2.14, 16.2.6, 16.2.7, 16.2.8, 16.2.9, 16.3.3.1, 16.3.3.2, 16.3.4, 16.3.5.1, 16.3.5.2, 16.3.5.3, 16.3.5.4.1, 16.3.5.4.2, 16.3.5.5, 16.3.5.7.1, 16.3.5.7.2, 16.3.5.7.3, 16.3.5.7.4, 16.3.5.7.5, 16.3.6.1, 16.3.6.2, 16.3.7, 16.3.8, 16.3.9.1, 16.3.9.10, 16.3.9.11, 16.3.9.12, 16.3.9.2, 16.3.9.3, 16.3.9.4, 16.3.9.5, 16.3.9.6, 16.3.9.7, 16.3.9.8, 16.3.9.9, 17.1.3, 17.2.3.2, 17.2.3.3, 17.3.1.1, 17.3.1.2, 17.3.1.3, 17.3.2.1, 17.3.2.2, 17.3.2.3, 17.5, 18.2.1, 18.3, 18.4.1, 18.5.2, 18.6.2, 4.2.1.1, 6.10.1.1, 6.10.2.1, 6.10.3.4, 6.10.3.6.1, 6.10.3.6.2, 6.10.3.6.3, 6.10.3.6.4, 6.10.3.6.5, 6.10.3.6.6, 6.10.3.6.7, 6.10.3.7, 6.10.4.1, 6.10.4.3.1, 6.10.4.3.5, 6.3.2.2, 6.3.2.3, 6.3.5.1, 6.3.5.3, 6.3.6.1, 6.3.6.2, 6.4.1.1, 6.4.1.2.1, 6.4.2.1, 6.4.2.2, 6.4.2.3, 6.4.2.5, 6.4.2.6, 6.4.2.7, 6.4.2.8, 6.4.2.9, 6.4.3.1, 6.4.3.3, 6.4.3.4, 6.4.3.5, 6.4.3.6, 6.5.2, 6.5.3, 6.5.4.1, 6.6.4, 6.6.5, 6.6.6.2, 6.9.1.1, 6.9.1.2, 6.9.1.4.3, 6.9.2.1, 6.9.3.1, 7.2, 7.2.3.2, 7.4.3.4, 7.4.3.5, 7.4.4.1, 8.1.2, 8.1.4, 8.1.5, 8.1.6.1, 8.1.6.1.1, 8.10.1, 8.2.1, 8.2.10.3, 8.2.2, 8.2.3, 8.2.4, 8.2.6, 8.2.7, 8.2.8.1, 8.2.8.2, 8.3.1, 8.3.2, 8.3.3, 8.3.4.1, 8.3.4.2, 8.3.5, 8.3.6.1, 8.3.6.2, 8.3.6.3, 8.3.7, 8.4.1, 8.4.2, 8.5.1, 8.5.2, 8.5.3, 8.5.4, 8.5.5.4.1, 8.5.5.4.2, 8.5.6.1, 8.7.2, 8.8.1.5.1, 8.8.1.6, 8.8.3.1.1, 8.8.3.1.3, 8.8.3.1.4, 8.8.3.2.1, 8.9.1.1, 8.9.1.2, 8.9.1.3, 8.9.2.2, 8.9.3.1, 8.9.3.3, 8.9.4.3, 9.2.6.1, 9.2.6.2, 9.2.6.3, 9.4.1.2, 9.4.3, A.4.1, Table 6.4.2.1, Table 8.3.4.2 | PDF | CFIHOS-70000181
S719-IR-28 | Operating manual | Description of methods of operating a piece of equipment or process unit, including but not limited to instructions, procedures, drawings, tables, etc. for the operation -stop, start, and emergency shutdown. Including operational limits, function testing, possible interruptions, corrective actions, hazards and corrective measures to be taken. Note: Unless otherwise agreed, can be delivered as part of manufacturer's standard Installation, operation and maintenance manual or as a standalone document. These shall provide information to allow the user or a third party to verify that the system can be operated properly. | 10.2, 12.5.2.3, 12.5.2.4.1, 12.5.2.4.2, 13.1.1, 13.1.5, 13.3.4, 13.4.1, 13.4.3.1, 13.4.3.3, 14.2.4.2.3.1, 14.2.5.2.1, 14.2.6.4, 14.2.6.5, 14.2.6.6, 14.2.6.7, 15.1.2, 16.1.4, 16.1.9.3.2, 16.1.9.3.3, 16.3.3.1, 16.3.3.2, 16.3.4, 16.3.5.1, 16.3.5.2, 16.3.5.3, 16.3.5.4.1, 16.3.5.4.2, 16.3.5.7.1, 16.3.5.7.2, 16.3.5.7.3, 16.3.5.7.4, 16.3.5.7.5, 16.3.6.1, 16.3.6.2, 16.3.7, 16.3.8, 16.3.9.1, 16.3.9.12, 16.3.9.2, 16.3.9.7, 16.3.9.8, 16.3.9.9, 16.4, 17.1.3, 17.2.3.1, 17.2.3.2, 17.2.3.3, 17.5, 18.2.1, 18.3, 18.4.1, 18.5.2, 18.6.2, 6.10.1.1, 6.10.3.6.2, 6.10.3.6.3, 6.10.3.6.4, 6.10.3.6.5, 6.10.3.6.6, 6.10.3.6.7, 6.10.3.7, 6.3.6.1, 6.3.6.2, 7.2.3.2, 7.6, 8.1.6.1, 8.1.6.1.1, 8.3.5, 8.5.5.4.2, 8.5.6.5, 8.6.3, 8.8.1.6, 8.8.1.7.1, 8.8.2.2, 8.8.2.3, 8.8.3.1.2, 8.8.3.1.4, 8.8.3.2.7, 8.9.2.4.1, 8.9.2.4.2, 8.9.2.4.3, 8.9.3.3, 9.2.6.2, 9.2.6.3, 9.4.3, A.4.1, Table 6.4.2.1 | PDF | CFIHOS-70000228
S719-IR-27 | Maintenance manual | Description of methods of maintaining a specific piece of equipment. Typically originates from the equipment or package supplier. Note: Unless otherwise agreed, can be delivered as part of manufacturer's standard Installation, operation and maintenance manual or as a standalone document. These provide information to allow the user or a third party to verify that the system can be maintained properly. | 10.2, 12.5.1.5.4, 12.5.1.7, 12.5.2.3, 12.5.4.1, 13.1.1, 13.1.5, 13.3.4, 13.4.1, 13.4.3.1, 13.4.3.3, 16.1.4, 16.3.8, 16.3.9.1, 16.3.9.2, 16.4, 17.1.3, 18.2.1, 18.3, 18.4.1, 18.5.2, 6.10.3.6.2, 6.10.3.6.3, 6.10.3.6.4, 6.10.3.6.5, 6.10.3.6.6, 6.10.3.6.7, 6.10.3.7, 6.3.6.1, 6.3.6.2, 6.8.5, 7.2.3.2, 7.6, 8.1.6.1, 8.1.6.1.1, 8.3.5, 8.5.5.3.2, 8.5.5.4.2, 8.6.3, 8.6.5, 8.8.1.6, 8.8.1.7.1, 8.8.3.1.4, 9.2.6.2, 9.2.6.3, 9.4.3, Table 6.4.2.1 | PDF | CFIHOS-70000206
S719-IR-30 | Hydraulic calculation | Hydraulic calculations to indicate basis on which equipment is sized, including pipe friction losses/pressure drop, equipment elevations and terminal point static pressures. May also includes calculation for discharge duration and activation times. | 10.1.2.1, 11.1.1, 11.1.2, 11.1.3, 11.1.4, 11.1.5, 11.2.1, 11.2.2, 11.2.3, 11.2.4, 11.3.1, 11.3.2, 11.3.3, 11.3.4, 11.3.5.1, 11.3.5.2, 11.3.6.1, 11.3.6.2, 11.3.6.3, 11.3.6.4.1, 11.3.6.4.2, 11.3.6.5, 11.4.1.1, 11.4.1.2, 11.4.1.3, 11.4.1.3.1, 11.4.1.3.2, 11.4.2.1, 11.4.2.2, 11.4.2.3, 11.4.3.1, 11.4.3.2, 11.4.4.1, 11.4.4.2, 11.4.4.3, 11.4.4.4, 11.4.4.5, 11.4.5, 11.4.6, 12.2, 12.3.1, 12.3.2, 12.5.2.2, 13.1.1, 13.1.5, 13.2.1, 13.2.3, 13.2.4, 13.2.5, 13.3.4, 13.4.1, 13.4.2, 14.2.4.1.1, 14.2.4.1.2, 16.1.6, 16.2.10, 16.2.11.1, 16.2.11.2, 16.2.11.3, 16.2.11.4, 16.2.11.5, 16.2.11.6, 16.2.11.7, 16.2.3, 16.3.5.2, 16.3.5.3, 16.3.5.4.1, 16.3.5.4.2, 16.3.5.7.1, 16.3.5.7.2, 16.3.5.7.3, 16.3.5.7.5, 16.3.9.11, 16.3.9.3, 16.3.9.4, 16.3.9.5, 6.2.2.4, 6.3.4.3, 6.8.2, 6.9.1.3, 7.4.3.5, 8.6.1, 8.8.3.1.1, 8.8.3.2.3, 8.8.3.2.4, 9.1.4, 9.4.5, 9.4.5.1, Table 10.1.2.1.1 , Table 11.2.1 , Table 11.2.2(a , Table 11.2.2(b , Table 11.3.6.1 | PDF | CFIHOS-70000169
S719-IR-61 | Design calculation | Document providing information about data, and basic conditions and assumptions used for selection of appropriate system solutions, parts or material, as well as the way these data have been processed and evaluated Mandatory content of information: – Calculation methods used; – Input data; – Results; – Analysis of the results. | 11.1.1, 11.1.2, 11.1.3, 11.1.4, 11.1.5, 11.2.1, 11.2.2, 11.2.3, 11.4.1.3.2, 12.3.1, 12.5.2.2, 13.1.1, 13.1.5, 13.3.1, 13.3.3, 13.3.4, 13.4.1, 13.4.2, 13.4.4, 16.2.10, 16.2.3, 16.3.5.7.1, 16.3.5.7.2, 16.3.5.7.3, 16.3.5.7.4, 16.3.5.7.5, 16.3.9.11, 16.3.9.3, 16.3.9.4, 16.3.9.5, 6.5.4.2, 8.2.10.2, Table 11.2.2(b | PDF | CFIHOS-70000086
S719-IR-33 | Electrical wiring diagram | Description: Diagram providing information on the circuitry of an object. Mandatory content of information: – Graphical symbols representing the objects; – Graphical symbols representing the connections among objects; – Reference designations; – Terminal designations; – Signal level conventions (applicable to logic signals). – Information necessary to trace paths and circuits (signal designations, location references) – Supplementary information necessary for the understanding of functions. (Source: IEC 61355-1, D00053) | 12.5.2.4.2, 12.6.2.2, 12.6.3, 12.6.8.2, 13.1.1, 13.1.5, 13.4.1, 13.4.2, 14.2.4.2.1, 14.2.4.2.10, 14.2.4.2.11, 14.2.4.2.12, 14.2.4.2.2, 14.2.4.2.3.1, 14.2.4.2.3.2, 14.2.4.2.4, 14.2.4.2.5, 14.2.4.2.7.1, 14.2.4.2.7.2, 14.2.4.2.7.3, 14.2.4.2.8, 14.2.4.2.9, 14.2.5.1.1, 14.2.5.2.2, 14.2.5.3, 14.2.5.4, 14.2.5.5, 14.2.5.6, 14.2.5.7, 16.1.7.3, 16.1.7.4, 16.2.10, 16.2.9, 16.3.4, 16.3.5.1, 16.3.5.2, 16.3.5.3, 16.3.6.1, 16.3.6.2, 16.3.7, 16.3.8, 17.2.3.1, 17.2.3.2, 17.2.3.3, 6.10.4.3.2, 6.9.1.2, 6.9.2.1, 8.6.3, 8.8.1.8.1, 8.8.1.8.2, 8.9.1.1, 8.9.1.2, 8.9.1.3, 8.9.2.1, 8.9.2.2, 8.9.2.3, 8.9.2.4.1, 8.9.2.4.2, 8.9.2.4.4, 8.9.3.1, 8.9.3.2, 8.9.3.3 | PDF | CFIHOS-70000268
S719-IR-34 | Piping and instrumentation diagram | The piping and instrument diagram (P&ID), based on the process flow diagram, represents the technical realization of a process by means of graphical symbols for equipment and piping together with graphical symbols or process measurement and control functions. Mandatory content of information: – Function or type of equipment, including drives, conveyors, as well as installed spares; – Identification number of equipment including drives, conveyors as well as installed spares; – Characteristic data of equipment; – Indication of nominal diameter, pressure rating, material and type of piping; – Details of equipment, piping, valves and fittings, thermal insulation; – Process measurement and control functions with identification number; – Characteristic data of drives. Optional content of information: – Denomination of flow rates and amounts of energy or energy carriers; – Route and direction of flow of energy or energy carriers; – Type of essential primary elements and sensors; – Essential construction materials for equipment; – Elevation of platforms and approximate relative vertical position of equipment; – Reference designation for valves and fittings; – Denomination of equipment. (Source: IEC 61355-1, D00043) | 6.9.1.4.4.3 paragraph 1 sentence 1, 6.9.1.4.5.2 paragraph 1 sentence 1, 6.9.1.4.5.3 paragraph 1 sentence 1, 12.5.1.2, 12.5.2.3, 12.5.4.5, 12.5.5.1, 12.5.5.2, 12.6.2.1, 12.6.2.2, 12.6.3, 12.6.4, 12.6.6, 12.6.7, 12.6.8.2, 12.7, 13.1.1, 13.1.3, 13.1.4, 13.1.5, 13.1.6, 13.4.1, 13.4.2, 14.2.2.1.1, 14.2.4.1.2, 14.2.6.1, 16.1.10, 16.1.11, 16.1.12.1, 16.1.12.2, 16.1.12.3, 16.1.12.4.1, 16.1.13.2, 16.1.7.4, 16.1.9.1, 16.1.9.2, 16.1.9.3.1, 16.1.9.3.2, 16.1.9.3.3, 16.2.11.4, 16.2.11.5, 16.2.11.6, 16.2.11.7, 16.2.12, 16.2.5, 16.2.6, 16.2.7, 16.2.8, 16.3.7, 16.3.8, 17.2.2.1, 17.2.3.2, 17.2.3.3, 17.3.1.3, 6.3.4.2, 6.7.3.1, 6.9.1.2, 6.9.1.4.1, 6.9.1.4.5.1, 7.4.3.7, 8.10.1, 8.10.2, 8.10.4, 8.3.5, 8.5.6.5, 8.8.1.8.1, 8.8.1.8.2, 8.8.2.1, 8.8.2.2, 8.8.2.3, 8.8.3.1.3, 8.8.3.1.4, 8.8.3.1.6, 8.8.3.1.7, 8.8.3.2.2, 8.8.4.3, 8.8.4.4, 8.8.4.4.1, 8.8.5.1 | PDF | CFIHOS-70000292
S719-IR-55 | Logic diagram | A graphical representation of a system using formal logic. It displays the existence of functional elements and the paths by which they interact with each other. | 12.5.2.1, 12.5.2.4.1, 12.5.2.4.2, 12.5.3.2, 12.5.5.1, 12.5.5.2, 12.5.5.4, 12.6.3, 13.1.1, 13.1.2, 13.1.5, 13.4.1, 13.4.2, 13.4.5.2, 14.2.5.1.1, 16.1.7.1, 16.1.7.2, 16.1.7.3, 16.2.1, 16.3.3.1, 16.3.3.2, 16.3.4, 16.3.5.1, 16.3.5.2, 16.3.5.3, 16.3.5.7.1, 16.3.5.7.2, 16.3.5.7.3, 16.3.5.7.4, 16.3.5.7.5, 16.3.6.1, 16.3.6.2, 16.3.8, 17.2.3.2, 17.2.3.3, 7.4.1.2, 7.4.2, 7.4.3.2, 7.4.3.3, 7.4.3.4, 7.4.3.5, 7.4.3.8, 7.4.4.1, 7.4.4.2, 7.4.4.3, 8.10.3, 8.5.6.6.1, 8.5.6.6.2, 8.6.2, 8.6.3, 8.9.2.4.1, 8.9.2.4.2, 8.9.2.4.3 | PDF | CFIHOS-70000248
S719-IR-62 | Written sequence of operation | A document outlining the premise and intent to include a complete step-by-step description of the functioning of abort and maintenance switches, delay timers, and emergency power shutdown features. May also list instrument and control equipment, pre-alarm and shutdown alarm/trip requirements, failure modes of valves and equipment and type of signals to and from the control logic. Basis to develop more detailed control narrative. | 13.1.1, 13.1.5, 13.4.2, 13.4.5.1, 16.1.7.1, 16.1.7.2, 16.1.7.3, 16.2.1, 16.3.3.1, 16.3.3.2, 16.3.4, 16.3.5.1, 16.3.5.2, 16.3.5.3, 16.3.5.7.1, 16.3.5.7.2, 16.3.5.7.3, 16.3.5.7.4, 16.3.5.7.5, 16.3.6.1, 16.3.6.2, 16.3.8, 17.2.3.1, 17.2.3.2, 17.2.3.3, 8.6.3 | PDF | CFIHOS-70000064
S719-IR-36 | Lifting point calculations | Document should provide information about soundness of lifting point and its welding/bolting to prove the safety factor requested. Indicate the equations, constants and units used. | 6.1.4 | PDF
S719-IR-32 | Vendor technical data sheet | Document providing information on technical data and characteristics about the primary components of the water mist system. This document provides structured data form containing tag number, suppliers part number/model, design information, operational data and limitations of the equipment. Document shall provide information on technical data and characteristics about material, products or systems and their environment for proper implementation. | 12.5.1.2, 12.5.4.5, 17.5, 6.7.2, 8.5.5.1 | PDF | CFIHOS-70000416
S719-IR-64 | Welding procedure specification for fire fighting skid enclosure | A specification that describes the welding procedure and process of a specific set of essential variables for construction of the FFS (fire-fighting skid) enclosure. | 6.4.2.10 | PDF | CFIHOS-70000408
S719-IR-83 | Welder qualification certificate | Certification demonstrating that a welder is qualified to perform work to welding procedure specification(s). |  | PDF | CFIHOS-70000413
S719-IR-63 | Surface preparation and coating procedure for fire fighting skid enclosure | Verification of suppliers' compliance with surface protection and coating requirements. This document provides a procedure for coating operator to ensure repeatability and formalism and hence prove the quality of the coating work. This document details the work process and how the defined requirements to surface treatment, application and quality control shall be met. A procedure may cover wet paint, powder coating, or metallic coatings. The document shall include reference to applied standards and the information about revision of the applied standard. This may be required on a case by case basis (project specific). |  | PDF | CFIHOS-70000384
S719-IR-65 | Coating certificate for fire fighting skid enclosure | This document is used for verification of compliance with surface protection and coating requirements. Document containing records of performed surface protection and coating work. This may be required on a case by case basis (project specific). |  | PDF
S719-IR-46 | Production test procedure for nozzles | Definition of process followed to qualify a manufacturing and/or production processes including associated acceptance criteria and test methods to validate achievement of specified technical requirements. | 18.4.2 | PDF
S719-IR-38 | Production test certificate for nozzles | A document certifying compliance with specified requirements. [e.g., certificates needed for re-certifying, occupancy certificate, product certificates]. May be combined with nozzle test procedure. | 13.4.6, 18.4.2 | PDF | CFIHOS-70000239
S719-IR-45 | Production test procedure for flexible hose | Definition of process followed to qualify a manufacturing and/or production processes including associated acceptance criteria and test methods to validate achievement of specified technical requirements. | 18.4.2, 6.3.4.4 | PDF
S719-IR-39 | Production test certificate for flexible hose | A document certifying compliance with specified requirements. [e.g., certificates needed for re-certifying, occupancy certificate, product certificates]. May be combined with flexible hose test procedure. | 13.4.6, 18.4.2, 6.3.4.4 | PDF | CFIHOS-70000239
S719-IR-44 | Production test procedure for section valve | Definition of process followed to qualify a manufacturing and/or production processes including associated acceptance criteria and test methods to validate achievement of specified technical requirements. | 18.4.2 | PDF
S719-IR-40 | Production test certificate for section valve | A document certifying compliance with specified requirements. [e.g., certificates needed for re-certifying, occupancy certificate, product certificates]. May be combined with section valve test procedure. | 13.4.6, 18.4.2 | PDF | CFIHOS-70000239
S719-IR-56 | Production test procedure for high pressure cylinders | Definition of process followed to qualify a manufacturing and/or production processes including associated acceptance criteria and test methods to validate achievement of specified technical requirements. | 18.4.2, 8.5.5.2 | PDF
S719-IR-57 | Production test certificate for high pressure cylinders | A document certifying compliance with specified requirements. [e.g., certificates needed for re-certifying, occupancy certificate, product certificates]. May be combined with cylinder hose test procedure. | 13.4.6, 18.4.2, 8.5.5.2 | PDF | CFIHOS-70000239
S719-IR-47 | Production test procedure for manifold | Definition of process followed to qualify a manufacturing and/or production processes including associated acceptance criteria and test methods to validate achievement of specified technical requirements. | 18.4.2 | PDF
S719-IR-42 | Production test certificate for manifold | A document certifying compliance with specified requirements. [e.g., certificates needed for re-certifying, occupancy certificate, product certificates]. May be combined with manifold test procedure. | 18.4.2 | PDF | CFIHOS-70000239
S719-IR-35 | Factory acceptance test (FAT) procedure | The FAT procedure will be used to ensure a common understanding of performed testing and acceptance criteria. This document shall include all testing activities and their acceptance criteria according to applicable standards, specifications and requirements to document the condition of the equipment as tested from factory. Test set-up and test equipment shall be defined. Includes spare nozzles. Suppliers standard (routine) test procedures should be used as far as possible, to be agreed between purchaser, supplier and AHJ. | 12.4.5, 12.5.2.4.1, 12.5.2.4.2, 13.1.1, 13.1.5, 16.3.5.4.1, 17.2.2.1, 6.2.2.6.1, 6.2.2.6.2, 6.2.2.7, 6.2.2.8.1, 6.2.2.8.2, 6.2.3, 6.3.6.1, 6.3.6.2, 6.6.7.3, 6.9.1.7, 6.9.1.8, 8.5.1, 8.5.5.1, 8.5.5.3.1, 8.5.5.4.1, 8.5.5.4.2, 8.5.6.4, 8.5.6.6.1, 8.5.6.6.2, 8.5.6.7, 8.8.1.7.1, 8.8.1.8.1, 8.8.3.1.7, 8.8.3.2.2, 8.8.3.2.5, 8.8.3.2.6, 8.8.3.2.7, 8.9.1.1, 8.9.1.2, 8.9.1.3 | PDF | CFIHOS-70000427
S719-IR-69 | Factory acceptance test (FAT) records | The FAT report will be used to verify that the equipment has been tested according to FAT procedure. The FAT report will be used for acceptance of the equipment delivery This document shall include all testing activities and their acceptance criteria according, in accordance with the FAT procedure, to applicable standards, specifications and requirements, to document the condition of the equipment as tested from factory. Test set-up and test equipment shall be defined. Records demonstrating results of factory tests including discrete functional unit and overall assembly, electrical, mechanical, and if applicable discharge tests. | 8.8.1.8.1, 8.8.3.2.6 | PDF | CFIHOS-70000429
S719-IR-86 | Weight certificate | Independent certification of correct gross weight for a piece of equipment including packing materials. This typically should also document the center of gravity. Source ISO 19901-5. |  | PDF | CFIHOS-70000358
S719-IR-50 | Pneumatic test procedure | A procedure documenting specific steps to conduct inspection of an asset/object. Typically details boundaries of the test, isolations, method of pressurization, required hold intervals etc. | 14.2.3.1, 14.2.3.2 | PDF | CFIHOS-70000286
S719-IR-52 | Pneumatic test records | Records demonstrating results of pneumatic test on site of nozzles/ distribution pipework. | 13.4.2, 13.4.6, 6.4.3.1 | PDF | CFIHOS-70000287
S719-IR-51 | Hydrostatic test procedure | A procedure documenting specific steps to conduct inspection of an asset/object. Typically details boundaries of the test, isolations, method of pressurization, required hold intervals etc. | 14.2.1.1.1, 14.2.1.1.2, 14.2.1.1.3, 14.2.1.2.1, 14.2.1.2.2, 14.2.1.2.3, 14.2.2.1.1, 14.2.2.1.2, 14.2.2.1.3, 14.2.2.1.4.1, 14.2.2.1.4.2, 14.2.2.2.1, 14.2.2.2.2, 14.2.2.2.3, 14.2.2.2.4, 14.2.2.3.1, 14.2.2.3.2, 8.8.2.1 | PDF | CFIHOS-70000286
S719-IR-53 | Hydrostatic test records | Records demonstrating results of pneumatic test on site of nozzles/ distribution pipework. | 13.4.2, 13.4.6, 14.2.1.1.3, 14.2.2.1.2, 6.4.3.1, 8.8.1.8.1, 8.8.2.1 | PDF | CFIHOS-70000287
S719-IR-25 | Acceptance test plan | Test plan providing information on the acceptance of the product. Instructions for approval are provided in detail in NFPA 750 chapter 14. The purpose of such instructions is to provide the user with the information needed for acceptance of the product. Mandatory content of information is defined in NFPA 750 chapter 14: These instructions should contain for example: Flushing or Cleaning of Piping. Pneumatic tests. Hydrostatic Tests. Review of Mechanical Components. Review of Electrical Components. Abort Switches. Preliminary Functional Tests. System Operational Tests. System Design Information Sign. | 12.1.2, 12.4.3, 12.4.4, 12.4.5, 12.5.1.5.1, 12.5.1.5.2, 12.5.1.5.3, 12.5.1.5.4, 12.5.1.6, 12.5.2.1, 12.5.2.3, 12.5.2.4.1, 12.5.2.4.2, 12.5.3.2, 12.5.4.1, 12.5.4.2, 12.5.4.3, 12.5.4.4, 12.5.4.5, 12.5.4.6, 12.5.4.7, 12.5.5.2, 12.5.5.4, 12.5.5.5, 12.6.2.1, 12.6.2.2, 12.6.3, 12.6.4, 12.6.6, 12.6.7, 12.6.8.2, 12.7, 13.1.1, 13.1.5, 13.4.4, 14.1.1, 14.1.2, 14.1.3, 14.1.4, 14.1.5, 14.1.6, 14.2.1.1.1, 14.2.1.1.2, 14.2.1.1.3, 14.2.1.2.1, 14.2.1.2.2, 14.2.1.2.3, 14.2.2.1.1, 14.2.2.1.2, 14.2.2.1.3, 14.2.2.1.4.1, 14.2.2.1.4.2, 14.2.2.2.1, 14.2.2.2.2, 14.2.2.2.3, 14.2.2.2.4, 14.2.2.3.1, 14.2.2.3.2, 14.2.3.1, 14.2.3.2, 14.2.4.1.1, 14.2.4.1.2, 14.2.4.1.3, 14.2.4.1.4, 14.2.4.1.5, 14.2.4.1.6, 14.2.4.1.7, 14.2.4.1.8, 14.2.4.1.9, 14.2.4.2.1, 14.2.4.2.10, 14.2.4.2.11, 14.2.4.2.12, 14.2.4.2.2, 14.2.4.2.3, 14.2.4.2.3.1, 14.2.4.2.3.2, 14.2.4.2.4, 14.2.4.2.5, 14.2.4.2.6, 14.2.4.2.7.1, 14.2.4.2.7.2, 14.2.4.2.7.3, 14.2.4.2.8, 14.2.4.2.9, 14.2.5.1.1, 14.2.5.1.2, 14.2.5.2.1, 14.2.5.2.2, 14.2.5.2.3, 14.2.5.3, 14.2.5.4, 14.2.5.5, 14.2.5.6, 14.2.5.7, 14.2.6.1, 14.2.6.2, 14.2.6.3, 14.2.6.4, 14.2.6.5, 14.2.6.6, 14.2.6.7, 14.2.7, 15.1.1, 15.1.2, 16.1.10, 16.1.11, 16.1.12.1, 16.1.12.10, 16.1.12.2, 16.1.12.3, 16.1.12.4.3, 16.1.12.5, 16.1.12.7, 16.1.12.8, 16.1.12.9, 16.1.13.1, 16.1.13.2, 16.1.3.2, 16.1.5, 16.1.7.1, 16.1.7.2, 16.1.7.3, 16.1.7.4, 16.1.9.1, 16.1.9.2, 16.1.9.3.1, 16.1.9.3.2, 16.1.9.3.3, 16.1.9.4.1, 16.1.9.4.2, 16.1.9.4.3, 16.1.9.4.4, 16.2.1, 16.2.10, 16.2.11.7, 16.2.3, 16.2.5, 16.2.6, 16.2.7, 16.2.8, 16.2.9, 16.3.2.3, 16.3.3.1, 16.3.3.2, 16.3.4, 16.3.5.1, 16.3.5.4.1, 16.3.5.4.2, 16.3.5.7.1, 16.3.5.7.2, 16.3.5.7.3, 16.3.5.7.4, 16.3.5.7.5, 16.3.6.1, 16.3.6.2, 16.3.7, 16.3.8, 16.3.9.11, 16.3.9.12, 16.4, 17.2.3.1, 17.2.3.2, 17.2.3.3, 17.3.1.1, 17.3.1.2, 17.3.2.1, 17.4, 17.5, 6.10.1.2, 6.10.2.2, 6.10.2.3, 6.10.3.4, 6.10.3.6.1, 6.10.3.6.2, 6.10.3.6.3, 6.10.3.6.4, 6.10.3.6.5, 6.10.3.6.6, 6.10.3.6.7, 6.10.3.7, 6.10.4.3.1, 6.10.4.3.2, 6.3.1.1, 6.3.2.1, 6.3.2.2, 6.3.5.1, 6.3.5.3, 6.3.6.1, 6.3.6.2, 6.4.1.1, 6.4.1.2.1, 6.4.2.7, 6.5.5, 6.6.2paragr, 6.6.3, 6.6.5, 6.6.6.2, 6.6.7.1, 6.6.7.2, 6.6.7.3, 6.7.1.1, 6.7.1.2, 6.7.3.1, 6.7.3.2, 6.9.1.2, 6.9.2.2, 6.9.2.3, 6.9.3.2.2, 7.2, 7.2.1.3, 7.2.3.2, 7.4.3.5, 7.4.3.6, 7.4.3.7, 8.1.4, 8.1.5, 8.1.6.2, 8.1.6.3, 8.10.1, 8.10.3, 8.10.4, 8.2.10.1, 8.2.10.2, 8.2.10.3, 8.2.2, 8.2.3, 8.2.4, 8.2.5, 8.2.6, 8.2.7, 8.2.8.1, 8.2.8.2, 8.2.9.1, 8.3.2, 8.3.4.1, 8.3.4.2, 8.3.6.3, 8.4.2, 8.5.2, 8.5.3, 8.5.4, 8.5.5.2, 8.5.5.4.1, 8.5.5.4.2, 8.5.5.5, 8.5.6.1, 8.6.2, 8.6.3, 8.6.5, 8.7.2, 8.8.1.1, 8.8.1.2, 8.8.1.5.1, 8.8.1.5.2, 8.8.1.6, 8.8.1.8.1, 8.8.1.8.2, 8.8.2.2, 8.8.2.3, 8.8.3.1.1, 8.8.3.1.4, 8.8.3.1.6, 8.8.3.1.7, 8.8.4.2, 8.8.4.3, 8.8.4.4, 8.8.4.4.1, 8.8.5.1, 8.9.2.1, 8.9.2.2, 8.9.2.3, 8.9.2.4.1, 8.9.2.4.2, 8.9.2.4.3, 8.9.2.4.4, 8.9.3.1, 8.9.3.2, 8.9.3.3, 8.9.4.1.1, 8.9.4.3, Table 6.4.2.1 | PDF | CFIHOS-70000428
S719-IR-49 | Acceptance test plan record | Records demonstrating results of acceptance tests including discrete functional unit and overall assembly, electrical, mechanical, protection relay and IEDs. | 12.1.2, 12.4.3, 12.4.4, 12.4.5, 12.5.1.5.1, 12.5.1.5.2, 12.5.1.5.3, 12.5.1.5.4, 12.5.1.6, 12.5.2.1, 12.5.2.3, 12.5.3.2, 12.5.4.1, 12.5.4.3, 12.5.4.4, 12.5.4.5, 12.5.5.2, 12.5.5.4, 12.5.5.5, 12.6.2.1, 12.6.2.2, 12.6.3, 12.6.4, 12.6.6, 12.6.7, 12.6.8.2, 13.4.4, 13.4.6, 14.1.3, 14.1.4, 14.1.6, 14.2.1.1.1, 14.2.1.1.2, 14.2.1.1.3, 14.2.1.2.1, 14.2.1.2.3, 14.2.2.1.4.1, 14.2.2.1.4.2, 14.2.2.2.1, 14.2.2.2.2, 14.2.2.2.3, 14.2.2.2.4, 14.2.2.3.1, 14.2.2.3.2, 14.2.3.1, 14.2.3.2, 14.2.4.1.1, 14.2.4.1.3, 14.2.4.1.4, 14.2.4.1.5, 14.2.4.1.6, 14.2.4.1.7, 14.2.4.1.8, 14.2.4.1.9, 14.2.4.2.1, 14.2.4.2.10, 14.2.4.2.11, 14.2.4.2.12, 14.2.4.2.2, 14.2.4.2.3, 14.2.4.2.3.1, 14.2.4.2.3.2, 14.2.4.2.4, 14.2.4.2.5, 14.2.4.2.7.1, 14.2.4.2.7.3, 14.2.4.2.9, 14.2.5.1.2, 14.2.5.3, 14.2.5.4, 14.2.5.5, 14.2.5.6, 14.2.5.7, 14.2.6.1, 14.2.6.2, 14.2.6.3, 14.2.6.4, 14.2.6.5, 14.2.6.6, 14.2.6.7, 14.2.7, 16.1.10, 16.1.12.1, 16.1.12.2, 16.1.12.3, 16.1.12.4.2, 16.1.12.4.3, 16.1.12.7, 16.1.12.8, 16.1.13.1, 16.1.13.2, 16.1.5, 16.1.7.1, 16.1.7.2, 16.1.7.4, 16.1.9.2, 16.1.9.3.1, 16.1.9.3.3, 16.2.10, 16.2.11.7, 16.2.3, 16.2.5, 16.2.9, 16.3.3.1, 16.3.3.2, 16.3.4, 16.3.5.2, 16.3.5.3, 16.3.5.4.1, 16.3.5.4.2, 16.3.5.7.1, 16.3.5.7.2, 16.3.5.7.4, 16.3.5.7.5, 16.3.6.1, 16.3.6.2, 16.3.7, 16.3.8, 16.3.9.11, 16.3.9.12, 16.4, 17.2.3.3, 17.3.1.1, 17.3.1.2, 17.3.2.1, 6.10.1.2, 6.10.2.2, 6.10.2.3, 6.10.3.4, 6.10.3.6.1, 6.10.3.6.2, 6.10.3.6.3, 6.10.3.6.4, 6.10.3.6.5, 6.10.3.6.6, 6.10.3.6.7, 6.10.3.7, 6.10.4.3.1, 6.10.4.3.2, 6.3.2.1, 6.3.2.2, 6.3.5.1, 6.3.5.3, 6.4.1.1, 6.4.1.2.1, 6.6.3, 6.6.6.2, 6.6.7.1, 6.6.7.2, 6.6.7.3, 6.7.1.1, 6.7.1.2, 6.7.3.1, 6.7.3.2, 6.9.2.2, 6.9.2.3, 6.9.3.2.2, 7.2.1.3, 7.2.3.2, 7.4.3.5, 7.4.3.6, 7.4.3.7, 8.1.4, 8.1.5, 8.1.6.2, 8.1.6.3, 8.10.1, 8.10.3, 8.10.4, 8.2.10.2, 8.2.10.3, 8.2.2, 8.2.3, 8.2.4, 8.2.5, 8.2.6, 8.2.7, 8.2.8.1, 8.2.8.2, 8.2.9.1, 8.3.2, 8.3.4.1, 8.3.4.2, 8.3.5, 8.3.6.3, 8.4.1, 8.4.2, 8.5.2, 8.5.3, 8.5.4, 8.5.5.4.1, 8.5.5.4.2, 8.5.5.5, 8.6.2, 8.6.3, 8.6.5, 8.7.2, 8.8.1.1, 8.8.1.2, 8.8.1.3, 8.8.1.5.1, 8.8.1.5.2, 8.8.1.6, 8.8.1.7.1, 8.8.1.8.1, 8.8.1.8.2, 8.8.2.2, 8.8.2.3, 8.8.3.1.1, 8.8.3.1.3, 8.8.3.1.7, 8.8.4.2, 8.8.4.4, 8.9.2.1, 8.9.2.3, 8.9.2.4.1, 8.9.2.4.2, 8.9.2.4.3, 8.9.2.4.4, 8.9.3.1, 8.9.3.2, 8.9.3.3, 8.9.4.1.1, 8.9.4.3, Table 8.3.4.2 | PDF | CFIHOS-70000430
S719-IR-37 | Spare part list | Table containing list items specifying the objects (parts, components, equipment, etc.) that are available or delivered as spare parts for later use. Mandatory content of information: – Item reference number; – Quantity; – Part number or global identifier (together with manufacturer / supplier); – Part name. Optional content of information: – Type designation; – Specifying technical data; – Descriptive technical data; – Mass, dimensions; – Reference to document; – Remark. (Source: IEC 61355, D00106) | 12.4.1, 12.4.2, 6.4.1.2.2, 6.6.7.3, 6.8.8.1, 6.8.8.2 | PDF | CFIHOS-70000374
S719-IR-43 | Special tools list | The Special Tools List shall identify all special tools necessary for handling, dismantling, maintenance etc. of equipment. Shall be part of the Spare part list Special Tools List shall include: – Identification - the tag number the special tool shall support – Description of the special tool – Storage, i.e. the location where the special tool can be found – Document references, if applicable. Note that the actual special tool shall be marked with the identification, i.e. tag number that it supports. | 13.4.2 | PDF
S719-IR-80 | Fluid schedule | The Fluid schedule shall identify all fluid and liquid used within the equipment. May include for example: (1) corrosion inhibitors (2) fire-fighting additives, including foams (3) anti freezing additive (4) greasing or lubrications. | 11.2.1, 6.2.2.6.1, 6.7.2, 7.5, 7.6, 8.8.4.4 | PDF | CFIHOS-70000145
S719-IR-68 | Safety datasheet for liquids | A structured form containing information on the safety, health and environmental protection aspects of the chemical, including protective measures and emergency actions. [Source : ISO 11014] Safety datasheet for liquids shall be according to local/national regulations and in the official language plant is/will be operated, or in English if accepted by local authorities. Safety data sheets to be delivered for chemicals delivered as part of equipment, as first fill or used for preservation before operation. The report shall include one data sheet per unique chemical trade name. A cross reference table with each unique chemical trade name, equipment tag number(s) and data sheet file name shall also be included. | 12.1.1, 14.2.2.1.3, 6.1.3.2, 7.6, A.3.3.2 | PDF | CFIHOS-70000211
S719-IR-54 | Material declaration of conformity (2.1) | A document in which the supplier declares that the products supplied are in compliance with the requirements of the PO, without inclusion of any test results. NOTE: see ISO/IEC 17000, clause 5.5 and ISO 10474 / EN 10204. | 6.3.1.1, 6.3.3.1, 6.3.3.2, 6.3.3.4, 6.3.4.4, 6.3.5.1, 6.3.5.2, 6.4.1.1, 6.4.2.1, 6.8.3, 8.5.5.1 | PDF | CFIHOS-70000412
S719-IR-72 | Materials test report (2.2) | A document in which the supplier declares that the products supplied are in compliance with the requirements of the PO, and in which test results are supplied based on non-specific inspection and testing NOTE: see ISO/IEC 17000, clause 5.5 and ISO 10474 / EN 10204. |  | PDF | CFIHOS-70000412
S719-IR-87 | Manufacturer record book (MRB) | Detailed information/description for the documents to be included in MRB as agreed between Purchaser and Vendor: Shall include but not be limited to documents Recording Compliance With Statutory and/or Local Regulations, and inspection and testing results / reports for all the testing (e.g. Mill tests on Material, production test coupon results, NDE, NDE personnel qualification, impact test, Heat treatment, leak testing etc.) carried out at Vendor/Sub-Vendor shop and at mill. |  | PDF | CFIHOS-70000178
S719-IR-71 | Training manual | System training, certificate of attendance and training manual. |  | Hard Copy | CFIHOS-70000339
Purchase Order Specific Information Requirements
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Back Cover
Public Review Draft

## Pick Lists (hidden)
Deliverables Tab Pick Lists
Col A | Col B | Col C | Col D | Col E | Col F | Col G | Col H | Col I | Col J | Col K | Col L
Code | Title | Condition Invoking Requirement | Typical Deliverable | Submit At Proposal | First Issue Post Purchase Order |  |  | Required As Built | Fulfilled by Document Number(s)� | Translation Required | Remarks
|  |  |  | Yes/No) | Purpose | (Weeks) | (Period) | Yes/No)
|  |  |  | Yes | For Information |  | WAD | Yes |  | Yes
|  |  |  | No | For Acceptance |  | WAI | No |  | No
|  |  |  | - | - |  | WAO | - |  | -
WAO (Monthly)
WAT
WPTD
WPTF
WPTT
-
Definitions Tab Pick Lists
Col A | Col B | Col C | Col D | Col E | Col F
Code | Title | Description | Reference | Format | CFIHOS Document Type Code
Hard Copy
Native
PDF
-
Note on K4: Chris Mitchell:
Note on L4: Chris Mitchell: