## Front & Preliminaries
|  |  |  | SPECIFICATION | October
|  |  |  | S-710L | 2019
Information Requirements for
Air-cooled Heat Exchangers
Revision history
| VERSION | DATE | PURPOSE
| 0.1 | October 2019 | Issued for Public Review
Acknowledgements
This IOGP Specification was prepared by a Joint Industry Project 33
Standardization of Equipment Specifications for Procurement organized
by IOGP with support by the World Economic Forum (WEF).
Disclaimer
Whilst every effort has been made to ensure the accuracy of the information
contained in this publication, neither IOGP nor any of its Members past present or
future warrants its accuracy or will, regardless of its or their negligence, assume
liability for any foreseeable or unforeseeable use made thereof, which liability is
hereby excluded. Consequently, such use is at the recipient’s own risk on the basis
that any use by the recipient constitutes agreement to the terms of this disclaimer.
The recipient is obliged to inform any subsequent recipient of such terms.
This publication is made available for information purposes and solely for the private
use of the user. IOGP will not directly or indirectly endorse, approve or accredit the
content of any course, event or otherwise where this publication will be reproduced.
Copyright notice
The contents of these pages are © International Association of Oil & Gas Producers.
Permission is given to reproduce this report in whole or in part provided (i)
that the copyright of IOGP and (ii) the sources are acknowledged. All other rights are
reserved. Any other use requires the prior written permission of IOGP.
These Terms and Conditions shall be governed by and construed in accordance
with the laws of England and Wales. Disputes arising here from shall be exclusively
subject to the jurisdiction of the courts of England and Wales.
IOGP S-710L Version 0.1
S-710L Information Requirements for
Air-cooled Heat Exchangers
Foreword
This specification was prepared under Joint Industry Programme 33 (JIP33) “Standardization of Equipment Specifications for Procurement” organized by the International Oil & Gas Producers Association (IOGP) with the support from the World Economic Forum (WEF). Companies from the IOGP membership participated in developing this specification to leverage and improve industry level standardization for projects globally in the oil and gas sector. The work has developed a minimized set of supplementary requirements for procurement, with life cycle cost in mind, resulting in a common and jointly approved specification, building on recognized industry and/or international standards.
Recent trends in oil and gas projects have demonstrated substantial budget and schedule overruns. The Oil and Gas Community within the World Economic Forum (WEF) has implemented a Capital Project Complexity (CPC) initiative which seeks to drive a structural reduction in upstream project costs with a focus on industry-wide, non-competitive collaboration and standardization. The CPC vision is to standardize specifications for global procurement for equipment and packages, facilitating improved standardization of major projects across the globe. JIP33 provides the oil and gas sector with the opportunity to move from internally to externally focussed standardization initiatives and provide step change benefits in the sector’s capital projects performance
This specification has been developed in consultation with a broad user and supplier base to realize benefits from standardization and achieve significant project and schedule cost reductions.
The JIP33 work groups performed their activities in accordance with IOGP’s Competition Law Guidelines (November 2014).
IOGP S-710L Version 0.1
S-710L Information Requirements for
Air-cooled Heat Exchangers
Introduction
The purpose of this information requirements specification (IRS) is to define information requirements for the supply of air-cooled heat exchangers in accordance with API Standard 661, Petroleum, Petrochemical, and Natural Gas Industries - Air-cooled Heat Exchangers, Seventh Edition, July 2013 - Reaffirmed, June 2018 This document defines the information requirements, including format, timing and purpose, for information to be provided by the vendor. It also defines the specific conditions which must be met for conditional information requirements to become mandatory. The information requirements listed in the IRS provide references to the source of the requirement.
This IRS shall be used in conjunction with the supplementary requirements specification (IOGP S-710), quality requirements specification (IOGP S-710Q) and equipment data sheet (IOGP S-710D) which together comprise the full set of specification documents. The Introduction section in the supplementary requirements specification provides further information on the purpose of each of these documents and the order of precedence for their use.
JIP33 Specification for Procurement Documents Information Requirements Specification
IOGP S-710L Version 0.1
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Supplier Instructions
[5 empty] | S-710L | Information Requirements for
Air-cooled Heat Exchangers
Supplier Instructions
In response to Invitation To Tender (ITT)
Tenderers to submit information as defined in column E - 'Submit At Proposal' in 'Deliverables' sheet, in accordance with ITT instructions
On award of contract
Suppliers to prepare and submit 'Supplier Master Information Schedule' (SMIS) incorporating information requirements in accordance with columns F - 'First Issue Post Purchase Order' in 'Requirements' sheet. Supplier to demonstrate compliance with each information requirement either by providing document number cross reference to the Requirement in 'Supplier Master Information Schedule' (SMIS) and, if specified in the Contract, using column J 'Fulfilled by Document Number(s)' in the IRS Requirements Sheet.
On completion of scope
Supplier to validate that the information delivered meets the IRS requirements either through cross reference to the deliverable type in a as-built version of the 'Supplier Master Information Schedule' SMIS and, if specified in the Contract, by providing an as-built version of the IRS with column J 'Fulfilled by Document Number(s)' in Requirement sheet populated with the specific document numbers issued to the Purchaser.
IRS Structure Contents
| 1 |  | 'Front & Preliminaries' Tab
The 'Front & Preliminaries ' tab includes an IOGP Front sheet for the IRS followed by Acknowledgements, a Disclaimer, Copyright Notice, Foreword and Introduction
| 2 |  | 'Supplier Instructions' Tab
This 'Supplier Instructions' tab provides instructions that Suppliers are to follow in response to this IRS.
S-710L Instructions and Guidance
| 3 |  | 'Requirements' Tab
The 'Deliverables' tab lists the suite of information requirements that are to be supplied during tendering and following award of the purchase order to deliver the purchase order scope. The information requirements are grouped under three broad categories; Management information requirements: Key information requirements relating to planning, managing, assuring and reporting the execution of the technical scope. Note: Information requirements relating to contractual and administrative terms and conditions or regulatory obligations are to be supplied in accordance with the applicable purchase order or regulation. Technical information requirements: Technical information developed by the supplier or their sub suppliers, during the design and development, acquisition, manufacture, assembly and testing of the contracted scope. Purchase Order Specific Information Requirements: Information requirements specified by individual owners-operators in addition to those specified by IOGP-JIP33 to meet specific operational, project or legislative requirements. Note: Information requirements relating to contractual and administrative terms and conditions or regulatory obligations are to be supplied in accordance with the applicable purchase order or regulation. "The 'Deliverables' tab includes columns A to L, including Column A for the relevant requirement code and Column B for the Requirement for the different Information Deliverables (Data, Documents and/or Models) to be provided by suppliers, based on the parent standard, IOGP Specification or the specified parent industry Standard. Condition Invoking Revoking Requirement Column C is included to allow any specific conditions to be identified that may require a additional deliverable(s). Typical Deliverable Column D is provided for Buyer to identify the deliverable type that the information would typically appear within; this also allows the buyer's Requisitioning Engineers to group the various Information Requirements by Deliverable Type. Column E includes Submission Requirements (Yes or No) at Proposal, while columns F, G & H identify Issue Purpose (For Information or For Acceptance) and Durations (Period or Weeks/Months) for First Issue of the particular deliverable Post Purchase Order. [Note for Buyer - default values in the downloadable IRS are set to the equivalent of CAS level D, as defined in the QRS. Buyer is to adjust the values in these columns to match the actual CAS level for the specific application]. Required As Built, Fulfilled by Document Number(s), Translation Required and Remarks columns I, J, K & L are also included. Definitions for each column are contained in the rows above the columns: Abbreviations used for various submission requirements in Column H are shown in table 3.1 below:
Table 3.1 - Information Submission Abbreviations
S-710L Instructions and Guidance
| 4 |  | 'Definitions' Tab
The 'Definitions' tab includes several columns A to F, including Column A for the relevant Code & Column B for the Requirement for the different Information (Data, Documents and/or Models) Requirements to be provided by Suppliers, all copied from the 'Requirements' tab. Column C includes a full description of the Information Requirement based on the Parent Standard, IOGP Specification or an Industry Standard. Column D gives a reference to the Parent Standard, IOGP Specification or an Industry Standard that the Information requirement is identified in. Column E identifies the Requirement format as listed in Table 9.1 below. Column F relates the CFIHOS discipline document type that could be used to classify the document having this IRS content. Definitions for each column are contained in the rows above the columns:
| 5 |  | Abbreviations and definitions
The following abbreviations, terms and definitions have been used in the various tabs of this workbook.
| Buyer |  |  | Organisation placing a Contract or Purchase Order with Supplier for equipment or services on project; may be alternatively referred to as 'User' or 'Purchaser'
| CFIHOS |  |  | Capital Facilities Information Hand Over Specification
| Company |  |  | Project Operating Entity or the organisation Contractor is under contract to
| Contractor |  |  | Project Contractor responsible for procuring equipment.
| Information |  |  | Data, Documents and/or Models
| IRS |  |  | Information Requirements Specification
| PO |  |  | Purchase Order
| QRS |  |  | Quality Requirements Specification
| SMIS |  |  | Supplier Master Information Schedule
| Supplier |  |  | Organisation supplying equipment or services to Company and/or Contractor on project; may alternatively be referred to as "Vendor", "Seller" or “Manufacturer”.
| 6 |  | CFIHOS
The Information Requirements are also classified according to document classification published in v1.4 of Capital Facilities Information Hand Over Specification (CFIHOS). The objective of CFIHOS is to create a common information standards across the process industries. Further information on CFIHOS can be found at:
https://uspi.nl/index.php/projects/frameworks-methodologies/136-cfihos
S-710L Instructions and Guidance
| 7 |  | Document Metadata
Typical Metadata for Information Deliverables to be provided by Suppliers is shown in Table 7.1 below
Table 7.1 - Supplier Deliverable Metadata
S-710L Instructions and Guidance
| 8 |  | Deliverable Formats
The format of the relevant Information Deliverable to be submitted by Supplier for Buyer/Contractor is to be as described in table 8.1 below. Where required to be ‘As Built’, deliverables are to be updated and handed over in the native format.
Table 8.1 – Deliverable Formats
S-710L Instructions and Guidance
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Requirements
S-710L Information Requirements for Air-cooled Heat Exchangers
Requirements
Column | Heading - Details and requirements
A | Code - a unique identifier for the Information Requirement assigned by IOGP JIP33 DigitalTool
B | Requirement - a short description of the Information Requirement based on the description in the Parent Standard, IOGP Specification or an Industry Standard Information Requirement Title.
C | Condition Invoking Requirement - describes special condition(s) under which the Information Requirement is required; e.g.. service offshore and weight greater than 1 tonne means information is required. NB: if blank, always required
D | Typical Deliverable - Buyer to advise the short description of the Information Deliverable that would typically include this Information Requirement
E | Submit With Proposal - Yes or No, where ‘Yes' means the Information Requirement is required to be submitted with Suppliers Proposal or 'No' is not required
F, G & H | First Issue Post Purchase Order - issue purpose ('For Information' or 'For Acceptance'), time in weeks for issue of the Information Requirement and Period defined after Purchase Order placement
I | Required As Built - Yes or No, where ‘Yes' means the Information Requirement is required to be 'As Built' on completion or delivery of equipment or 'No' is not required 'As Built'
J | Fulfilled by Information Deliverable Number(s) – identifies which Information Requirement(s) listed in the Supplier Master Information Schedule (SMIS) addresses the Purchasers requirements. NB; it should be noted that one Information Deliverable can fulfil more than one Information Requirement.
K | Translation Required -Yes or No, where 'Yes' means the Information Requirement should be translated into a language(s) (to be advised) other than English and 'No' means to be provided in English
L | Remarks - may include bid clarification questions & decisions (specify author & date)
Col A | Col B | Col C | Col D | Col E | Col F | Col G | Col H | Col I | Col J | Col K | Col L
Code | Requirement | Condition Invoking Requirement | Typical Deliverable | Submit At Proposal | First Issue Post Purchase Order |  |  | Required As Built | Fulfilled by Document Number(s) | Translation Required | Remarks
|  |  |  | (Yes/No) | Purpose | (Weeks) | (Period) | (Yes/No)
Contract Management Information Requirements
S710-IR-1 | Supplier master information schedule |  | Information Deliverables List | No | For Acceptance |  | WAO | Yes
S710-IR-2 | Delivery schedule |  | Delivery/Production Schedule | Yes | For Information |  | WAO | No
S710-IR-3 | Progress report |  | Progress Report | No | For Information |  | WAO (Monthly) | No
S710-IR-4 | Quality plan | Required for CAS A, B, C | Quality Plan | No | For Information |  | WAO | No
S710-IR-5 | Sub-vendor delivery schedule |  | Sub-Supplier List | Yes | For Information |  | WAO (Monthly) | No
S710-IR-6 | Inspection and test plan for complete package |  | Inspection and Test Plan (ITP) | No | For Acceptance |  | WAO | No
S710-IR-7 | Handling, shipping, storage and preservation procedure |  | Handling, shipping and storage procedure | No | For Information |  | WPTD | No
S710-IR-8 | Non-conformance records |  | Nonconformance History | No | For Acceptance |  | WAO | Yes
S710-IR-9 | Concession requests |  | Concession request | No | For Acceptance |  | WAO | Yes
Technical Information Requirements
S710-IR-19 | Completed data sheet |  | Data sheet | Yes | For Acceptance |  | WAO | No
S710-IR-20 | Preliminary plan and elevation |  | Proposal Drawing | Yes | For Information |  | - | No
S710-IR-21 | Description of exceptions and deviations | Needed when vendor requests a deviation | Deviations List | Yes | For Acceptance |  | - | No
S710-IR-22 | Thermal and hydraulic design calculations | Needed when thermal and hydraulic design is in the scope of the vendor | Thermal data sheet | Yes | For Information |  | WAO | No
S710-IR-23 | General Assembly |  | General Arrangement drawing | No | For Acceptance |  | WAO | Yes
S710-IR-24 | Component details |  | Detail drawing | No | For Acceptance |  | WAO | Yes
S710-IR-25 | Noise data |  | Noise data sheet | Yes | For Information |  | WAO | Yes
S710-IR-26 | Fan characteristic curves |  | Fan data sheet | Yes | For Information |  | WAO | Yes
S710-IR-27 | Design calculations |  | Mechanical design calculations | No | For Acceptance |  | WAO | Yes
S710-IR-43 | Structure strength | When supporting structure is in ACHE vendor scope | Structural design calculation | No | For Information |  | WAO | No
S710-IR-28 | Non-Destructive Examination |  | Non-Destructive Examination procedure | No | For Acceptance |  | WAO | No
S710-IR-29 | Alloy verification | Needed when material of construction is alloy steel | Positive Material Identification (PMI) procedure | No | For Information |  | WAO | No
S710-IR-30 | Pickling and passivation | Needed when material of construction is stainless steel | Pickling and passivation procedure | No | For Information |  | WAO | No
S710-IR-31 | Weld and material heat treatment | Needed when heat treatment is required | Heat Treatment Procedure | No | For Information |  | WAO | No
S710-IR-32 | Test Pressure |  | Pressure test procedure | No | For Acceptance |  | WAO | No
S710-IR-33 | Tube Expansion | Needed when tubes are expanded through tubesheet | Tube Expansion procedure | No | For Acceptance |  | WAO | No
S710-IR-34 | Surface Preparation and Coating | Needed when coating or painting is specified by Purchaser | Surface Preparation and Coating procedure | No | For Information |  | WAO | No
S710-IR-35 | Heat Treatment record | Needed when heat treatment is required | Heat Treatment Temperature Charts | No | For Information |  | WAO | Yes
S710-IR-36 | Non-Destructive Examination record |  | Non-Destructive Examination record | No | For Information |  | WAO | Yes
S710-IR-37 | Welding procedure specification and welding procedure qualification, procedure qualification record, weldmaps, list of welders and welding operators |  | Welding Book | No | For Information |  | WAO | Yes
S710-IR-38 | Assembly Lifting |  | Lifting plan | No | For Information |  | WAO | No
S710-IR-39 | Material test report |  | Mill certificates | No | For Information |  | WAO | Yes
S710-IR-40 | Manufacturer Record Book (MRB) |  | Manufacturer Record Book (MRB) | No | For Acceptance |  | WAD | Yes |  |  | Manufacturer Record Book index, if required, shall be provided in first revision of the document. When index agreed, Manufacturer Record Book content shall be provided in subsequent revision of the document.
S710-IR-41 | Installation, Operation and Maintenance instructions |  | Installation, Operation and Maintenance manual | No | For Information |  | WAO | No |  |  | IOM Manual index, if required, shall be provided in first revision of the document. When index agreed, Installation manual content shall be provided in subsequent revision of the document.
S710-IR-42 | Spare parts |  | List of recommended spare parts | Yes | For Information |  | WAO | Yes
S710-IR-45 | Shop Run in test report | When specified by purchaser | Shop Run in test report | No | For Information |  | WPTD | Yes
Purchase Order Specific Information Requirements
Public Review Draft
Public Review Draft

## Definitions
S-710L Information Requirements for Air-cooled Heat Exchangers
Definitions
Column | Heading - Details and requirements
A | Code - a unique identifier for the Information Requirement assigned by IOGP JIP33 DigitalTool
B | Requirement - a short description of the Information Requirement that would typically provide the Information required, based on the description in the Parent Standard, IOGP Specification or an Industry Standard Title.
C | Description - an excerpt from the Parent Standard, IOGP Specification or Industry Standard.
D | Reference - reference to the Parent Standard, IOGP Specification or Industry Standard that the Information Deliverable is identified in.
E | Format - defines the required format of the relevant Information Requirement to be submitted by Supplier for Buyer/Contractor for information and acceptance as shown in Table 9.1 of Instructions Tab and selected from pick list.
F | CFIHOS Discipline Document Type Code - the CFIHOS discipline document type that could be used to classify the document having this IRS content.
Col A | Col B | Col C | Col D | Col E | Col F
Code | Requirement | Description | Reference | Format | CFIHOS Discipline Document Type Code
Contract Management Information Requirements
S710-IR-1 | Supplier master information schedule | Schedule of specific information deliverables developed by the [Vendor] and accepted by the [Purchaser] to meet the information requirements defined in the agreed Information Requirements Specification (IRS). The schedule typically defines; a. information deliverable type, title/description b. unique identification (code/number) in the [Vendor's] format unless agreed otherwise in the contract. c. planned submission arrangements including; purpose, formats, timing, frequency Arrangements for managing submissions, tracking progress and updating the schedule during the execution of the contract scope will be in accordance with contractual agreements. | Contract Requirement | Native
S710-IR-2 | Delivery schedule | Schedule depicting, as applicable to the service or product scope, design, supply, manufacture, inspection, testing and delivery activities to be executed by [vendor/sub-vendors]. Schedule details typically** include; b. activity early/late start/completion dates, durations, dependencies (Calendar Dates) c. critical path and float d. outsourced services and equipment (cross referenced to purchase order and sub-vendor) e. information deliverable submission dates identifying any execution activity dependencies Once agreed, changes to planned dates are subject to agreement by [purchaser]. Progress against planned dates is measured and the schedule updated and reported to the [purchaser] in accordance with contract reporting agreements. ** Schedule development tools, formats and submission protocols follow the [vendor's] standard practice unless otherwise agreed in the contract. | Contract Requirement | PDF
S710-IR-3 | Progress report | Report detailing activities completed in the period, percent complete against planned, activities planned for the next period, risks/areas of concern, cause of any delays and proposed recovery plans, concessions, internal and outsourced inspection and audit activities.. Note: may also include actionable items such as Health, Safety, Security & Environment (HSSE) incidents & status if required under the Contract. | Contract Requirement | PDF
S710-IR-4 | Quality plan | Plan specifying the actions, responsibilities and associated resources to be applied by the [vendor], and when applicable [sub-vendors] or [manufacturers], to deliver the services or procured item(s) in conformance with the agreed requirements. ISO 9001 Clause 8.1 and ISO 10005 may be used to inform the development of quality plans for specific applications, processes or products. [API Spec Q2 may be used to inform the development of Service Quality Plans] | Contract Requirement | PDF
S710-IR-5 | Sub-vendor delivery schedule | Definition of processes, products or services that will be externally provided and the controls to be applied by the [vendor] to ensure conformance with agreed requirements. The schedule includes evidence of the basis of capability assessment , quality management system certification (or equivalent), process or product qualification for proposed suppliers of outsourced products and services when nominated in the Contract or Quality Requirements Specification (QRS) . Note: ISO 9001, API Specs Q1/Q2 define requirements for assessing risks and establishing controls for outsourced products and services. | Contract Requirement | Native
S710-IR-6 | Inspection and test plan for complete package | Tabular presentation of a quality plan typically used for process or product applications to define the specific sequence of operational activities, instructions, acceptance criteria records and associated [vendor], [purchaser] and independent conformity assessment activities. ISO 9001 Clause 8.1 and ISO 10005 may be used to inform the development of inspection and test plans for specific processes and products. | Contract Requirement | PDF
S710-IR-7 | Handling, shipping, storage and preservation procedure | Definition of practices to be followed during the; storage, transport, lifting and preservation of the equipment and materials included in the scope of supply to maintain their functionality and guarantees. Procedures typically define: a. packaging requirements; contents, identification, size, weight and number of packages/container (s), b. special packing/unpacking/handling requirements c. storage location and requirements, d. preservation requirements detailing inspection periods and required maintenance, materials required etc., both prior to installation and post installation, but prior to commissioning. | Contract Requirement | PDF
S710-IR-8 | Non-conformance records | Details of non-conformances raised by or to the [vendor/sub-vendors] against technical requirements prior to or during the delivery of the products or services. Non-conformance is managed by the [vendor] in accordance with ISO 9001 Clause 8.7 and associated records typically include; description of non-conformance, analysis and disposition, correction implemented and details of any retesting or inspection taken to demonstrate subsequent conformance. Note: Instances where the proposed disposition is to accept a non-conforming condition are subject to agreement by the [purchaser] in accordance with the concession management protocols defined in the Contract. | Contract Requirement | PDF
S710-IR-9 | Concession requests | Formal submission seeking [purchaser] agreement to accept deviations from the contracted scope or technical requirements. Requests may be raised as a result of, as examples, material or service availability, obsolescence, innovation, non-conformance. Requests are typically raised as required during execution with a summary report detailing concessions raised, [purchaser] directions, agreed action status provided with progress reports and at contract closeout | Contract Requirement | PDF
Technical Information Requirements
S710-IR-19 | Completed data sheet | Purchaser data sheet with vendor filled-in data. Extent of data to be filled-in by vendor shall be identified on datasheet. | API 661 5.1 | PDF
S710-IR-20 | Preliminary plan and elevation | Preliminary sketch or drawing indicating major ( e.g. overall bank length, width, supporting structure height ) dimensions in plan and elevation, extent of access platforms,walkways and ladder and the nozzle sizes and their orientation. If re-circulation system is applicable, drawing shall show the duct and plenum sizes, net free flow area, louver type and arrangement, drive location, and proposed control schematic. | S-710 5.2, API 661 5.10 | PDF
S710-IR-21 | Description of exceptions and deviations | List of exceptions and deviations to the requirements of the Purchaser's inquiry. List shall include purchaser document number, clause or section number under document against which deviation is proposed and detailed justification for the deviation. | API 661 5.6 | PDF
S710-IR-22 | Thermal and hydraulic design calculations | Calculations from the purchaser approved software package to support the thermal and hydraulic design. | PM04 5.11, S-710 6.1.3 c) | PDF
S710-IR-23 | General Assembly | Drawing is to include but not limited to information such as: - General arrangement of air cooled heat exchanger bay assembly; - Major dimensions in plan and elevation (each bay length/width, total bank length/width, supporting structure height etc.); - Extent and platforms,walkways, ladder; - Dimensions and locations of supports and sizes of hold-down bolts; - Nozzle size, rating, facing, location, projection beyond header surface, allowable loading (forces and moments) and direction of flow; - Purchaser data (Item number, service, project name and location, order number); - Design data (Design code, design pressure, maximum allowable working pressure, test pressure, maximum and minimum design temperature, corrosion allowance) - Material specifications and grades for all pressure parts; - Weight of the tube bundle, the exchanger empty and full of water, and the mass of the heaviest component (or combination of components) intended by the Vendor for handling in a single lift - Column reactions for each load type - Radiographic and other non-destructive examination requirements; - Surface preparation and painting requirements; - Maximum and minimum plug torque values with recommended thread lubrication; - List of reference purchaser documents | API 661 6.1.1 a), 6.1.1 b), 6.1.1 d), 6.1.1 e), 6.1.1 f), 6.1.1 g), 6.1.1 h), 6.1.1 j), 6.1.1 k), 6.1.1 l), 6.1.1 n), 6.1.1 o), 6.1.1 s) and 6.1.1 q). | PDF
S710-IR-24 | Component details | Drawing is to include but not limited to detailed information for: - Gaskets; - Tube bundle and tube bundle frame; - Field assembly;All auxiliary equipment and controls including cable trays and junction box; - Electrical and control connections including those of motive and signal air for any pneumatically actuated louvers or fans; - Structure, walkways, platforms, ladders and stairways, if applicable;Motor suspension assembly including fans, bearings, pulleys, belts etc. as applicable; - Plenum chamber including plenum beams; - Fan ring including support; - Fan screens and guards; - Header guard. | API 661 6.1.2 | PDF
S710-IR-25 | Noise data | Purchaser noise data sheet . | S-710 6.1.1 z), API 661 7.2.2 | PDF
S710-IR-26 | Fan characteristic curves | Curves to relate static or total pressure, rate of flow, blade pitch, and fan input shaft power, for dry-air standard conditions. The operating point and shaft power for the specified design conditions,including fan critical speeds for use with variable-frequency drives, shall be shown on the curve. | API 661 5.8,7.2.3.13, 6.2.2 l) | PDF
S710-IR-27 | Design calculations | a) Calculations required by the pressure design code for design of pressure components, including header boxes, tubes, tube to tubesheet joints, inlet and outlet process nozzles including swage connections and other non-standard pressure boundary components; b) Restraint relief calculations; c) Local load analysis due to external forces and moments on nozzles. | API 661 6.1.3 | PDF
S710-IR-43 | Structure strength | Structural calculations to evaluate column reactions and structural sections strength for each load combination. | API 661, 6.1.3 b) | PDF
S710-IR-28 | Non-Destructive Examination | Detailed procedure for all the NDE carried out by Vendor and/or Sub-Vendor as per code, datasheet and reference specifications. | API 661 6.1.1 | PDF
S710-IR-29 | Alloy verification | Detailed procedure for alloy verification performed at vendor or sub vendor shop | API 661 6.1.1 | PDF
S710-IR-30 | Pickling and passivation | Detailed pickling and passivation procedure carried out on Stainless steel material and surfaces of weld. | API 661 6.1.1 | PDF
S710-IR-31 | Weld and material heat treatment | Procedure for heat treatment carried on material and weld as per code, datasheet and reference specifications. | API 661 6.1.1 | PDF
S710-IR-32 | Test Pressure | Hydrotest procedure for complete (header boxes, nozzles,tubes etc.) bundle assembly. Any leak testing carried out at Vendor/Sub-Vendor shop are to be part of this document. | API 661 10.2.2, 12.4.1 | PDF
S710-IR-33 | Tube Expansion | Detailed procedure for expansion of tubes into tubesheet. | API 661 6.1.1 | PDF
S710-IR-34 | Surface Preparation and Coating | Vendor's procedures for surface preparation, painting and coating in line with Purchaser requirements such as : a. Environmental requirements b. Color scheme | API 661 6.1.1 | PDF
S710-IR-35 | Heat Treatment record | Records of all heat treatment performed on the pressure components and welds are to be attached including chart recording of the measured temperatures. In case of re-heat treatment due to repair, an additional sheet for the re-heat treatment is to be completed. | API 661 6.2.2 | PDF
S710-IR-36 | Non-Destructive Examination record | Report of NDE performed on pressure components and welds such as radiography, ultrasonic testing, magnetic particle and liquid penetrant testing. The report includes location, type of NDE and the indications obtained.When repairs are required, the report includes the areas repaired, the nature of defects repaired and the repair procedures used. When ultrasonic examination type of NDE is performed, the following information to be provided: a) pulse-echo unit manufacturer, model, and damping control setting; b) search unit manufacturer, model, dimensions, and the substance (such as oil or water) that is used to couple the transducer with the material being inspected; c) frequency used and the test angle on the component’s surface; and d) wedge medium for angle-beam examination. | API 661 6.2.2 | PDF
S710-IR-37 | Welding procedure specification and welding procedure qualification, procedure qualification record, weldmaps, list of welders and welding operators | Qualified welding procedure specifications, procedure qualification records, welder qualification,list of welders and welding operators and weld maps as required by the pressure design code and or reference specification/s. Are also include weld repair procedure (if applicable) | API 661 6.1.4 | PDF
S710-IR-38 | Assembly Lifting | Lifting and installation instructions. | S-710 6.1.1 | PDF
S710-IR-39 | Material test report | Are to include but not limited to detailed reports of all the applicable testing (UT/PT.MT, hardness test, impact test, through thickness tensile test etc.) , heat treatments (normalising, quenching, tempering etc.), chemical composition carried out on material. | API 661 6.2.2 | PDF
S710-IR-40 | Manufacturer Record Book (MRB) | Detailed information/description for the documents to be included in MRB as agreed between Purchaser and Vendor: Shall include but not be limited todocuments listed under API 661 clause 6.2. | API 661 6.2 | PDF
S710-IR-41 | Installation, Operation and Maintenance instructions | Instructions for the Purchaser, including all the necessary safety information relating to: - mounting including assembling of different pieces of pressure equipment - putting into service - use - maintenance including checks by the Purchaser | API 661 6.1.6 | PDF
S710-IR-42 | Spare parts | List is to indicate spare parts recommended by Vendor. Each item is to be referenced by its original manufacturers name and part number. | API 661 6.2 | PDF
S710-IR-45 | Shop Run in test report | The report to include minimum extent of shop run in test as follows: - A shop run-in test of the driver, drive assembly, and fan provided for shop assembled units. - Unless otherwise specified, test one bay for each ten bays per service with a minimum of one bay. - The run-in test performed on assembled bays including the completed tube bundle/header box assembly, louvers (if applicable), plenums, fan rings, fans, drivers, drive assemblies, motor mounts and support columns. - The run-in test consists of the following: - Check and record the fan tip clearances; - Set and record the fan blade pitches as per design blade angle (± 0.5° blade angle); - Check and record the radial run-out tolerance for the fan shafts; - Check and record the radial and axial run-out tolerances for the sprockets attached to the fan shafts; - Run the motors and fans at design speed for a minimum of 15 minutes, recording the motor voltages, motor amperages, fan speeds, and vibration levels (see 7.3.2.1). - When specified by the Purchaser, air flow measurements shall be taken for each fan; test procedure and acceptance criteria to be agreed between Purchaser and Vendor (see Annex D). - A run-in test report, including all recorded values, shall be provided as part of the manufacturer data book. | S-710 10.3 | PDF
Purchase Order Specific Information Requirements
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Backcover
Public Review Draft

## Pick Lists (hidden)
Deliverables Tab Pick Lists
Col A | Col B | Col C | Col D | Col E | Col F | Col G | Col H | Col I | Col J | Col K | Col K
Code | Title | Condition Invoking Requirement | Typical Deliverable | Submit At Proposal | First Issue Post Purchase Order |  |  | Required As Built | Fulfilled by Document Number(s) | Translation Required | Remarks
|  |  |  | Yes/No) | Purpose | (Weeks) | (Period) | Yes/No)
|  |  |  | Yes | For Information |  | WAD | Yes |  | Yes
|  |  |  | No | For Acceptance |  | WAI | No |  | No
WAO
WAO (Monthly)
WAT
WPTD
WPTF
WPTT
Definitions Tab Pick Lists
Col A | Col B | Col C | Col D | Col E | Col F
Code | Title | Description | Reference | Format | CFIHOS Discipline Document Type Code |  | Previous Template
|  |  |  | Hard Copy |  |  | Hard Copy |  |  |  |  | Intelligent vector drawing Like CAD
|  |  |  | Native |  |  | Native |  |  |  |  | Multi media Like Film, Micro fiche, Video, Sound
|  |  |  | PDF |  |  | PDF |  |  |  |  | Raster Image like a bitmap
|  |  |  | Intelligent Vector (CAD) |  |  | S/D |  |  |  |  | Structured Data Like CSV file, MS-access, MS-Excel, Application Database
|  |  |  | Multi media (Film) | [7 empty] | Technical publication or Text
Raster Image (Bitmap)
Structured Data (MS Apps)
Technical Publication (Text)
|  | WAD | - | Weeks After Delivery
|  | WAI | - | Weeks After Inspection
|  | WAO | - | Weeks After Order
|  | WAO (Monthly) | - | Weeks After Order Monthly
|  | WAT | - | Weeks After Test
|  | WPTD | - | Weeks Prior To Delivery
|  | WPTF | - | Weeks Prior to Fabrication
|  | WPTT | - | Weeks Prior To Test
Note on K4: Chris Mitchell:
Note on L4: Chris Mitchell: