## Front & Preliminaries
|  |  |  | SPECIFICATION | October
|  |  |  | S-719L | 2019
Information Requirements for
Water Mist Fire Protection
Revision history
| VERSION | DATE | PURPOSE
| 0.1 | October 2019 | Issued for Public Review
Acknowledgements
This IOGP Specification was prepared by a Joint Industry Project 33
Standardization of Equipment Specifications for Procurement organized
by IOGP with support by the World Economic Forum (WEF).
Disclaimer
Whilst every effort has been made to ensure the accuracy of the information
contained in this publication, neither IOGP nor any of its Members past present or
future warrants its accuracy or will, regardless of its or their negligence, assume
liability for any foreseeable or unforeseeable use made thereof, which liability is
hereby excluded. Consequently, such use is at the recipient’s own risk on the basis
that any use by the recipient constitutes agreement to the terms of this disclaimer.
The recipient is obliged to inform any subsequent recipient of such terms.
This publication is made available for information purposes and solely for the private
use of the user. IOGP will not directly or indirectly endorse, approve or accredit the
content of any course, event or otherwise where this publication will be reproduced.
Copyright notice
The contents of these pages are © International Association of Oil & Gas Producers.
Permission is given to reproduce this report in whole or in part provided (i)
that the copyright of IOGP and (ii) the sources are acknowledged. All other rights are
reserved. Any other use requires the prior written permission of IOGP.
These Terms and Conditions shall be governed by and construed in accordance
with the laws of England and Wales. Disputes arising here from shall be exclusively
subject to the jurisdiction of the courts of England and Wales.
IOGP S-719L Version 0.1
S-719L Information Requirements for
Water Mist Fire Protection
Foreword
This specification was prepared under a Joint Industry Programme 33 (JIP33) “Standardization of Equipment Specifications for Procurement” organized by the International Oil & Gas Producers Association (IOGP) with the support from the World Economic Forum (WEF). Companies from the IOGP membership participated in developing this specification to leverage and improve industry level standardization for projects globally in the oil and gas sector. The work has developed a minimized set of supplementary requirements for procurement, with life cycle cost in mind, resulting in a common and jointly approved specification, building on recognized industry and/or international standards.
Recent trends in oil and gas projects have demonstrated substantial budget and schedule overruns. The Oil and Gas Community within the World Economic Forum (WEF) has implemented a Capital Project Complexity (CPC) initiative which seeks to drive a structural reduction in upstream project costs with a focus on industry-wide, non-competitive collaboration and standardization. The CPC vision is to standardize specifications for global procurement for equipment and packages, facilitating improved standardization of major projects across the globe. JIP33 provides the oil and gas sector with the opportunity to move from internally to externally focussed standardization initiatives and provide step change benefits in the sector’s capital projects performance
This specification has been developed in consultation with a broad user and supplier base to realize benefits from standardization and achieve significant project and schedule cost reductions.
The JIP33 work groups performed their activities in accordance with IOGP’s Competition Law Guidelines (November 2014).
IOGP S-719L Version 0.1
S-719L Information Requirements for
Water Mist Fire Protection
Introduction
JIP33 Specification for Procurement Documents Information Requirements Specification
IOGP S-719L Version 0.1
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Supplier Instructions
[5 empty] | S-719L | Information Requirements for
Water Mist Fire Protection
Supplier Instructions
In response to Invitation To Tender (ITT)
Tenderers to submit information as defined in column E - 'Submit At Proposal' in 'Deliverables' sheet, in accordance with ITT instructions
On award of contract
Suppliers to prepare and submit 'Supplier Master Information Schedule' (SMIS) incorporating information requirements in accordance with columns F - 'First Issue Post Purchase Order' in 'Requirements' sheet. Supplier to demonstrate compliance with each information requirement either by providing document number cross reference to the Requirement in 'Supplier Master Information Schedule' (SMIS) and, if specified in the Contract, using column J 'Fulfilled by Document Number(s)' in the IRS Requirements Sheet.
On completion of scope
Supplier to validate that the information delivered meets the IRS requirements either through cross reference to the deliverable type in a as-built version of the 'Supplier Master Information Schedule' SMIS and, if specified in the Contract, by providing an as-built version of the IRS with column J 'Fulfilled by Document Number(s)' in Requirement sheet populated with the specific document numbers issued to the Purchaser.
IRS Structure Contents
| 1 |  | 'Front & Preliminaries' Tab
The 'Front & Preliminaries ' tab includes an IOGP Front sheet for the IRS followed by Acknowledgements, a Disclaimer, Copyright Notice, Foreword and Introduction
| 2 |  | 'Supplier Instructions' Tab
This 'Supplier Instructions' tab provides instructions that Suppliers are to follow in response to this IRS.
S-719L Instructions and Guidance
| 3 |  | 'Requirements' Tab
The 'Deliverables' tab lists the suite of information requirements that are to be supplied during tendering and following award of the purchase order to deliver the purchase order scope. The information requirements are grouped under three broad categories; Management information requirements: Key information requirements relating to planning, managing, assuring and reporting the execution of the technical scope. Note: Information requirements relating to contractual and administrative terms and conditions or regulatory obligations are to be supplied in accordance with the applicable purchase order or regulation. Technical information requirements: Technical information developed by the supplier or their sub suppliers, during the design and development, acquisition, manufacture, assembly and testing of the contracted scope. Purchase Order Specific Information Requirements: Information requirements specified by individual owners-operators in addition to those specified by IOGP-JIP33 to meet specific operational, project or legislative requirements. Note: Information requirements relating to contractual and administrative terms and conditions or regulatory obligations are to be supplied in accordance with the applicable purchase order or regulation. "The 'Deliverables' tab includes columns A to L, including Column A for the relevant requirement code and Column B for the Requirement for the different Information Deliverables (Data, Documents and/or Models) to be provided by suppliers, based on the parent standard, IOGP Specification or the specified parent industry Standard. Condition Invoking Revoking Requirement Column C is included to allow any specific conditions to be identified that may require a additional deliverable(s). Typical Deliverable Column D is provided for Buyer to identify the deliverable type that the information would typically appear within; this also allows the buyer's Requisitioning Engineers to group the various Information Requirements by Deliverable Type. Column E includes Submission Requirements (Yes or No) at Proposal, while columns F, G & H identify Issue Purpose (For Information or For Acceptance) and Durations (Period or Weeks/Months) for First Issue of the particular deliverable Post Purchase Order. [Note for Buyer - default values in the downloadable IRS are set to the equivalent of CAS level D, as defined in the QRS. Buyer is to adjust the values in these columns to match the actual CAS level for the specific application]. Required As Built, Fulfilled by Document Number(s), Translation Required and Remarks columns I, J, K & L are also included. Definitions for each column are contained in the rows above the columns: Abbreviations used for various submission requirements in Column H are shown in table 3.1 below:
Table 3.1 - Information Submission Abbreviations
S-719L Instructions and Guidance
| 4 |  | 'Definitions' Tab
The 'Definitions' tab includes several columns A to F, including Column A for the relevant Code & Column B for the Requirement for the different Information (Data, Documents and/or Models) Requirements to be provided by Suppliers, all copied from the 'Requirements' tab. Column C includes a full description of the Information Requirement based on the Parent Standard, IOGP Specification or an Industry Standard. Column D gives a reference to the Parent Standard, IOGP Specification or an Industry Standard that the Information requirement is identified in. Column E identifies the Requirement format as listed in Table 9.1 below. Column F relates the CFIHOS discipline document type that could be used to classify the document having this IRS content. Definitions for each column are contained in the rows above the columns:
| 5 |  | Abbreviations and definitions
The following abbreviations, terms and definitions have been used in the various tabs of this workbook.
| Buyer |  |  | Organisation placing a Contract or Purchase Order with Supplier for equipment or services on project; may be alternatively referred to as 'User' or 'Purchaser'
| CFIHOS |  |  | Capital Facilities Information Hand Over Specification
| Company |  |  | Project Operating Entity or the organisation Contractor is under contract to
| Contractor |  |  | Project Contractor responsible for procuring equipment.
| Information |  |  | Data, Documents and/or Models
| IRS |  |  | Information Requirements Specification
| PO |  |  | Purchase Order
| QRS |  |  | Quality Requirements Specification
| SMIS |  |  | Supplier Master Information Schedule
| Supplier |  |  | Organisation supplying equipment or services to Company and/or Contractor on project; may alternatively be referred to as "Vendor", "Seller" or “Manufacturer”.
| 6 |  | CFIHOS
The Information Requirements are also classified according to document classification published in v1.4 of Capital Facilities Information Hand Over Specification (CFIHOS). The objective of CFIHOS is to create a common information standards across the process industries. Further information on CFIHOS can be found at:
https://uspi.nl/index.php/projects/frameworks-methodologies/136-cfihos
S-719L Instructions and Guidance
| 7 |  | Document Metadata
Typical Metadata for Information Deliverables to be provided by Suppliers is shown in Table 7.1 below
Table 7.1 - Supplier Deliverable Metadata
S-719L Instructions and Guidance
| 8 |  | Deliverable Formats
The format of the relevant Information Deliverable to be submitted by Supplier for Buyer/Contractor is to be as described in table 8.1 below. Where required to be ‘As Built’, deliverables are to be updated and handed over in the native format.
Table 8.1 – Deliverable Formats
S-719L Instructions and Guidance
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Requirements
S-719L Information Requirements for Water Mist Fire Protection
Requirements
Column | Heading - Details and requirements
A | Code - a unique identifier for the Information Requirement assigned by IOGP JIP33 DigitalTool
B | Requirement - a short description of the Information Requirement based on the description in the Parent Standard, IOGP Specification or an Industry Standard Information Requirement Title.
C | Condition Invoking Requirement - describes special condition(s) under which the Information Requirement is required; e.g.. service offshore and weight greater than 1 tonne means information is required. NB: if blank, always required
D | Typical Deliverable - Buyer to advise the short description of the Information Deliverable that would typically include this Information Requirement
E | Submit With Proposal - Yes or No, where ‘Yes' means the Information Requirement is required to be submitted with Suppliers Proposal or 'No' is not required
F, G & H | First Issue Post Purchase Order - issue purpose ('For Information' or 'For Acceptance'), time in weeks for issue of the Information Requirement and Period defined after Purchase Order placement
I | Required As Built - Yes or No, where ‘Yes' means the Information Requirement is required to be 'As Built' on completion or delivery of equipment or 'No' is not required 'As Built'
J | Fulfilled by Information Deliverable Number(s) – identifies which Information Requirement(s) listed in the Supplier Master Information Schedule (SMIS) addresses the Purchasers requirements. NB; it should be noted that one Information Deliverable can fulfil more than one Information Requirement.
K | Translation Required -Yes or No, where 'Yes' means the Information Requirement should be translated into a language(s) (to be advised) other than English and 'No' means to be provided in English
L | Remarks - may include bid clarification questions & decisions (specify author & date)
Col A | Col B | Col C | Col D | Col E | Col F | Col G | Col H | Col I | Col J | Col K | Col L
Code | Requirement | Condition Invoking Requirement | Typical Deliverable | Submit At Proposal | First Issue Post Purchase Order |  |  | Required As Built | Fulfilled by Document Number(s) | Translation Required | Remarks
|  |  |  | (Yes/No) | Purpose | (Weeks) | (Period) | (Yes/No)
Contract Management Information Requirements
S719-IR-1 | Supplier master information schedule |  | Information Deliverables List | No | For Acceptance |  | WAO | Yes
S719-IR-2 | Delivery schedule |  | Delivery/Production Schedule | Yes | For Information |  | WAO | No
S719-IR-3 | Progress report |  | Progress Report | No | For Information |  | WAO (Monthly) | No
S719-IR-4 | Quality plan |  | Quality Plan
S719-IR-5 | Sub-vendor delivery schedule |  | Sub-Supplier List | Yes | For Information |  | WAO (Monthly) | No
S719-IR-6 | Inspection and test plan for complete package |  | Inspection and Test Plan (ITP) | No | For Acceptance |  | WAO | No
S719-IR-7 | Handling, shipping, storage and preservation procedure |  | Handling, shipping and storage procedure | No | For Information |  | WPTD | No
S719-IR-8 | Non-conformance records |  | Nonconformance History | No | For Acceptance |  | WAO | Yes
S719-IR-9 | Concession requests |  | Concession request | No | For Acceptance |  | WAO | Yes
Technical Information Requirements
S719-IR-21 | Fire Test Certificate/Approval Report |  | Fire Test Certificate | No | For Acceptance |  | WAO | No |  | No | To give evidence that the solution is fit for purpose. By a listed product (certificate and / or a approval report) or by fire scenario engineered solution.
S719-IR-70 | Fire Test Protocol | For Fire scenario engineered systems only | Fire Test Protocol | No | For Acceptance |  | WPTT | No |  | No | To develop a system (solution) for an application where a water mist solution or international fire test protocol does not currently exist. The protocol is a collaboration between all relevant parties.
S719-IR-19 | General Arrangement Drawing Fire Fighting Skid (FFS) |  | General Arrangement Drawing Fire Fighting Skid (FFS) | No | For Acceptance |  | WAO | Yes |  | No | May include bill of materials
S719-IR-22 | General Arrangement Drawing Fire Fighting Nozzles and piping |  | General Arrangement Drawing Fire Fighting Nozzles and piping | No | For Acceptance |  | WAO | Yes |  | No | May include bill of materials
S719-IR-59 | General Arrangement Drawing Water Supply |  | General Arrangement Drawing Water Supply | No | For Acceptance |  | WAO | Yes |  | No | May include bill of materials
S719-IR-20 | Detailed Drawing |  | Detailed Drawing | No | For Information |  | WAO | No |  | No | Typically supplied for primary components such as nozzle, but as propriety information this will be supplier dependent.
S719-IR-23 | Bill Of Materials |  | Bill Of Materials | No | For Acceptance |  | WAO |  |  | No | May be included with the general arrangement or detailed drawings.
S719-IR-29 | Design Manual |  | Design Manual | No | For Acceptance |  | WAO | Yes |  | No | This may be one document , or a set of documents and may be combined in one overall document known as the DIOM (design, installation, operation and maintenance) manual. May also be known as the Technical File or Technical Manual. May be supplied in both PDF and hard copy format.
S719-IR-26 | Installation Manual |  | Installation Manual | No | For Acceptance |  | WAO | Yes |  | No | This may be one document , or a set of documents and may be combined in one overall document known as the DIOM (design, installation, operation and maintenance) manual. May also be known as the Technical File. May be supplied in both PDF and hard copy format.
S719-IR-28 | Operating Manual |  | Operating Manual | No | For Acceptance |  | WAO | Yes |  | No | This may be one document , or a set of documents and may be combined in one overall document known as the DIOM (design, installation, operation and maintenance) manual. May also be known as the Technical File or Technical Manual. May be supplied in both PDF and hard copy format.
S719-IR-27 | Maintenance Manual |  | Maintenance Manual | No | For Acceptance |  | WAO | Yes |  | No | This may be one document , or a set of documents and may be combined in one overall document known as the DIOM (design, installation, operation and maintenance) manual. May also be known as the Technical File or Technical Manaual. May be supplied in both PDF and hard copy format.
S719-IR-30 | Hydraulic Calculation |  | Hydraulic Calculation | Yes | For Information |  | WAO | Yes |  | No | This may be one document , or a set of documents and may be combined in one overall document known as the DIOM (design, installation, operation and maintenance) manual. May also be known as the Technical File.
S719-IR-61 | Design Calculation |  | Design Calculation | No | For Acceptance |  | WAO | Yes |  | No
S719-IR-33 | Electrical Wiring Diagram |  | Electrical Wiring Diagram | No | For Acceptance |  | WAO | Yes |  | No
S719-IR-34 | Piping And Instrumentation Diagram |  | Piping And Instrumentation Diagram | Yes | For Acceptance |  | WAO | Yes |  | No
S719-IR-55 | Logic Diagram |  | Logic Diagram | No | For Information |  | WAO | Yes |  | No
S719-IR-62 | Written Sequence of Operation |  | Written Sequence of Operation | No | For Acceptance |  | WAO | Yes |  | No
S719-IR-36 | Lifting point calculations |  | Lifting point calculations | No | For Acceptance |  | WAO | Yes |  | No
S719-IR-32 | Vendor Technical Data |  | Vendor Technical Data | No | For Acceptance |  | WPTD | Yes |  | No | Most likely supplied in PDF and hardcopy
S719-IR-64 | Welding procedure specification (WPS) FFS | Required for CAS A , CAS B & CAS C | Welding Procedure Specification | Yes | For Information |  | WAO | No |  | No | Not required for water mist standard (listed components) such as manifolds, pump unit frames etc. Only applicable to enclosures (FFS)
S719-IR-63 | Surface preparation and coating procedure (FFS) | Enclosures for offshore/marine | Painting And Coating Procedure | No | For Acceptance |  | WAO | No |  | No | Only applicable to exposed items (such as the FFS) components, such as pumps, motors and frames shall be the manufactures standard, unless over ruled by the project datasheet.
S719-IR-65 | Coating certificate | FFS Enclosures for offshore/marine | Painting And Coating Inspection Records | No | For Acceptance |  | WAT | No |  | No | Only applicable to exposed items (such as the FFS) components, such as pumps, motors and frames shall be the manufactures standard, unless over ruled by the project datasheet.
S719-IR-46 | Production Test Procedure (nozzle) | For CAS A & CAS B only | Production Test Procedure (nozzle) | No | For Information |  | WPTD | No |  | No
S719-IR-38 | Production Test Certificate (Nozzle) |  | General Certificate | No | For Information |  | WPTD | No |  |  | Test procedure and certificate may be in one combined document.
S719-IR-45 | Production Test Procedure (Flexible hose) | For CAS A & CAS B only | Production Test Procedure (Flexible hose) | No | For Information |  | WPTD | No |  | No
S719-IR-39 | Production Test Certificate (Flexible hose) |  | Production Test Certificate (Flexible hose) | No | For Information |  | WPTD | No
S719-IR-44 | Production Test Procedure (section valve) | For CAS A & CAS B only | Production Test Procedure (section valve) | No | For Information |  | WPTD | No |  | No
S719-IR-40 | Production Test Certificate (Section Valve) |  | Production Test Certificate (Section Valve) | No | For Information |  | WPTD | No |  | No | Test procedure and certificate may be in one combined document.
S719-IR-56 | Production Test Procedure (Cylinders high pressure/water) | Not required if pump system, for CAS A & CAS B only | Production Test Procedure (Cylinders high pressure/water) | No | For Information |  | WPTD | No |  | No | Test procedure and certificate may be in one combined document.
S719-IR-57 | Production Test Certificate (Cylinders high pressure/water) | Not required if pump system | Production Test Certificate (Cylinders high pressure/water) | No | For Information |  | WPTD | No
S719-IR-47 | Production Test Procedure (manifold) | For CAS A & CAS B only | Production Test Procedure (manifold) | No | For Information |  | WPTD | No |  | No
S719-IR-42 | Production Test Certificate (Manifold) |  | Production Test Certificate (Manifold) | No | For Information |  | WPTD | No |  | No | Test procedure and certificate may be in one combined document.
S719-IR-35 | Factory Acceptance Test (FAT) Procedure |  | Factory Acceptance Test (FAT) Procedure | No | For Acceptance |  | WAO | No |  | No | The water mist manufacturer will have their own FAT requirements, these requirements can be increased or decreased in collaboration between, the supplier and the customer, and where applicable the AHJ.
S719-IR-69 | Factory Acceptance Test (FAT) Records |  | Factory Acceptance Test (FAT) Records | No | For Acceptance |  | WAT | No |  | No
S719-IR-67 | Dimensional check Fire Fighting Skid (FFS) |  | Dimensional check Fire Fighting Skid (FFS) | No | For Acceptance |  | WAO | Yes |  | No
S719-IR-66 | Weight certificate |  | Weight Certificate | No | For Information |  | WPTD | No |  | No
S719-IR-50 | Pneumatic Test Procedure |  | Pressure Test Procedure | No | For Acceptance |  | WAT | Yes |  | No
S719-IR-52 | Pneumatic Test Records |  | Pneumatic Test Records | No | For Information |  | WAT | No
S719-IR-51 | Hydrostatic Test Procedure |  | Pressure Test Procedure | No | For Acceptance |  | WAT | Yes |  | No
S719-IR-53 | Hydrostatic Test Records |  | Hydrostatic Test Records | No | For Information |  | WAT | No |  | No
S719-IR-48 | Manufacturer Record Book (MRB) for Fire Fighting Skid Enclosure |  | Manufacturer Record Book (MRB) for Fire Fighting Skid Enclosure | No | For Information |  | WAT | Yes |  |  | Manufacturer Record Book index, if required, shall be provided in first revision of the document. When index agreed, Manufacturer Record Book content shall be provided in subsequent revision of the document.
S719-IR-25 | Commissioning / SAT Procedure |  | Commissioning / Site Acceptance Test (SAT) Procedure | No | For Acceptance |  | WAO | No
S719-IR-49 | Commissioning / SAT Records |  | Commissioning / SAT Procedure Records | No | For Acceptance |  | WAT | Yes |  | No
S719-IR-37 | Spare Part List |  | Spare Part List | No | For Acceptance |  | WAO | No |  | No
S719-IR-43 | Special Tools List |  | Special Tools List | No | For Information |  | WPTD | No
S719-IR-68 | Safety datasheet for liquids |  | Safety Datasheet | No | For Information |  | WAO | No |  | No
S719-IR-54 | Material Declaration Of Conformity (2.1) |  | Material Declaration Of Conformity (2.1) | No | For Information |  | WAT | No |  | No
S719-IR-72 | Materials Test Report (2.2) |  | Materials Test Report (2.2) | No | For Information |  | WAT | No |  | No
S719-IR-71 | Training Manual |  | Training Manual | No | For Information |  | WPTD | No |  |  | System training, certificate of attendance and training manual, generally carried out at the commissioning phase.
Purchase Order Specific Information Requirements
Public Review Draft
Public Review Draft

## Definitions
S-719L Information Requirements for Water Mist Fire Protection
Definitions
Column | Heading - Details and requirements
A | Code - a unique identifier for the Information Requirement assigned by IOGP JIP33 DigitalTool
B | Requirement - a short description of the Information Requirement that would typically provide the Information required, based on the description in the Parent Standard, IOGP Specification or an Industry Standard Title.
C | Description - an excerpt from the Parent Standard, IOGP Specification or Industry Standard.
D | Reference - reference to the Parent Standard, IOGP Specification or Industry Standard that the Information Deliverable is identified in.
E | Format - defines the required format of the relevant Information Requirement to be submitted by Supplier for Buyer/Contractor for information and acceptance as shown in Table 9.1 of Instructions Tab and selected from pick list.
F | CFIHOS Discipline Document Type Code - the CFIHOS discipline document type that could be used to classify the document having this IRS content.
Col A | Col B | Col C | Col D | Col E | Col F
Code | Requirement | Description | Reference | Format | CFIHOS Discipline Document Type Code
Contract Management Information Requirements
S719-IR-1 | Supplier master information schedule | Schedule of specific information deliverables developed by the [Vendor] and accepted by the [Purchaser] to meet the information requirements defined in the agreed Information Requirements Specification (IRS). The schedule typically defines; a. information deliverable type, title/description b. unique identification (code/number) in the [Vendor's] format unless agreed otherwise in the contract. c. planned submission arrangements including; purpose, formats, timing, frequency Arrangements for managing submissions, tracking progress and updating the schedule during the execution of the contract scope will be in accordance with contractual agreements. | API 671, 13.1.1 | Native
S719-IR-2 | Delivery schedule | Schedule depicting, as applicable to the service or product scope, design, supply, manufacture, inspection, testing and delivery activities to be executed by [vendor/sub-vendors]. Schedule details typically** include; b. activity early/late start/completion dates, durations, dependencies (Calendar Dates) c. critical path and float d. outsourced services and equipment (cross referenced to purchase order and sub-vendor) e. information deliverable submission dates identifying any execution activity dependencies Once agreed, changes to planned dates are subject to agreement by [purchaser]. Progress against planned dates is measured and the schedule updated and reported to the [purchaser] in accordance with contract reporting agreements. ** Schedule development tools, formats and submission protocols follow the [vendor's] standard practice unless otherwise agreed in the contract. | Contract Requirement | PDF
S719-IR-3 | Progress report | Report detailing activities completed in the period, percent complete against planned, activities planned for the next period, risks/areas of concern, cause of any delays and proposed recovery plans, concessions, internal and outsourced inspection and audit activities.. Note: may also include actionable items such as Health, Safety, Security & Environment (HSSE) incidents & status if required under the Contract. |  | PDF
S719-IR-4 | Quality plan | Plan specifying the actions, responsibilities and associated resources to be applied by the [vendor], and when applicable [sub-vendors] or [manufacturers], to deliver the services or procured item(s) in conformance with the agreed requirements. ISO 9001 Clause 8.1 and ISO 10005 may be used to inform the development of quality plans for specific applications, processes or products. [API Spec Q2 may be used to inform the development of Service Quality Plans] | Contract Requirement | PDF
S719-IR-5 | Sub-vendor delivery schedule | Definition of processes, products or services that will be externally provided and the controls to be applied by the [vendor] to ensure conformance with agreed requirements. The schedule includes evidence of the basis of capability assessment , quality management system certification (or equivalent), process or product qualification for proposed suppliers of outsourced products and services when nominated in the Contract or Quality Requirements Specification (QRS) . Note: ISO 9001, API Specs Q1/Q2 define requirements for assessing risks and establishing controls for outsourced products and services. | Contract Requirement | Native
S719-IR-6 | Inspection and test plan for complete package | Tabular presentation of a quality plan typically used for process or product applications to define the specific sequence of operational activities, instructions, acceptance criteria records and associated [vendor], [purchaser] and independent conformity assessment activities. ISO 9001 Clause 8.1 and ISO 10005 may be used to inform the development of inspection and test plans for specific processes and products. | Contract Requirement | PDF
S719-IR-7 | Handling, shipping, storage and preservation procedure | Definition of practices to be followed during the; storage, transport, lifting and preservation of the equipment and materials included in the scope of supply to maintain their functionality and guarantees. Procedures typically define: a. packaging requirements; contents, identification, size, weight and number of packages/container (s), b. special packing/unpacking/handling requirements c. storage location and requirements, d. preservation requirements detailing inspection periods and required maintenance, materials required etc., both prior to installation and post installation, but prior to commissioning. | Contract Requirement | PDF
S719-IR-8 | Non-conformance records | Details of non-conformances raised by or to the [vendor/sub-vendors] against technical requirements prior to or during the delivery of the products or services. Non-conformance is managed by the [vendor] in accordance with ISO 9001 Clause 8.7 and associated records typically include; description of non-conformance, analysis and disposition, correction implemented and details of any retesting or inspection taken to demonstrate subsequent conformance. Note: Instances where the proposed disposition is to accept a non-conforming condition are subject to agreement by the [purchaser] in accordance with the concession management protocols defined in the Contract. | Contract Requirement | PDF
S719-IR-9 | Concession requests | Formal submission seeking [purchaser] agreement to accept deviations from the contracted scope or technical requirements. Requests may be raised as a result of, as examples, material or service availability, obsolescence, innovation, non-conformance. Requests are typically raised as required during execution with a summary report detailing concessions raised, [purchaser] directions, agreed action status provided with progress reports and at contract closeout | Contract Requirement | PDF
Technical Information Requirements
S719-IR-21 | Fire Test Certificate/Approval Report | Fire Test Certificate/Approval Report that forms part of the listing, or the fire scenario engineered solution. |  | PDF
S719-IR-70 | Fire Test Protocol | For fire scenario engineered solutions, fire test protocols shall be developed as per the normative reference prEN 14972-1:2018 (E) Annex A | prEN 14972-1:2018 (E) Annex A | PDF
S719-IR-7 | General Arrangement Drawing Fire Fighting Skid (FFS) | A drawing showing overall dimensions, critical interface dimensions, part references and weight of assemblies, equipment and components. The drawing shall contain reference to main specifications and standards For equipment / components the drawing may include cross sectional views. Document may contain the following information: main dimensions the north point indication interface connections location and type of control valve sets weight centre of gravity withdrawal/installation and maintenance space pressure switches locations and sizes of any subsidiary stop valves the drainage slope of the pipework the locations of all drain and test valves installation and mounting details lifting arrangement a key to the symbols used on drawings |  | PDF
S719-IR-22 | General Arrangement Drawing Fire Fighting Nozzles and piping | A drawing showing overall dimensions, critical interface dimensions, part references of nozzles and distribution pipework. The drawing shall contain reference to main specifications and standards For equipment / components the drawing may include cross sectional views. Document may contain the following information: main dimensions interface connections withdrawal/installation and maintenance space installation and mounting details the north point indication indication of obstructions which may adversely influence performance of water mist nozzles the fire detecting means fire alarms, flow alarms, sounders and alarm panel the drainage slope of the pipework the locations of all drain and test valves pipework and pipe fitting specifications and materials a key to the symbols used on drawings |  | PDF
S719-IR-59 | General Arrangement Drawing Water Supply | A drawing showing overall dimensions, critical interface dimensions, part references and weight of assemblies, equipment and components. The drawing shall contain reference to main specifications and standards For equipment / components the drawing may include cross sectional views. Document may contain the following information: main dimensions interface connections weight centre of gravity withdrawal/installation and maintenance space installation and mounting details lifting arrangement a key to the symbols used on drawings the north point indication indication of obstructions which may adversely influence performance of water mist nozzles the fire detecting means fire alarms, flow alarms, sounders and alarm panel the drainage slope of the pipework the locations of all drain and test valves pipework and pipe fitting specifications and materials a key to the symbols used on drawings |  | PDF
S719-IR-26 | Installation Manual | A document or a set of documents outlining the premise and intent for decisions that are to be followed regarding the installation of the system. These shall provide information to allow the user or a third party to verify that the system has been installed properly. Description of methods of installing a piece of equipment. Installation refers to the mounting, setting, erection, etc. |  | PDF
S719-IR-20 | Detailed Drawing | Drawing showing parts of a construction or a component, generally enlarged, and including specific information about the form and construction or about the assembly and joints Also supports other documents where a cross-sectional view or part list is necessary for clarity. A view or drawing that shows what the inside of equipment looks like after a cross-sectional cut has been made. | ISO 10209 | PDF
S719-IR-23 | Bill Of Materials | A detail and cross sectional drawing with parts list to facilitate dismantling, repair and assembly of parts and components shall be included. Relevant for assemblies and smaller components within assemblies. A view or drawing that shows what the inside of equipment looks like after a cross-sectional cut has been made. The manufacturer's standard detail cross sectional drawing may be delivered. Typical information may be: • Items list with reference to supplier’s part number. • Material definition with reference to relevant standards |  | PDF
S719-IR-29 | Design Manual | A document or a set of documents outlining the premise and intent for decisions that are to be followed regarding a design. These shall provide information to allow the user or a third party to verify that the system has been designed properly. |  | PDF
S719-IR-27 | Maintenance Manual | A document or a set of documents outlining the description of methods of maintaining a specific piece of equipment. These shall provide information to allow the user or a third party to verify that the system can be maintained properly. |  | PDF
S719-IR-36 | Lifting point calculations | Document should provide information about soundness of lifting point and its welding/bolting to prove the safety factor requested. Indicate the equations, constants and units used. |  | PDF
S719-IR-28 | Operating Manual | A document or a set of documents outlining the premise and intent for decisions that are to be followed regarding the operation of the water mist system, including but not limited to instructions, procedures, drawings, tables, etc. for the operation -stop, start, and emergency shutdown. Including operational limits, function testing, possible interruptions, corrective actions, hazards and corrective measures to be taken. These shall provide information to allow the user or a third party to verify that the system can be operated properly. |  | PDF
S719-IR-30 | Hydraulic Calculation | Hydraulic calculations to indicate basis on which equipment is sized, including pipe friction losses/pressure drop, equipment elevations and terminal point static pressures. May also includes calculation for discharge duration and activation times. | NFPA750 | PDF
S719-IR-61 | Design Calculation | Document providing information about data, and basic conditions and assumptions used for selection of appropriate system solutions, parts or material, as well as the way these data have been processed and evaluated Mandatory content of information: – Calculation methods used; – Input data; – Results; – Analysis of the results. |  | PDF
S719-IR-33 | Electrical Wiring Diagram | Description: Diagram providing information on the circuitry of an object. Mandatory content of information: – Graphical symbols representing the objects; – Graphical symbols representing the connections among objects; – Reference designations; – Terminal designations; – Signal level conventions (applicable to logic signals). – Information necessary to trace paths and circuits (signal designations, location references) – Supplementary information necessary for the understanding of functions |  | PDF
S719-IR-34 | Piping And Instrumentation Diagram | Description: The piping and instrument diagram (P&ID), based on the process flow diagram, represents the technical realization of a process by means of graphical symbols for equipment and piping together with graphical symbols or process measurement and control functions. Mandatory content of information: – Function or type of equipment, including drives, conveyors, as well as installed spares; – Identification number of equipment including drives, conveyors as well as installed spares; – Characteristic data of equipment; – Indication of nominal diameter, pressure rating, material and type of piping; – Details of equipment, piping, valves and fittings, thermal insulation; – Process measurement and control functions with identification number; – Characteristic data of drives. – Denomination of flow rates and amounts of energy or energy carriers; – Route and direction of flow of energy or energy carriers; – Type of essential primary elements and sensors; – Essential construction materials for equipment; – Elevation of platforms and approximate relative vertical position of equipment; – Reference designation for valves and fittings; | IEC 61355, D00043 | PDF
S719-IR-55 | Logic Diagram | A graphical representation of a system using formal logic. It displays the existence of functional elements and the paths by which they interact with each other. | required as per 13.4.5.2 | PDF
S719-IR-71 | Training Manual | System training, certificate of attendance and training manual |  | Hard Copy
S719-IR-62 | Written Sequence of Operation | A document outlining the premise and intent to include a complete step-by-step description of the functioning of abort and maintenance switches, delay timers, and emergency power shutdown features. May also list instrument and control equipment, pre-alarm and shutdown alarm/trip requirements, failure modes of valves and equipment and type of signals to and from the control logic. Basis to develop more detailed control narrative. | as required in 13.4.5 | PDF
S719-IR-32 | Vendor Technical Data | Document providing information on technical data and characteristics about the primary components of the water mist system. This document provides structured data form containing tag number, suppliers part number/model, design information, operational data and limitations of the equipment. Document shall provide information on technical data and characteristics about material, products or systems and their environment for proper implementation. |  | PDF
S719-IR-64 | Welding procedure specification (WPS) FFS | A specification that describes the welding procedure and process of a specific set of essential variables for construction of the FFS (Fire Fighting Skid) enclosure. This may be required on a case by case basis (project specific). |  | PDF
S719-IR-63 | Surface preparation and coating procedure (FFS) | Verification of suppliers compliance with surface protection and coating requirements. This document provides a procedure for coating operator to ensure repeatability and formalism and hence prove the quality of the coating work. This document details the work process and how the defined requirements to surface treatment, application and quality control shall be met. A procedure may cover wet paint, powder coating, or metallic coatings. The document shall include reference to applied standards and the information about revision of the applied standard. This may be required on a case by case basis (project specific). |  | PDF
S719-IR-65 | Coating certificate | This document is used for verification of compliance with surface protection and coating requirements. Document containing records of performed surface protection and coating work. This may be required on a case by case basis (project specific). |  | PDF
S719-IR-46 | Production Test Procedure (nozzle) | Definition of process followed to qualify a manufacturing and/or production processes including associated acceptance criteria and test methods to validate achievement of specified technical requirements. |  | PDF
S719-IR-38 | Production Test Certificate (Nozzle) | A document certifying compliance with specified requirements. [e.g., certificates needed for re-certifying, occupancy certificate, product certificates]. May be combined with nozzle test procedure. |  | PDF
S719-IR-45 | Production Test Procedure (Flexible hose) | Definition of process followed to qualify a manufacturing and/or production processes including associated acceptance criteria and test methods to validate achievement of specified technical requirements. |  | PDF
S719-IR-39 | Production Test Certificate (Flexible hose) | A document certifying compliance with specified requirements. [e.g., certificates needed for re-certifying, occupancy certificate, product certificates]. May be combined with flexible hose test procedure. | Test procedure and certificate may be in one combined document. | PDF
S719-IR-44 | Production Test Procedure (section valve) | Definition of process followed to qualify a manufacturing and/or production processes including associated acceptance criteria and test methods to validate achievement of specified technical requirements. |  | PDF
S719-IR-40 | Production Test Certificate (Section Valve) | A document certifying compliance with specified requirements. [e.g., certificates needed for re-certifying, occupancy certificate, product certificates]. May be combined with section valve test procedure.
S719-IR-56 | Production Test Procedure (Cylinders high pressure/water) | Definition of process followed to qualify a manufacturing and/or production processes including associated acceptance criteria and test methods to validate achievement of specified technical requirements. |  | PDF
S719-IR-57 | Production Test Certificate (Cylinders high pressure/water) | A document certifying compliance with specified requirements. [e.g., certificates needed for re-certifying, occupancy certificate, product certificates]. May be combined with cylinder hose test procedure. | Test procedure and certificate may be in one combined document. | PDF
S719-IR-47 | Production Test Procedure (manifold) | Definition of process followed to qualify a manufacturing and/or production processes including associated acceptance criteria and test methods to validate achievement of specified technical requirements. |  | PDF
S719-IR-42 | Production Test Certificate (Manifold) | A document certifying compliance with specified requirements. [e.g., certificates needed for re-certifying, occupancy certificate, product certificates]. May be combined with manifold test procedure.
S719-IR-35 | Factory Acceptance Test (FAT) Procedure | The FAT procedure will be used to ensure a common understanding of performed testing and acceptance criteria. This document shall include all testing activities and their acceptance criteria according to applicable standards, specifications and requirements,. to document the condition of the equipment as tested from factory. Test set-up and test equipment is shall be defined. Suppliers standard (routine) test procedures should be used as far as possible, to be agreed between purchaser, supplier and AHJ |  | PDF
S719-IR-69 | Factory Acceptance Test (FAT) Records | Records demonstrating results of factory tests including discrete functional unit and overall assembly, electrical, mechanical, and if applicable discharge tests. |  | PDF
S719-IR-67 | Dimensional check Fire Fighting Skid (FFS) | A drawing showing and confirming overall dimensions, critical interface dimensions, part references and weight of assemblies, equipment and components. The drawing shall critical dimensions and accepted tolerances for equipment / components. Document may contain the following information: • Main dimensions • Interface connections • Weight • Installation and mounting details • Lifting arrangement |  | PDF
S719-IR-66 | Weight certificate | Manufacturer certification of correct gross dry weight for the FFS (Fire Fighting skid) / FFN (fire fighting nozzles - includes nozzples/pipes and section valves). This typically should also document the centre of gravity. Source ISO 19901-5. |  | PDF
S719-IR-50 | Pneumatic Test Procedure | a procedure documenting specific steps to conduct inspection of an asset/object. Typically details boundaries of the test, isolations, method of pressurization, required hold intervals etc. | 14.2.3 | PDF
S719-IR-52 | Pneumatic Test Records | Records demonstrating results of pneumatic test on site of nozzles/ distribution pipework. | 14.2.3 | PDF
S719-IR-51 | Hydrostatic Test Procedure | a procedure documenting specific steps to conduct inspection of an asset/object. Typically details boundaries of the test, isolations, method of pressurization, required hold intervals etc. | 14.2.2 | PDF
S719-IR-53 | Hydrostatic Test Records | Records demonstrating results of pneumatic test on site of nozzles/ distribution pipework. | 14.2.2 | PDF
S719-IR-48 | Manufacturer Record Book (MRB) for Fire Fighting Skid Enclosure | If applicable, detailed information/description for the documents to be included in MRB as agreed between Purchaser and Vendor: Shall include but not be limited to documents and inspection and testing results / reports : this document can capture the manufacturing process cycle of the fire fighting skid enclosure. carried out at vendor/sub-vendor. The frequency of distribution of this document shall be agreed between the purchaser and vendor. |  | PDF
S719-IR-25 | Commissioning / SAT Procedure | Procedure providing information on the commissioning of the product. Instructions for commissioning are provided especially for large and highly complex products and for large industrial installations. The purpose of such instructions is to provide the user with the information needed for initial setting-up of the product. Mandatory content of information: These instructions should contain for example: - pre-commissioning inspections; before connection to the supply network and before first operation; - details of commissioning tests to accept the system; may include pipework, electrical, detection, mechanical and documentation inspections. | NFPA750 Figure A14.1.4 | PDF
S719-IR-49 | Commissioning / SAT Records | Records demonstrating results of site tests including discrete functional unit and overall assembly, electrical, mechanical, protection relay and IEDs. |  | PDF
S719-IR-37 | Spare Part List | Table containing list items specifying the objects (parts, components, equipment, etc.) that are available or delivered as spare parts for later use. Mandatory content of information: – Item reference number; – Quantity; – Part number or global identifier (together with manufacturer / supplier); – Part name. |  | PDF
S719-IR-43 | Special Tools List | The Special Tools List shall identify all special tools necessary for handling, dismantling, maintenance etc. of equipment. Shall be part of the Spare part list Special Tools List shall include: • Identification - the tag number the special tool shall support • Description of the special tool • Storage, i.e. the location where the special tool can be found • Document references, if applicable Note that the actual special tool shall be marked with the identification, i.e. tag number that it supports. |  | PDF
S719-IR-68 | Safety datasheet for liquids | A structured form containing information on the safety, health and environmental protection aspects of the chemical, including protective measures and emergency actions. ISO 11014 Safety data sheet for chemical products. A structured form containing information on the safety, health and environmental protection aspects of the material, including protective measures and emergency actions. SDS shall be according to local/national regulations and in the official language plant is/will be operated, or in English if accepted by local authorities. A collection of Safety Data Sheets (SDS) shall be delivered to Company, for chemicals delivered as part of equipment, as first fill or used for preservation before operation. The report shall include one SDS per unique chemical trade name. A cross reference table with each unique chemical trade name, equipment tag number(s) and SDS file name shall also be included. |  | PDF
S719-IR-54 | Material Declaration Of Conformity (2.1) | A document in which the supplier declares that the products supplied are in compliance with the requirements of the PO, without inclusion of any test results. NOTE: see ISO/IEC 17000, clause 5.5 and ISO 10474 / EN 10204. | ISO 10474 / EN 10204 | PDF
S719-IR-72 | Materials Test Report (2.2) | A document in which the supplier declares that the products supplied are in compliance with the requirements of the PO, and in which test results are supplied based on non-specific inspection and testing NOTE: see ISO/IEC 17000, clause 5.5 and ISO 10474 / EN 10204. | ISO 10474 / EN 10204
Purchase Order Specific Information Requirements
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft
Public Review Draft

## Backcover
Public Review Draft

## Pick Lists (hidden)
Deliverables Tab Pick Lists
Col A | Col B | Col C | Col D | Col E | Col F | Col G | Col H | Col I | Col J | Col K | Col K
Code | Title | Condition Invoking Requirement | Typical Deliverable | Submit At Proposal | First Issue Post Purchase Order |  |  | Required As Built | Fulfilled by Document Number(s) | Translation Required | Remarks
|  |  |  | Yes/No) | Purpose | (Weeks) | (Period) | Yes/No)
|  |  |  | Yes | For Information |  | WAD | Yes |  | Yes
|  |  |  | No | For Acceptance |  | WAI | No |  | No
WAO
WAO (Monthly)
WAT
WPTD
WPTF
WPTT
Definitions Tab Pick Lists
Col A | Col B | Col C | Col D | Col E | Col F
Code | Title | Description | Reference | Format | CFIHOS Discipline Document Type Code |  | Previous Template
Deliverables Tab Pick Lists Col E: Hard Copy; Deliverables Tab Pick Lists Col H: Hard Copy | Intelligent vector drawing Like CAD
Deliverables Tab Pick Lists Col E: Native; Deliverables Tab Pick Lists Col H: Native | Multi media Like Film, Micro fiche, Video, Sound
Deliverables Tab Pick Lists Col E: PDF; Deliverables Tab Pick Lists Col H: PDF | Raster Image like a bitmap
Deliverables Tab Pick Lists Col E: Intelligent Vector (CAD); Deliverables Tab Pick Lists Col H: S/D | Structured Data Like CSV file, MS-access, MS-Excel, Application Database
Deliverables Tab Pick Lists Col E: Multi media (Film) | Technical publication or Text
Raster Image (Bitmap)
Structured Data (MS Apps)
Technical Publication (Text)
|  | WAD | - | Weeks After Delivery
|  | WAI | - | Weeks After Inspection
|  | WAO | - | Weeks After Order
|  | WAO (Monthly) | - | Weeks After Order Monthly
|  | WAT | - | Weeks After Test
|  | WPTD | - | Weeks Prior To Delivery
|  | WPTF | - | Weeks Prior to Fabrication
|  | WPTT | - | Weeks Prior To Test
Note on K4: Chris Mitchell:
Note on L4: Chris Mitchell: